## MPLEx
parent_sample_id | lab_id | preparation_protocol_doi | dataset_type | analyte_class | is_targeted | acquisition_instrument_vendor | acquisition_instrument_model | source_storage_duration_value | source_storage_duration_unit | time_since_acquisition_instrument_calibration_value | time_since_acquisition_instrument_calibration_unit | contributors_path | data_path | ms_ionization_technique | ms_scan_mode | mass_analysis_polarity | mass_to_charge_range_low_value | mass_to_charge_range_high_value | mass_resolving_power | mass_to_charge_resolving_power | ion_mobility | data_collection_mode | label_name | lc_instrument_vendor | lc_instrument_model | lc_column_vendor | lc_column_model | lc_resin | lc_column_length_value | lc_column_length_unit | lc_temperature_value | lc_temperature_unit | lc_inner_diameter_value | lc_inner_diameter_unit | lc_flow_rate_value | lc_flow_rate_unit | lc_gradient_value | lc_gradient_unit | lc_mobile_phase_a | lc_mobile_phase_b | spatial_sampling_technique | spatial_sampling_target | spatial_sampling_type | analysis_protocol_doi | metadata_schema_id
|  |  | MPLEx | [41 empty] | 2015a1c3-fcf8-458c-8572-0f65e89f2405
Note on A1: (Required) The unique identifier from HuBMAP or SenNet for the sample (such as a block, section, or suspension) used to perform the assay. For instance, in an RNAseq assay, the parent sample would be the suspension, while in imaging assays, it would be the tissue section. If the assay is derived from multiple parent samples, this field should contain a comma-separated list of identifiers. Example: HBM386.ZGKG.235, HBM672.MKPK.442
Note on B1: A locally assigned identifier provided by the data provider for the dataset. It is used to reference an external metadata record that may be maintained independently, enabling traceability and supporting provenance tracking. Example: Visium_9OLC_A4_S1
Note on C1: (Required) The DOI for the protocols.io page that details the assay or the procedures used for sample procurement and preparation. For example, in the case of an imaging assay, the protocol may start with tissue section staining and end with the generation of an OME-TIFF file. The documented protocol should also include any image processing steps involved in producing the final OME-TIFF. Example: https://dx.doi.org/10.17504/protocols.io.eq2lyno9qvx9/v1
Note on D1: (Required) The specific type of dataset being produced. Example: RNAseq
Note on E1: (Required) The analyte class which is the target molecule that the assay is measuring. Example: DNA
Note on F1: (Required) Indicates whether a specific molecule or set of molecules is targeted for detection or measurement by the assay. Example: Yes
Note on G1: (Required) The company that manufactures or supplies the acquisition instrument. An acquisition instrument is a device equipped with signal detection hardware and signal processing software. It captures signals produced by assays, such as variations in light intensity or color, or signals corresponding to molecular mass. If the instrument was custom-built or developed internally, enter "In-House". Example: Illumina
Note on H1: (Required) The specific model of the acquisition instrument, as manufacturers often offer various versions with differing features or sensitivities. These differences may be relevant to the processing or interpretation of the data. If the instrument was custom-built or developed internally, enter "In-House". If the model is unknown, enter "Unknown". Example: HiSeq 4000
Note on I1: (Required) The length of time the sample was stored prior to processing it. For assays performed on tissue sections, this refers to how long the tissue section (e.g., slide) was stored before the assay began (e.g., imaging). For assays performed on suspensions, such as sequencing, it refers to how long the suspension was stored before library construction started. Example: 12
Note on J1: (Required) The unit of measurement used to specify the source storage duration value. Example: hour
Note on K1: The length of time since the acquisition instrument was last serviced or calibrated. This provides a metric for assessing drift in data capture. Example: 10
Note on L1: The unit of measurement used to specify the time since acquisition instrument calibration value. Example: month
Note on M1: (Required) The name of the file containing the ORCID IDs for all contributors to this dataset. Example: ./contributors.csv
Note on N1: (Required) The top-level directory containing the raw and/or processed data. For a single dataset upload, this might be represented as ".", whereas for a data upload containing multiple datasets, this would be the directory name for the respective dataset. For example, if the data is within a directory named "TEST001-RK", use the syntax "./TEST001-RK" for this field. If there are multiple directory levels, use the format "./TEST001-RK/Run1/Pass2", where "Pass2" is the subdirectory where the single dataset's data is stored. This is an internal metadata field used solely for data ingestion. Example: ./TEST001-RK
Note on O1: (Required) The ionization technique used in imaging mass spectrometry, which refers to the method employed to probe the sample. Example: MALDI
Note on P1: (Required) The mode of mass spectrometry (MS) scanning, which refers to the number of steps involved in the separation of fragments during the analysis. Example: MS1
Note on Q1: (Required) The polarity mode used in mass analysis, indicating whether positive or negative ion modes are employed. Example: Positive ion mode
Note on R1: The low value of the scanned mass-to-charge range for MS1. This value is unitless. Example: 100
Note on S1: The high value of the scanned mass-to-charge range, for MS1. (unitless)
Note on T1: The mass resolving power, denoted as m/∆m, where ∆m is defined as the full width at half-maximum (FWHM) for a given peak with a specified mass-to-charge ratio (m/z). This measurement is unitless. Example: 60000
Note on U1: The peak mass-to-charge ratio (m/z) used to calculate the resolving power. Example: 400.2
Note on V1: The specific technology employed for ion mobility spectrometry. Available technologies include Traveling Wave Ion Mobility Spectrometry (TWIMS), Trapped Ion Mobility Spectrometry (TIMS), High Field Asymmetric Waveform Ion Mobility Spectrometry (FAIMS), Drift Tube Ion Mobility Spectrometry (DTIMS), Structures for Lossless Ion Manipulations (SLIM), and cyclic Ion Mobility Spectrometry (cIMS). Example: TIMS
Note on W1: The mode of data collection used in tandem MS assays, which can include options such as Data-dependent acquisition (DDA), Data-independent acquisition (DIA), multiple reaction monitoring (SRM), or parallel reaction monitoring (PRM). Example: PRM
Note on X1: The name or identifier of the chemical label used on this sample if labeling was applied. This is typically required for multiplexed experiments using techniques like Tandem Mass Tag (TMT). If sample was not labeled, this field may be left blank. Example: TMT126
Note on Y1: The company that manufactures the instrument used for liquid chromatography. If the instrument was custom-built or developed internally, enter "In-House". Example: Bruker
Note on Z1: The model number or name of the instrument used for liquid chromatography. Example: Bruker Elute LC-MS
Note on AA1: The manufacturer of the liquid chromatography column used, unless a self-packed or pulled tip capillary is employed. If the column was custom-made or developed internally, enter "In-House". Example: Bruker
Note on AB1: The model number or name of the liquid chromatography column used. If a custom self-packed, pulled tip capillary is utilized, enter "Pulled tip capillary". Example: Thermo Scientific Vanquish UHPLC
Note on AC1: The details of the resin used in liquid chromatography, including information about the vendor, particle size, and pore size. Example: Thermo Fisher Scientific, Acclaim PepMap 100 C18, 3 µm, 100 Å
Note on AD1: Liquid chromatography column length.
Note on AE1: Units for liquid chromatography column length (typically cm).
Note on AF1: The temperature at which the liquid chromatography (LC) process is conducted. Example: 40
Note on AH1: Liquid chromatography column inner diameter.
Note on AI1: The unit of measurment for the LC inner diameter value. If the diameter is not specified, this field may be left blank. Example: um
Note on AJ1: Value of flow rate.
Note on AK1: Units of flow rate.
Note on AL1: The liquid chromatography (LC) gradient used in the assay. Example: 120
Note on AM1: Unit for liquid chromatography gradient
Note on AN1: Composition of mobile phase A.
Note on AQ1: The cell type or functional tissue unit (FTU) that is the focus of the spatial profiling experiment. If the data are generated in imaging mode without targeting a specific structure, this field may be left blank. Example: Proximal tubule epithelial cell
Note on AR1: The type of spatial targeting used in the analysis. Spatial profiling focuses on selected tissue regions without necessarily producing images, while spatial imaging captures data across a regular grid of pixels, enabling visualization as ion intensity heat maps—also referred to as molecular images. Leave this field blank if the data originate from bulk (non-spatial) analysis. Example: Imaging
Note on AS1: (Required) A DOI to a protocols.io protocol describing the software and database(s) used to process the raw data. Example: https://dx.doi.org/10.17504/protocols.io.bsu5ney6
Note on AT1: (Required) The unique string identifier for the metadata specification version, which is easily interpretable by computers for purposes of data validation and processing. Example: 22bc762a-5020-419d-b170-24253ed9e8d9

## dataset_type
HiFi-Slide | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000195
SNARE-seq2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000264
COMET | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000458
Visium (no probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000302
DESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000204
Confocal | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000206
Stereo-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000385
Visium (with probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000303
Molecular Cartography | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000217
DBiT-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000428
Seq-Scope | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000390
CosMx Transcriptomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000218
CyCIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000200
Light Sheet | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000168
seqFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000397
ATACseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000309
CosMx Proteomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000435
Singular Genomics G4X | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000429
Visium HD | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000451
MERFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000221
10X Multiome | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000215
4i | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000447
PhenoCycler | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000199
Second Harmonic Generation (SHG) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000208
Thick section Multiphoton MxIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000207
CyTOF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000407
Olink | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000441
MIBI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000172
Auto-fluorescence | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000205
FACS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000440
Xenium | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000219
SIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000202
Cell DIVE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000159
CODEX | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000160
GeoMx (NGS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000300
MUSIC | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000328
Pixel-seqV2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000450
MALDI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000201
2D Imaging Mass Cytometry | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000296
Histology | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000197
Enhanced Stimulated Raman Spectroscopy (SRS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000209
DART-FISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000396
Resolve | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000384
RNAseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000310
LC-MS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000194
nanoSPLITS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000312
GeoMx (nCounter) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000301
RNAseq (with probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000311
MS Lipidomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000405
MPLEx | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000448

## analyte_class
DNA + RNA | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000327
Nucleic acid + protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000273
Chromatin | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C13201
RNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C812
Metabolite | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C61154
Unsaturated lipid | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000389
Lipid + metabolite | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000401
Saturated lipid | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000388
Lipid | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C616
Protein | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17021
Fluorochrome | http://purl.obolibrary.org/obo/CHEBI_51217
Collagen | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C16447
DNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C449
Peptide | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C735
Polysaccharide | http://purl.obolibrary.org/obo/CHEBI_18154
Endogenous fluorophore | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000131

## is_targeted
Yes
No

## acquisition_instrument_vendor
BGI Genomics | https://identifiers.org/RRID:SCR_024848
Cytiva | https://identifiers.org/RRID:SCR_023581
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Zeiss Microscopy | https://identifiers.org/RRID:SCR_023607
Complete Genomics | https://identifiers.org/RRID:SCR_027007
3DHISTECH | https://identifiers.org/RRID:SCR_027042
GE Healthcare | https://identifiers.org/RRID:SCR_025461
Leica Microsystems | https://identifiers.org/RRID:SCR_008960
Akoya Biosciences | https://identifiers.org/RRID:SCR_023774
NanoString | https://identifiers.org/RRID:SCR_023912
Element Biosciences | https://identifiers.org/RRID:SCR_026453
Andor | https://identifiers.org/RRID:SCR_023609
Huron Digital Pathology | https://identifiers.org/RRID:SCR_024996
Illumina | https://identifiers.org/RRID:SCR_010233
Ionpath | https://identifiers.org/RRID:SCR_023605
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
Resolve Biosciences | https://identifiers.org/RRID:SCR_023911
Singular Genomics | https://identifiers.org/RRID:SCR_026683
Vizgen | https://identifiers.org/RRID:SCR_026274
Standard BioTools (Fluidigm) | https://identifiers.org/RRID:SCR_023606
Sciex | https://identifiers.org/RRID:SCR_023651
Bruker | https://identifiers.org/RRID:SCR_017365
Evident Scientific (Olympus) | https://identifiers.org/RRID:SCR_024782
Keyence | https://identifiers.org/RRID:SCR_023604
Leica Biosystems | https://identifiers.org/RRID:SCR_023603
Cytek Biosciences | https://identifiers.org/RRID:SCR_027071
10x Genomics | https://identifiers.org/RRID:SCR_023672
Microscopes International | https://identifiers.org/RRID:SCR_027094
Hamamatsu | https://identifiers.org/RRID:SCR_017105
Motic | https://identifiers.org/RRID:SCR_024856

## acquisition_instrument_model
SCN400 | https://identifiers.org/RRID:SCR_023611
STELLARIS 5 | https://identifiers.org/RRID:SCR_024663
BZ-X710 | https://identifiers.org/RRID:SCR_017202
Pannoramic MIDI II Digital Scanner | https://identifiers.org/RRID:SCR_024834
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
MoticEasyScan One | https://identifiers.org/RRID:SCR_024855
EVOS M7000 | https://identifiers.org/RRID:SCR_025070
NovaSeq X | https://identifiers.org/RRID:SCR_024569
NanoZoomer 2.0-HT | https://identifiers.org/RRID:SCR_021658
timsTOF Ultra 2 | https://identifiers.org/RRID:SCR_026541
Lightsheet 7 | https://identifiers.org/RRID:SCR_024448
Phenocycler-Fusion 1.0 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000316
DNBSEQ-T7 | https://identifiers.org/RRID:SCR_024847
timsTOF Pro | https://identifiers.org/RRID:SCR_026544
Unknown | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17998
AVITI | https://identifiers.org/RRID:SCR_026452
timsTOF Pro 2 | https://identifiers.org/RRID:SCR_026545
Q Exactive UHMR | https://identifiers.org/RRID:SCR_020571
Q Exactive | https://identifiers.org/RRID:SCR_020565
timsTOF SCP | https://identifiers.org/RRID:SCR_026542
Zyla 4.2 sCMOS | https://identifiers.org/RRID:SCR_023610
Helios | https://identifiers.org/RRID:SCR_019916
uScopeHXII-20 | https://identifiers.org/RRID:SCR_027101
Custom: Multiphoton | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000317
QTRAP 5500 | https://identifiers.org/RRID:SCR_020517
timsTOF Ultra | https://identifiers.org/RRID:SCR_026540
BZ-X800 | https://identifiers.org/RRID:SCR_023617
CyTOF 2 | https://identifiers.org/RRID:SCR_026551
G4X Spatial Sequencer | https://identifiers.org/RRID:SCR_026684
NextSeq 500 | https://identifiers.org/RRID:SCR_014983
NanoZoomer S360 | https://identifiers.org/RRID:SCR_023761
Hyperion Imaging System | https://identifiers.org/RRID:SCR_023195
NovaSeq X Plus | https://identifiers.org/RRID:SCR_024568
CyTOF XT | https://identifiers.org/RRID:SCR_026344
NanoZoomer-SQ | https://identifiers.org/RRID:SCR_023763
NextSeq 550 | https://identifiers.org/RRID:SCR_016381
Axio Zoom.V16 | https://identifiers.org/RRID:SCR_027090
Digital Spatial Profiler | https://identifiers.org/RRID:SCR_021660
timsTOF FleX | https://identifiers.org/RRID:SCR_026925
timsTOF FleX MALDI-2 | https://identifiers.org/RRID:SCR_023615
NanoZoomer S210 | https://identifiers.org/RRID:SCR_023760
BZ-X810 | https://identifiers.org/RRID:SCR_025160
Axio Observer 7 | https://identifiers.org/RRID:SCR_023694
Cytek Northern Lights | https://identifiers.org/RRID:SCR_027072
IN Cell Analyzer 2200 | https://identifiers.org/RRID:SCR_023616
timsTOF HT | https://identifiers.org/RRID:SCR_026543
PhenoImager Fusion | https://identifiers.org/RRID:SCR_023274
DM6 B | https://identifiers.org/RRID:SCR_024857
Phenocycler-Fusion 2.0 | https://identifiers.org/RRID:SCR_023773
Aperio CS2 | https://identifiers.org/RRID:SCR_025111
Orbitrap Fusion Lumos Tribrid | https://identifiers.org/RRID:SCR_020562
Resolve Biosciences Molecular Cartography | https://identifiers.org/RRID:SCR_024449
MALDI timsTOF Flex Prototype | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000433
TissueScope LE Slide Scanner | https://identifiers.org/RRID:SCR_024995
VS200 Slide Scanner | https://identifiers.org/RRID:SCR_024783
Axio Observer 5 | https://identifiers.org/RRID:SCR_023692
Axio Observer 3 | https://identifiers.org/RRID:SCR_023693
HiSeq 2500 | https://identifiers.org/RRID:SCR_016383
Orbitrap Eclipse Tribrid | https://identifiers.org/RRID:SCR_023618
Cell DIVE | https://identifiers.org/RRID:SCR_027323
MERSCOPE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000404
NextSeq 2000 | https://identifiers.org/RRID:SCR_023614
NovaSeq 6000 | https://identifiers.org/RRID:SCR_016387
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
HiSeq 4000 | https://identifiers.org/RRID:SCR_016386
solariX | https://identifiers.org/RRID:SCR_027095
Panoramic 150 Digital Scanner | https://identifiers.org/RRID:SCR_027467
Aperio AT2 | https://identifiers.org/RRID:SCR_021256
MIBIscope | https://identifiers.org/RRID:SCR_023613
Biomark HD | https://identifiers.org/RRID:SCR_022658
NanoZoomer S60 | https://identifiers.org/RRID:SCR_023762
CosMx Spatial Molecular Imager | https://identifiers.org/RRID:SCR_023909
MERSCOPE Ultra | https://identifiers.org/RRID:SCR_026273
Axio Scan.Z1 | https://identifiers.org/RRID:SCR_020927
Juno System | https://identifiers.org/RRID:SCR_027198
Q Exactive HF | https://identifiers.org/RRID:SCR_020558
Xenium Analyzer | https://identifiers.org/RRID:SCR_023910

## source_storage_duration_unit
hour | http://purl.obolibrary.org/obo/UO_0000032
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033
minute | http://purl.obolibrary.org/obo/UO_0000031

## time_since_acquisition_instrume
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033

## ms_ionization_technique
LDI | http://purl.obolibrary.org/obo/MS_1000393
SIMS-H20 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000281
HESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000289
LA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C111241
nanoDESI | http://purl.obolibrary.org/obo/OBI_0003101
MALDI | http://purl.obolibrary.org/obo/MS_1000075
DESI | http://purl.obolibrary.org/obo/MS_1002011
SIMS-C60 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000280
ESI | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C19363
MALDI-2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000279
nESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000456

## ms_scan_mode
MS1 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000228
MS3 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000230
MS2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000229

## mass_analysis_polarity
Negative ion mode | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000276
Positive ion mode | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000277
Negative and positive ion mode | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000278

## ion_mobility
cIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000227
TWIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000223
DTIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000225
SLIM | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000226
TIMS | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C158244
FAIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000224

## data_collection_mode
DDA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C161785
PRM | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C161788
DIA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C161786
SRM | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C161787

## lc_instrument_vendor
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
Evosep | https://identifiers.org/RRID:SCR_024590
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Agilent Technologies | https://identifiers.org/RRID:SCR_013575
Sciex | https://identifiers.org/RRID:SCR_023651
Bruker | https://identifiers.org/RRID:SCR_017365
Waters | https://identifiers.org/RRID:SCR_024589

## lc_column_vendor
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
IonOpticks | https://identifiers.org/RRID:SCR_024593
Evosep | https://identifiers.org/RRID:SCR_024590
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Bruker | https://identifiers.org/RRID:SCR_017365
Waters | https://identifiers.org/RRID:SCR_024589

## lc_column_length_unit
mm | http://purl.obolibrary.org/obo/UO_0000016
um | http://purl.obolibrary.org/obo/UO_0000017
cm | http://purl.obolibrary.org/obo/UO_0000015

## lc_temperature_unit
celsius | http://purl.obolibrary.org/obo/UO_0000027

## lc_inner_diameter_unit
mm | http://purl.obolibrary.org/obo/UO_0000016
um | http://purl.obolibrary.org/obo/UO_0000017
cm | http://purl.obolibrary.org/obo/UO_0000015

## lc_flow_rate_unit
mL/min | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000290
nL/min | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000275

## lc_gradient_unit
minute | http://purl.obolibrary.org/obo/UO_0000031

## spatial_sampling_technique
microPOTS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000293
nanoSPLITS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000297
LESA | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000291
microLESA | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000292
nanoPOTS | http://purl.obolibrary.org/obo/OBI_0003102
LCM | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C19263

## spatial_sampling_type
Profiling | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000294
Imaging | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000295

## .metadata
schema:title | pav:version | pav:createdOn | pav:derivedFrom
MPLEx | 2.0.0 | 2025-10-20T14:51:46-07:00 | https://repo.metadatacenter.org/templates/2015a1c3-fcf8-458c-8572-0f65e89f2405