## Histology
parent_id | lab_id | principal_investigator | pi_email | operator | operator_email | protocols_io_doi | dataset_type | analyte_class | is_targeted | acquisition_instrument_vendor | acquisition_instrument_model | source_storage_duration_value | source_storage_duration_unit | time_since_acquisition_instrument_calibration_value | time_since_acquisition_instrument_calibration_unit | contributors_path | data_path | is_image_preprocessing_required | stain_name | stain_technique | is_batch_staining_done | is_staining_automated | preparation_instrument_vendor | preparation_instrument_model | slide_id | tile_configuration | scan_direction | tiled_image_columns | tiled_image_count | intended_tile_overlap_percentage | metadata_schema_id
[7 empty] | Histology | [23 empty] | 2263a3e3-819b-4639-a3db-3dbc0e46cda1
Note on A1: (Required) The HuBMAP ID of the entity that was used to perform this assay. For example, for a RNAseq assay, the parent would be the suspension, whereas this would be the HuBMAP ID of a section for one of the imaging assays. Example: HBM765.TRHD.452
Note on B1: An internal field labs can use it to add whatever ID(s) they want or need for dataset validation and tracking. This could be a single ID (e.g., "Visium_9OLC_A4_S1") or a delimited list of IDs (e.g., “9OL; 9OLC.A2; Visium_9OLC_A4_S1”). This field will not be accessible to anyone outside of the consortium and no effort will be made to check if IDs provided by one data provider are also used by another.
Note on C1: (Required) The full name of the principal investigator responsible for the data.
Note on D1: (Required) Email address for the principal investigator.
Note on E1: (Required) The full name of the person responsible for executing the assay.
Note on F1: (Required) Email address for the operator.
Note on G1: (Required) DOI for protocols.io referring to the protocol for this assay. Example: https://dx.doi.org/10.17504/protocols.io.eq2lyno9qvx9/v1
Note on H1: (Required) The specific type of dataset being produced.
Note on I1: (Required) Analytes are the target molecules being measured with the assay.
Note on J1: (Required) Specifies whether or not a specific molecule(s) is/are targeted for detection/measurement by the assay. The CODEX analyte is protein.
Note on K1: (Required) An acquisition instrument is the device that contains the signal detection hardware and signal processing software. Assays generate signals such as light of various intensities or color or signals representing the molecular mass.
Note on L1: (Required) Manufacturers of an acquisition instrument may offer various versions (models) of that instrument with different features or sensitivities. Differences in features or sensitivities may be relevant to processing or interpretation of the data.
Note on M1: (Required) How long was the source material (parent) stored, prior to this sample being processed.
Note on N1: (Required) The time duration unit of measurement
Note on O1: The amount of time since the acqusition instrument was last serviced by the vendor. This provides a metric for assessing drift in data capture.
Note on P1: The time unit of measurement
Note on Q1: (Required) The path to the file with the ORCID IDs for all contributors of this dataset (e.g., "extras/contributors.tsv" or "./contributors.tsv"). This is an internal metadata field that is just used for ingest.
Note on R1: (Required) The top level directory containing the raw and/or processed data. For a single dataset upload this might be "." where as for a data upload containing multiple datasets, this would be the directory name for the respective dataset. For instance, if the data is within a directory called "TEST001-RK" use syntax "/TEST001-RK/" for this field. If there are multiple directory levels, use the format "/TEST001-RK/Run1/Pass2" in which "Pass2" is the subdirectory where the single dataset's data is stored. This is an internal metadata field that is just used for ingest.
Note on S1: Depending on if the acquisition instrument was a microscope, slide scanner, etc. will indicate whether or not any level of preprocessing was required to assemble the image (e.g., fusing image tiles) .
Note on T1: (Required) The name of the chemical stains (dyes) applied to histology samples to highlight important features of the tissue as well as to enhance the tissue contrast.
Note on U1: There are typically three types of stains: progressive, modified progressive, and regressive. Progressive staining occurs when the hematoxylin is added to the tissue without being followed by a differentiator to remove excess dye. With regressive and modified progressive staining, a differentiator is used.
Note on V1: (Required) Are the slides stained using a linear batch method or individually?
Note on W1: (Required) Is the slide staining automated with an instrument?
Note on X1: The manufacturer of the instrument used to prepare (staining/processing) the sample for the assay. If an automatic slide staining method was indicated this field should list the manufacturer of the instrument.
Note on Y1: Manufacturers of a staining system instrument may offer various versions (models) of that instrument with different features. Differences in features or sensitivities may be relevant to processing or interpretation of the data.
Note on Z1: A unique ID denoting the slide used. This allows users the ability to determine which tissue sections were processed together on the same slide. It is recommended that data providers prefix the ID with the center name, to prevent values overlapping across centers.
Note on AA1: This is how the tiles are configured for stitching.
Note on AB1: This is the direction of imaging, which is required for stitching.
Note on AC1: This is how many columns used in stitching. This is sometimes referred to as the grid size x.
Note on AD1: This is the total number of raw (tiled) images captured, that are to be stitched together.
Note on AE1: The amount of overlap between tiled images. This is the set point, where as during image acquisition there will be slight variations due to stage registration.
Note on AF1: The string that serves as the definitive identifier for the metadata schema version and is readily interpretable by computers for data validation and processing. Example: 22bc762a-5020-419d-b170-24253ed9e8d9

## principal_investigator
Garry P. Nolan | https://orcid.org/0000-0002-8862-9043
Denis Wirtz | https://orcid.org/0000-0001-6147-3045
Jeffrey M. Spraggins | https://orcid.org/0000-0001-9198-5498
Kathleen O'Neill | https://orcid.org/0000-0003-1980-6840
Ian McGilvray | https://orcid.org/0000-0003-4649-546X
Martin Lotz | https://orcid.org/0000-0002-6299-8799
Bernd Bodenmiller | https://orcid.org/0000-0002-6325-7861
Clive Wasserfall | https://orcid.org/0000-0002-3522-8932
Junhyong Kim | https://orcid.org/0000-0002-7726-8246
Evan Macosko | https://orcid.org/0000-0002-2794-5165
Todd Brusko | https://orcid.org/0000-0003-2878-9296
Kun Zhang | https://orcid.org/0000-0002-7596-5224
Fiona Ginty | https://orcid.org/0000-0001-6638-683X
Neil L. Kelleher | https://orcid.org/0000-0002-8815-3372
William Greenleaf | https://orcid.org/0000-0003-1409-3095
Kevin J. Otto | https://orcid.org/0000-0002-2317-6194
Ljiljana Pasa-Tolic | https://orcid.org/0000-0001-9853-5457
Long Cai | https://orcid.org/0000-0002-7154-5361
Sheng Zhong | https://orcid.org/0000-0001-6419-7453
Michael Snyder | https://orcid.org/0000-0003-0784-7987
Cole Trapnell | https://orcid.org/0000-0002-8105-4347

## operator
Derek Chen | https://orcid.org/0000-0001-9652-4885
Xiangtang Li | https://orcid.org/0000-0002-5891-3502
Riza M. Daza | https://orcid.org/0000-0003-1635-8675
Hieu Nguyen | https://orcid.org/0009-0003-6552-821X
Athanasios Ploumakis | https://orcid.org/0000-0003-0540-631X
Rafael Melani | https://orcid.org/0000-0002-0349-235X
David Grant | https://orcid.org/0000-0003-4468-8276
Ian Simms | https://orcid.org/0000-0003-4519-5684
Anand Ghanekar | https://orcid.org/0000-0003-2966-4145
Nicholas Khuu | https://orcid.org/0000-0002-5267-7289
Skyler Gordon | https://orcid.org/0000-0003-3939-3561
Ying Zhu | https://orcid.org/0000-0002-5416-0566
Haichun Yang | https://orcid.org/0000-0003-4265-7492
Julia Laskin | https://orcid.org/0000-0002-4533-9644
Esther Danenberg | https://orcid.org/0000-0002-1799-4457
Brent Stockwell | https://orcid.org/0000-0002-3532-3868
Michelle C. Daniel | https://orcid.org/0000-0002-2003-2865
Padmaja Natarajan | https://orcid.org/0000-0002-0985-3347
Cory Poole | https://orcid.org/0000-0001-6111-419X
Thu Duong | https://orcid.org/0000-0001-7122-4448
James Webber | https://orcid.org/0000-0001-8594-9888
Sonya A. MacParland | https://orcid.org/0000-0002-8036-1425
Fatma Ayaloglu Butun | https://orcid.org/0000-0002-4745-8129
Zumana Khair | https://orcid.org/0000-0003-3617-2472
Yousef Al-Kofahi | https://orcid.org/0000-0001-6093-6001
Jina Yun | https://orcid.org/0000-0002-7792-3749
Mowei Zhou | https://orcid.org/0000-0003-3575-3224
Mina Ogawa | https://orcid.org/0000-0002-9138-4913
Kavya Sharman | https://orcid.org/0000-0002-3487-7199
Jeff C. Liu | https://orcid.org/0000-0001-8977-6590
Marda L. Jorgensen | https://orcid.org/0000-0002-7250-3569
John Hickey | https://orcid.org/0000-0001-9961-7673
Hannah Swahn | https://orcid.org/0000-0001-7815-2387
Brendan T. Innes | https://orcid.org/0000-0003-2496-3154
Joanne Chan | https://orcid.org/0000-0002-5328-0451
Ari Karunamurthy | https://orcid.org/0000-0002-5739-4923
Gabrielle Rizzuto | https://orcid.org/0000-0003-3052-0253
Inna Averbukh | https://orcid.org/0000-0002-8460-8229
Jilong Li | https://orcid.org/0000-0003-4109-7710
Seth W. Curlin | https://orcid.org/0000-0001-6105-6890
Jennifer L. Harvey | https://orcid.org/0000-0003-3067-1238
Jamie Allen | https://orcid.org/0000-0002-4739-2166
Ellie Pingry | https://orcid.org/0000-0003-1411-0465
Chiara Caraccio | https://orcid.org/0000-0002-3580-1348
Oyedele Adeyi | https://orcid.org/0000-0003-4272-1095
David F. Read | https://orcid.org/0000-0002-8464-6081
Ernesto S. Nakayasu | https://orcid.org/0000-0002-4056-2695
David Degnan | https://orcid.org/0000-0001-5737-7173
Kimberly Y. Conklin | https://orcid.org/0000-0001-8141-064X
Shikhar Uttam | https://orcid.org/0000-0002-0897-2918
Soumya Ghose | https://orcid.org/0000-0002-2730-1482
Gregory T. Booth | https://orcid.org/0000-0003-3748-5518
Louis Falo | https://orcid.org/0000-0001-9813-0433
Weixiu Dong | https://orcid.org/0000-0003-1059-5653
Ivan Linares | https://orcid.org/0000-0001-5124-9883
Cameron M Lloyd-Jones | https://orcid.org/0000-0002-4549-2585
Juan Echeverri | https://orcid.org/0000-0002-0776-2695
Nils Gehlenborg | https://orcid.org/0000-0003-0327-8297
Aaron Horning | https://orcid.org/0000-0003-3247-0798
Jay Shendure | https://orcid.org/0000-0002-1516-1865
Dinh H. Diep | https://orcid.org/0000-0001-6057-4119
Lukasz Migas | https://orcid.org/0000-0002-1884-6405
Ilan Gold | https://orcid.org/0000-0002-5823-1026
Anup Sood | https://orcid.org/0000-0001-7768-0209
Justin Manuel | https://orcid.org/0000-0003-2620-4928
Hua Tian | https://orcid.org/0000-0002-3598-0219
Raymond C. Harris | https://orcid.org/0000-0001-8025-0883
Daniel Jacobsen | https://orcid.org/0000-0003-4102-6947
Eric H. Kim | https://orcid.org/0000-0002-0284-8342
Voislav Blagojevic | https://orcid.org/0000-0001-7344-7207
Marc Bosse | https://orcid.org/0000-0003-4912-8059
Nico Pierson | https://orcid.org/0000-0002-2451-0633
Shirley Greenbaum | https://orcid.org/0000-0002-0680-7652
Christian Schürch | https://orcid.org/0000-0002-1792-1768
Aubrianna Decker | https://orcid.org/0000-0002-0646-1815
Matt van de Rjin | https://orcid.org/0000-0002-1909-9739
Rebecca K. Seliga | https://orcid.org/0000-0003-1229-4897
Neil Winegarden | https://orcid.org/0000-0001-5964-5899
Amanda Knoten | https://orcid.org/0000-0001-8564-2253
Erin Soon | https://orcid.org/0000-0002-9115-9345
Addie Johnston | https://orcid.org/0009-0005-2286-9078
Mathew Ellenberger | https://orcid.org/0000-0002-0965-9528
Winston Becker | https://orcid.org/0000-0001-7876-5060
Lewis Y. Liu | https://orcid.org/0000-0001-9740-8261
Bryon S. Drown | https://orcid.org/0000-0002-5631-512X
Mark S. Keller | https://orcid.org/0000-0003-3003-874X
Evan Murray | https://orcid.org/0000-0002-9195-7478
Matthew E. Monroe | https://orcid.org/0000-0002-1210-7169
Annika Weimer | https://orcid.org/0000-0001-9944-8769
Raf Van de Plas | https://orcid.org/0000-0002-2232-7130
Chrystal Chadwick | https://orcid.org/0000-0001-6355-5677
Katelyn Flowers | https://orcid.org/0000-0002-0135-7859
Chakra Chennubhotla | https://orcid.org/0000-0002-0024-1627
Markus Selzner | https://orcid.org/0000-0002-4326-0887
Kristy Conlon | https://orcid.org/0000-0002-1088-698X
Stephanie Nevins | https://orcid.org/0000-0002-2244-6703
Sarah Urata | https://orcid.org/0000-0001-7512-4081
Basil Michael | https://orcid.org/0000-0003-4034-1195
Liz McDonough | https://orcid.org/0000-0001-7524-8260
Ravi Misra | https://orcid.org/0000-0002-1352-4378
Paul Greig | https://orcid.org/0000-0002-1321-4417
Minyi Shi | https://orcid.org/0000-0003-1616-8353
Nina Dar | https://orcid.org/0000-0001-6410-0682
Yiing Lin | https://orcid.org/0000-0002-0317-7608
Leonor Tideman | https://orcid.org/0000-0001-7405-3146
Bei Wei | https://orcid.org/0000-0003-1516-8802
Ioannis S. Vlachos | https://orcid.org/0000-0002-8849-808X
Lisa Lowery | https://orcid.org/0000-0002-9143-6509
Elizabeth Neumann | https://orcid.org/0000-0002-6078-3321
Maigan Brusko | https://orcid.org/0000-0002-4331-2202
Michael D. Wilson | https://orcid.org/0000-0002-4015-3066
Maya Brewer | https://orcid.org/0000-0001-5914-0081
Danielle Gutierrez | https://orcid.org/0000-0001-6355-2134
Jonhan Ho | https://orcid.org/0000-0002-1134-8585
Rula Green-Gladden | https://orcid.org/0000-0001-5779-8525
Jeannie M Camarillo | https://orcid.org/0000-0001-9699-0931
Trevor Manz | https://orcid.org/0000-0001-7694-5164
Lihua Jiang | https://orcid.org/0000-0002-8442-8674
Kyu Sang Han | https://orcid.org/0000-0001-7677-8386
Taruna Neelakantan | https://orcid.org/0000-0003-2222-4630
Sai W Chung | https://orcid.org/0000-0003-2684-7122
Tarek El-Achkar | https://orcid.org/0000-0003-4645-3614
Jean G. Rosario | https://orcid.org/0000-0002-6116-5058
Nathan Patterson | https://orcid.org/0000-0002-0064-1583
Christine Surrette | https://orcid.org/0000-0002-7334-4571
Chuck McCallum | https://orcid.org/0000-0003-4039-9768
Dusan Velickovic | https://orcid.org/0000-0001-7945-9620
Steven Head | https://orcid.org/0000-0002-5490-2750
Tony Mondala | https://orcid.org/0000-0002-2809-3187
Roxanne Chiu | https://orcid.org/0000-0002-7306-9186
Benjamin J. Des Soye | https://orcid.org/0000-0001-5480-4192
Stephen A. Fisher | https://orcid.org/0000-0001-8034-7685
Douglas W. Strand | https://orcid.org/0000-0002-0746-927X
Heidie Huyck | https://orcid.org/0000-0001-9453-0747
Michael L. Cheng | https://orcid.org/0000-0002-7841-3740
Diana R. ODay | https://orcid.org/0000-0002-8398-8389
Qiwen Hu | https://orcid.org/0000-0003-2798-919X
Erik Nordgren | https://orcid.org/0000-0002-5024-0278
Jason Brant | https://orcid.org/0000-0002-9800-9251
Gloria Pryhuber | https://orcid.org/0000-0002-9185-3994
Chenchen Zhu | https://orcid.org/0000-0003-2165-9456
Gonzalo Sapisochin | https://orcid.org/0000-0001-9527-8723
Blair K. Gage | https://orcid.org/0000-0002-6601-6369
Shinichiro Ogawa | https://orcid.org/0000-0002-4527-4764
Ruben Casanova | https://orcid.org/0000-0002-3957-8120
Eleonora Forte | https://orcid.org/0000-0002-6095-2797
Mushfeqa Iqfath | https://orcid.org/0000-0001-8464-3799
Eleni G. Jaswa | https://orcid.org/0000-0003-1653-902X
Merissa Olmer | https://orcid.org/0000-0002-2483-4216
Joseph Gaut | https://orcid.org/0000-0002-9580-3951
Mark A. Atkinson | https://orcid.org/0000-0001-8489-4782
Tianyang Xu | https://orcid.org/0000-0003-2941-5771
Karol Balderrama | https://orcid.org/0000-0001-8458-1364
Ruiqi Jian | https://orcid.org/0000-0003-2406-5303
Kevin Contrepois | https://orcid.org/0000-0001-9678-5161
Sanjay Srivatsan | https://orcid.org/0000-0001-7282-0487
Yumi Kwon | https://orcid.org/0000-0003-0523-6197
Jerelyn A. Nick | https://orcid.org/0000-0002-8928-741X
Shin Lin | https://orcid.org/0000-0003-0118-0413
Sanjay Jain | https://orcid.org/0000-0003-2804-127X
Jonah Langlieb | https://orcid.org/0000-0002-9949-1123
Nicolas Damon | https://orcid.org/0000-0003-3027-8989
Xin Wang | https://orcid.org/0000-0001-8866-5223
Fei Chen | https://orcid.org/0000-0003-2308-3649
Yen-Chen Liao | https://orcid.org/0000-0002-8124-0457
Geremy C. Clair | https://orcid.org/0000-0003-0478-8520
Harry S. Nick | https://orcid.org/0000-0002-0374-2283
Rahul Gupta | https://orcid.org/0000-0003-3658-5074
Mark deCaestecker | https://orcid.org/0000-0001-7926-1673
James Fulcher | https://orcid.org/0000-0001-9033-3623
James Williams | https://orcid.org/0000-0001-6665-6596
David M.G. Anderson | https://orcid.org/0000-0002-3866-0923
Jason E. Fish | https://orcid.org/0000-0003-0640-7277
Madeline E. Colley | https://orcid.org/0000-0002-9515-3493
Gail Deutsch | https://orcid.org/0000-0002-0571-0285
Nongluk Plongthongkum | https://orcid.org/0000-0002-1305-285X
Noah Greenwald | https://orcid.org/0000-0002-7836-4379
Brent Ewing | https://orcid.org/0000-0002-0594-7688
Jesus Aponte | https://orcid.org/0000-0001-5903-2291
Kevin Jooss | https://orcid.org/0000-0003-1669-7837
Peter V. Kharchenko | https://orcid.org/0000-0002-6036-5875
Presha Rajbhandari | https://orcid.org/0000-0003-2184-7238
Gary D. Bader | https://orcid.org/0000-0003-0185-8861
Blue B. Lake | https://orcid.org/0000-0002-8637-9044
Melissa A. Farrow | https://orcid.org/0000-0002-1602-2082
Kristina Paul | https://orcid.org/0000-0003-0767-4617
Leeat Keren | https://orcid.org/0000-0002-6799-6303
Nazia Selzner | https://orcid.org/0000-0002-9435-2597
Damra Camat | https://orcid.org/0000-0001-8435-4073
Madhurima Kaushal | https://orcid.org/0000-0003-2760-0586
Gordon Keller | https://orcid.org/0000-0001-9309-9297
Hunter B. Hakimian | https://orcid.org/0000-0001-9668-044X
Alex Corwin | https://orcid.org/0000-0001-8618-0935
Agnes B. Fogo | https://orcid.org/0000-0003-3698-8527
Richard M. Caprioli | https://orcid.org/0000-0001-5859-3310
Kevin Zemaitis | https://orcid.org/0000-0002-3524-9776
Diane Salamon | https://orcid.org/0000-0003-0427-0262
Masato Hoshi | https://orcid.org/0000-0003-2874-1807
Bo Zhang | https://orcid.org/0000-0001-8895-2206
Rosalie K. Chu | https://orcid.org/0000-0001-7428-7647
Dana L. Jackson | https://orcid.org/0000-0002-6917-0580
Wei-Jun Qian | https://orcid.org/0000-0002-5393-2827
Manxi Yang | https://orcid.org/0000-0003-0589-1757

## dataset_type
HiFi-Slide | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000195
nanoPOTS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000246
DESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000204
Auto-fluorescence | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000205
Confocal | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000206
snATAC-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000183
Xenium | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000219
Molecular Cartography | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000217
scRNA-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000248
CosMx | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000218
DBiT | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000222
Imaging Mass Spectrometry | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000196
Multiplex Ion Beam Imaging | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000172
SIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000202
RNAseq (Visium) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000188
Cell DIVE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000159
CODEX | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000160
snRNA-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000184
CyCIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000200
Light Sheet | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000168
NanoDESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000203
GeoMx | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000216
RNAseq (bulk) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000212
MALDI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000201
RNAseq (GeoMx) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000214
Histology | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000197
scATAC-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000247
Enhanced Stimulated Raman Spectroscopy (SRS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000209
ATACseq (bulk) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000210
MERFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000221
LC-MS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000194
10X Multiome | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000215
PhenoCycler | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000199
Second Harmonic Generation (SHG) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000208
Thick section Multiphoton MxIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000207
Visium | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000187

## analyte_class
Chromatin | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C13201
Fluorochrome | http://purl.obolibrary.org/obo/CHEBI_51217
RNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C812
Metabolite | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C61154
DNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C449
N-glycan | http://purl.obolibrary.org/obo/CHEBI_59520
Endogenous fluorophores | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000131
Peptide | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C735
Polysaccharide | http://purl.obolibrary.org/obo/CHEBI_18154
Lipid | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C616
Protein | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17021

## is_targeted
No
Yes

## acquisition_instrument_vendor
Resolve Biosciences | https://identifiers.org/RRID:SCR_023911
Cytiva | https://identifiers.org/RRID:SCR_023581
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Zeiss Microscopy | https://identifiers.org/RRID:SCR_023607
Bruker Daltonics | https://identifiers.org/RRID:SCR_023608
Standard BioTools (Fluidigm) | https://identifiers.org/RRID:SCR_023606
Sciex | https://identifiers.org/RRID:SCR_023651
Keyence | https://identifiers.org/RRID:SCR_023604
Leica Biosystems | https://identifiers.org/RRID:SCR_023603
NanoString | https://identifiers.org/RRID:SCR_023912
Hamamatsu | https://identifiers.org/RRID:SCR_017105
Andor | https://identifiers.org/RRID:SCR_023609
Illumina | https://identifiers.org/RRID:SCR_010233
Ionpath | https://identifiers.org/RRID:SCR_023605

## acquisition_instrument_model
SCN400 | https://identifiers.org/RRID:SCR_023611
BZ-X710 | https://identifiers.org/RRID:SCR_017202
NanoZoomer S210 | https://identifiers.org/RRID:SCR_023760
IN Cell Analyzer 2200 | https://identifiers.org/RRID:SCR_023616
Orbitrap Fusion Lumos Tribrid | https://identifiers.org/RRID:SCR_020562
MALDI timsTOF Flex Prototype | https://identifiers.org/RRID:SCR_023615
HiSeq 2500 | https://identifiers.org/RRID:SCR_016383
Orbitrap Eclipse Tribrid | https://identifiers.org/RRID:SCR_023618
Q Exactive UHMR | https://identifiers.org/RRID:SCR_020571
NextSeq 2000 | https://identifiers.org/RRID:SCR_023614
NovaSeq 6000 | https://identifiers.org/RRID:SCR_016387
Q Exactive | https://identifiers.org/RRID:SCR_020565
Zyla 4.2 sCMOS | https://identifiers.org/RRID:SCR_023610
Zeiss Axio Observer 5 | https://identifiers.org/RRID:SCR_023692
HiSeq 4000 | https://identifiers.org/RRID:SCR_016386
Zeiss Axio Observer 7 | https://identifiers.org/RRID:SCR_023694
QTRAP 5500 | https://identifiers.org/RRID:SCR_020517
Zeiss Axio Observer 3 | https://identifiers.org/RRID:SCR_023693
BZ-X800 | https://identifiers.org/RRID:SCR_023617
MIBIscope | https://identifiers.org/RRID:SCR_023613
NextSeq 500 | https://identifiers.org/RRID:SCR_014983
NanoZoomer S360 | https://identifiers.org/RRID:SCR_023761
NanoZoomer S60 | https://identifiers.org/RRID:SCR_023762
CosMx Spatial Molecular Imager | https://identifiers.org/RRID:SCR_023909
Hyperion Imaging System | https://identifiers.org/RRID:SCR_023195
NextSeq 550 | https://identifiers.org/RRID:SCR_016381
Digital Spatial Profiler | https://identifiers.org/RRID:SCR_021660
Axio Scan.Z1 | https://identifiers.org/RRID:SCR_020927
Q Exactive HF | https://identifiers.org/RRID:SCR_020558
Xenium Analyzer | https://identifiers.org/RRID:SCR_023910

## source_storage_duration_unit
hour | http://purl.obolibrary.org/obo/UO_0000032
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033
minute | http://purl.obolibrary.org/obo/UO_0000031

## time_since_acquisition_instrume
hour | http://purl.obolibrary.org/obo/UO_0000032
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033
minute | http://purl.obolibrary.org/obo/UO_0000031

## is_image_preprocessing_required
No
Yes

## stain_name
LFB | http://purl.bioontology.org/ontology/LNC/LP6368-7
Trichrome | http://purl.bioontology.org/ontology/LNC/LP6562-5
PAS | http://purl.bioontology.org/ontology/LNC/LP6443-8
H&E | http://purl.bioontology.org/ontology/LNC/LP6310-9

## stain_technique
Modified progressive staining | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000113
Progressive staining | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000143
Regressive staining | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000103

## is_batch_staining_done
No
Yes

## is_staining_automated
No
Yes

## preparation_instrument_vendor
10x Genomics | https://identifiers.org/RRID:SCR_023672
Hamamatsu | https://identifiers.org/RRID:SCR_017105
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
HTX Technologies | https://identifiers.org/RRID:SCR_023734
SunChrom | https://identifiers.org/RRID:SCR_023908

## preparation_instrument_model
NanoZoomer S210 | https://identifiers.org/RRID:SCR_023760
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Sublimator | https://identifiers.org/RRID:SCR_023729
SunCollect Sprayer | https://identifiers.org/RRID:SCR_023907
M3+ Sprayer | https://identifiers.org/RRID:SCR_023731
M5 Sprayer | https://identifiers.org/RRID:SCR_023733
TM-Sprayer | https://identifiers.org/RRID:SCR_023732
NanoZoomer S360 | https://identifiers.org/RRID:SCR_023761
NanoZoomer S60 | https://identifiers.org/RRID:SCR_023762

## tile_configuration
Column-by-column | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000133
Snake-by-rows | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000122
Snake-by-columns | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000110
Row-by-row | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000138

## scan_direction
Left-and-up | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000111
Left-and-down | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000108
Right-and-up | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000141
Right-and-down | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000137

## .metadata
schema:title | pav:version | pav:createdOn | pav:derivedFrom
Histology | 0.0.1 | 2023-08-11T13:12:15-07:00 | https://repo.metadatacenter.org/templates/2263a3e3-819b-4639-a3db-3dbc0e46cda1