## DESI
parent_sample_id | lab_id | preparation_protocol_doi | dataset_type | analyte_class | is_targeted | acquisition_instrument_vendor | acquisition_instrument_model | source_storage_duration_value | source_storage_duration_unit | time_since_acquisition_instrument_calibration_value | time_since_acquisition_instrument_calibration_unit | contributors_path | data_path | ms_ionization_technique | ms_scan_mode | mass_analysis_polarity | mass_to_charge_range_low_value | mass_to_charge_range_high_value | mass_resolving_power | mass_to_charge_resolving_power | ion_mobility | matrix_deposition_method | preparation_instrument_vendor | preparation_instrument_model | preparation_matrix | desorption_solvent | desorption_solvent_flow_rate_value | desorption_solvent_flow_rate_unit | analysis_protocol_doi | metadata_schema_id
01d909d8-84a8-4362-9e42-782bc4da0eec
Note on A1: (Required) Unique HuBMAP or SenNet identifier of the sample (i.e., block, section or suspension) used to perform this assay. For example, for a RNAseq assay, the parent would be the suspension, whereas, for one of the imaging assays, the parent would be the tissue section. If an assay comes from multiple parent samples then this should be a comma separated list. Example: HBM386.ZGKG.235, HBM672.MKPK.442 or SNT232.UBHJ.322, SNT329.ALSK.102
Note on B1: An internal field labs can use it to add whatever ID(s) they want or need for dataset validation and tracking. This could be a single ID (e.g., "Visium_9OLC_A4_S1") or a delimited list of IDs (e.g., “9OL; 9OLC.A2; Visium_9OLC_A4_S1”). This field will not be accessible to anyone outside of the consortium and no effort will be made to check if IDs provided by one data provider are also used by another.
Note on C1: (Required) DOI for the protocols.io page that describes the assay or sample procurment and preparation. For example for an imaging assay, the protocol might include staining of a section through the creation of an OME-TIFF file. In this case the protocol would include any image processing steps required to create the OME-TIFF file. Example: https://dx.doi.org/10.17504/protocols.io.eq2lyno9qvx9/v1
Note on D1: (Required) The specific type of dataset being produced.
Note on E1: (Required) Analytes are the target molecules being measured with the assay.
Note on F1: (Required) Specifies whether or not a specific molecule(s) is/are targeted for detection/measurement by the assay ("Yes" or "No"). The CODEX analyte is protein.
Note on G1: (Required) An acquisition instrument is the device that contains the signal detection hardware and signal processing software. Assays generate signals such as light of various intensities or color or signals representing the molecular mass.
Note on H1: (Required) Manufacturers of an acquisition instrument may offer various versions (models) of that instrument with different features or sensitivities. Differences in features or sensitivities may be relevant to processing or interpretation of the data.
Note on I1: (Required) How long was the source material (parent) stored, prior to this sample being processed.
Note on J1: (Required) The time duration unit of measurement
Note on K1: The amount of time since the acqusition instrument was last serviced by the vendor. This provides a metric for assessing drift in data capture.
Note on L1: The time unit of measurement
Note on M1: (Required) The path to the file with the ORCID IDs for all contributors of this dataset (e.g., "./extras/contributors.tsv" or "./contributors.tsv"). This is an internal metadata field that is just used for ingest.
Note on N1: (Required) The top level directory containing the raw and/or processed data. For a single dataset upload this might be "." where as for a data upload containing multiple datasets, this would be the directory name for the respective dataset. For instance, if the data is within a directory called "TEST001-RK" use syntax "./TEST001-RK" for this field. If there are multiple directory levels, use the format "./TEST001-RK/Run1/Pass2" in which "Pass2" is the subdirectory where the single dataset's data is stored. This is an internal metadata field that is just used for ingest.
Note on O1: (Required) The ionization approach (i.e., sample probing method) for performing imaging mass spectrometry.
Note on P1: (Required) MS (mass spectrometry) scan mode refers to the number of steps in the separation of fragments.
Note on Q1: (Required) The polarity of the mass analysis (positive or negative ion modes).
Note on R1: (Required) The low value of the scanned mass-to-charge range, for MS1. (unitless)
Note on S1: (Required) The high value of the scanned mass-to-charge range, for MS1. (unitless)
Note on T1: (Required) The mass resolving power m/∆m, where ∆m is defined as the full width at half-maximum (FWHM) for a given peak with a specified mass-to-charge (m/z). (unitless)
Note on U1: (Required) The peak (m/z) used to calculate the resolving power.
Note on V1: Specifies which technology was used for ion mobility spectrometry. Technologies for measuring ion mobility: Traveling Wave Ion Mobility Spectrometry (TWIMS), Trapped Ion Mobility Spectrometry (TIMS), High Field Asymmetric waveform ion Mobility Spectrometry (FAIMS), Drift Tube Ion Mobility Spectrometry (DTIMS), Structures for Lossless Ion Manipulations (SLIM), and cyclic Ion Mobility Spectrometry (cIMS).
Note on W1: Common methods of depositing matrix for assisting in desorption and ionization in imaging mass spectrometry include robotic spotting, electrospray deposition, and sublimation.
Note on X1: The manufacturer of the instrument used to prepare (staining/processing) the sample for the assay. If an automatic slide staining method was indicated this field should list the manufacturer of the instrument.
Note on Y1: Manufacturers of a staining system instrument may offer various versions (models) of that instrument with different features. Differences in features or sensitivities may be relevant to processing or interpretation of the data.
Note on Z1: The matrix is a compound of crystallized molecules that acts like a buffer between the sample and the ionizing probe. It also helps ionize the sample, carrying it along the flight tube so it can be detected.
Note on AA1: (Required) Solvent composition for conducting nanospray desorption electrospray ionization (nanoDESI) or desorption electrospray ionization (DESI).
Note on AB1: (Required) The rate of flow of the solvent into a spray.
Note on AC1: (Required) Units of the rate of solvent flow.
Note on AD1: (Required) A DOI to a protocols.io protocol describing the software and database(s) used to process the raw data. Example: https://dx.doi.org/10.17504/protocols.io.bsu5ney6
Note on AE1: (Required) The string that serves as the definitive identifier for the metadata schema version and is readily interpretable by computers for data validation and processing. Example: 22bc762a-5020-419d-b170-24253ed9e8d9

## dataset_type
HiFi-Slide | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000195
SNARE-seq2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000264
MIBI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000172
DESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000204
scATACseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000247
Auto-fluorescence | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000205
Confocal | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000206
scRNAseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000248
Xenium | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000219
snATACseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000183
Molecular Cartography | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000217
CosMx | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000218
DBiT | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000222
SIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000202
RNAseq (Visium) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000188
Cell DIVE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000159
CODEX | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000160
CyCIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000200
Light Sheet | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000168
GeoMx | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000216
RNAseq (bulk) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000212
MALDI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000201
2D Imaging Mass Cytometry | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000296
RNAseq (GeoMx) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000214
Histology | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000197
Enhanced Stimulated Raman Spectroscopy (SRS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000209
ATACseq (bulk) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000210
MERFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000221
LC-MS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000194
10X Multiome | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000215
PhenoCycler | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000199
Second Harmonic Generation (SHG) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000208
Thick section Multiphoton MxIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000207
snRNAseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000184
Visium | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000187

## analyte_class
Chromatin | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C13201
Nucleic acid and protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000273
Fluorochrome | http://purl.obolibrary.org/obo/CHEBI_51217
RNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C812
Metabolite | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C61154
DNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C449
Endogenous fluorophores | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000131
Peptide | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C735
Polysaccharide | http://purl.obolibrary.org/obo/CHEBI_18154
Lipid | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C616
Protein | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17021

## is_targeted
No
Yes

## acquisition_instrument_vendor
Resolve Biosciences | https://identifiers.org/RRID:SCR_023911
Cytiva | https://identifiers.org/RRID:SCR_023581
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Zeiss Microscopy | https://identifiers.org/RRID:SCR_023607
Standard BioTools (Fluidigm) | https://identifiers.org/RRID:SCR_023606
Sciex | https://identifiers.org/RRID:SCR_023651
Bruker | https://identifiers.org/RRID:SCR_017365
Keyence | https://identifiers.org/RRID:SCR_023604
Leica Biosystems | https://identifiers.org/RRID:SCR_023603
NanoString | https://identifiers.org/RRID:SCR_023912
Hamamatsu | https://identifiers.org/RRID:SCR_017105
Andor | https://identifiers.org/RRID:SCR_023609
Illumina | https://identifiers.org/RRID:SCR_010233
Ionpath | https://identifiers.org/RRID:SCR_023605

## acquisition_instrument_model
SCN400 | https://identifiers.org/RRID:SCR_023611
STELLARIS 5 | https://identifiers.org/RRID:SCR_024663
BZ-X710 | https://identifiers.org/RRID:SCR_017202
NanoZoomer S210 | https://identifiers.org/RRID:SCR_023760
Axio Observer 7 | https://identifiers.org/RRID:SCR_023694
NovaSeq X | https://identifiers.org/RRID:SCR_024569
IN Cell Analyzer 2200 | https://identifiers.org/RRID:SCR_023616
NanoZoomer 2.0-HT | https://identifiers.org/RRID:SCR_021658
Lightsheet 7 | https://identifiers.org/RRID:SCR_024448
Orbitrap Fusion Lumos Tribrid | https://identifiers.org/RRID:SCR_020562
Resolve Biosciences Molecular Cartography | https://identifiers.org/RRID:SCR_024449
Unknown | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17998
MALDI timsTOF Flex Prototype | https://identifiers.org/RRID:SCR_023615
Axio Observer 5 | https://identifiers.org/RRID:SCR_023692
Axio Observer 3 | https://identifiers.org/RRID:SCR_023693
HiSeq 2500 | https://identifiers.org/RRID:SCR_016383
Orbitrap Eclipse Tribrid | https://identifiers.org/RRID:SCR_023618
Q Exactive UHMR | https://identifiers.org/RRID:SCR_020571
NextSeq 2000 | https://identifiers.org/RRID:SCR_023614
NovaSeq 6000 | https://identifiers.org/RRID:SCR_016387
Q Exactive | https://identifiers.org/RRID:SCR_020565
Zyla 4.2 sCMOS | https://identifiers.org/RRID:SCR_023610
HiSeq 4000 | https://identifiers.org/RRID:SCR_016386
QTRAP 5500 | https://identifiers.org/RRID:SCR_020517
BZ-X800 | https://identifiers.org/RRID:SCR_023617
MIBIscope | https://identifiers.org/RRID:SCR_023613
NextSeq 500 | https://identifiers.org/RRID:SCR_014983
NanoZoomer S360 | https://identifiers.org/RRID:SCR_023761
NanoZoomer S60 | https://identifiers.org/RRID:SCR_023762
CosMx Spatial Molecular Imager | https://identifiers.org/RRID:SCR_023909
Hyperion Imaging System | https://identifiers.org/RRID:SCR_023195
NovaSeq X Plus | https://identifiers.org/RRID:SCR_024568
NanoZoomer-SQ | https://identifiers.org/RRID:SCR_023763
NextSeq 550 | https://identifiers.org/RRID:SCR_016381
Digital Spatial Profiler | https://identifiers.org/RRID:SCR_021660
Axio Scan.Z1 | https://identifiers.org/RRID:SCR_020927
Q Exactive HF | https://identifiers.org/RRID:SCR_020558
Xenium Analyzer | https://identifiers.org/RRID:SCR_023910

## source_storage_duration_unit
hour | http://purl.obolibrary.org/obo/UO_0000032
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033
minute | http://purl.obolibrary.org/obo/UO_0000031

## time_since_acquisition_instrume
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033

## ms_ionization_technique
LDI | http://purl.obolibrary.org/obo/MS_1000393
SIMS-H20 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000281
HESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000289
LA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C111241
nanoDESI | http://purl.obolibrary.org/obo/OBI_0003101
MALDI | http://purl.obolibrary.org/obo/MS_1000075
DESI | http://purl.obolibrary.org/obo/MS_1002011
SIMS-C60 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000280
ESI | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C19363
MALDI-2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000279

## ms_scan_mode
MS3 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000230
MS2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000229
MS1 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000228

## mass_analysis_polarity
Negative ion mode | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000276
Negative and positive ion mode | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000278
Positive ion mode | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000277

## ion_mobility
cIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000227
DTIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000225
SLIM | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000226
TWIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000223
TIMS | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C158244
FAIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000224

## matrix_deposition_method
Electrospray deposition | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000240
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Robotic spotting | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000239
Robotic spraying | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000241
Sublimation | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000242

## preparation_instrument_vendor
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
Leica Biosystems | https://identifiers.org/RRID:SCR_023603
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
HTX Technologies | https://identifiers.org/RRID:SCR_023734
10x Genomics | https://identifiers.org/RRID:SCR_023672
Hamamatsu | https://identifiers.org/RRID:SCR_017105
SunChrom | https://identifiers.org/RRID:SCR_023908

## preparation_instrument_model
NanoZoomer S210 | https://identifiers.org/RRID:SCR_023760
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Sublimator | https://identifiers.org/RRID:SCR_023729
Chromium Controller | https://identifiers.org/RRID:SCR_019326
NanoZoomer S360 | https://identifiers.org/RRID:SCR_023761
NanoZoomer S60 | https://identifiers.org/RRID:SCR_023762
Chromium X | https://identifiers.org/RRID:SCR_024537
AutoStainer XL | https://identifiers.org/RRID:SCR_023957
Visium CytAssist | https://identifiers.org/RRID:SCR_024570
SunCollect Sprayer | https://identifiers.org/RRID:SCR_023907
M3+ Sprayer | https://identifiers.org/RRID:SCR_023731
Chromium iX | https://identifiers.org/RRID:SCR_024536
M5 Sprayer | https://identifiers.org/RRID:SCR_023733
TM-Sprayer | https://identifiers.org/RRID:SCR_023732

## preparation_matrix
2,5-DHB (2,5-Dihydroxybenzoic acid) | http://purl.obolibrary.org/obo/CHEBI_17189
NEDC (N-(1-naphthyl) ethylenediamine dihydrochloride) | http://purl.obolibrary.org/obo/CHEBI_53452
SA (sinapic acid) | http://purl.obolibrary.org/obo/CHEBI_77131
DAN (1,5-diaminonapthalene) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000245
2,5-DHA (2,5-dihydroxyacetophenone) | http://purl.obolibrary.org/obo/CHEBI_173647
9-AA (9-aminoacridine) | http://purl.obolibrary.org/obo/CHEBI_74789
CHCA (alpha-cyano-4-hydroxy-cinnamic acid) | http://purl.obolibrary.org/obo/CHEBI_64340

## desorption_solvent
Methanol:Ethanol (MeOH:EtOH) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000232
Acetonitrile:Water (ACN:H2O) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000233
Methanol:Water (MeOH:H2O) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000231
Ethanol:Water (EtOH:H2O) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000235
Acetonitrile:Dimethylformamide (ACN:DMF) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000234
Ethanol:Dimethylformamide (EtOH:DMF) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000236

## desorption_solvent_flow_rate_un
uL/min | http://purl.obolibrary.org/obo/UO_0000271
nL/min | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000275

## .metadata
schema:title | pav:version | pav:createdOn | pav:derivedFrom
DESI | 2.0.0 | 2023-11-02T15:47:05-07:00 | https://repo.metadatacenter.org/templates/01d909d8-84a8-4362-9e42-782bc4da0eec