## MERFISH
assay_description | parent_sample_id | lab_id | preparation_protocol_doi | dataset_type | analyte_class | is_targeted | acquisition_instrument_vendor | acquisition_instrument_model | source_storage_duration_value | source_storage_duration_unit | time_since_acquisition_instrument_calibration_value | time_since_acquisition_instrument_calibration_unit | contributors_path | data_path | mapped_area_value | mapped_area_unit | permeabilization_time_value | permeabilization_time_unit | slide_id | target_retrieval_incubation_temperature | target_retrieval_incubation_time_value | target_retrieval_incubation_time_unit | proteinasek_concentration | proteinasek_incubation_time_value | proteinasek_incubation_time_unit | probe_hybridization_time_value | probe_hybridization_time_unit | oligo_probe_panel | is_custom_probes_used | number_of_panel_targets | roi_label | anatomical_structure_label | anatomical_structure_id | non_global_files | number_of_additional_stains | chemistry_kit | metadata_schema_id
|  |  |  | MERFISH | [32 empty] | f1ef260f-d4a3-43db-a739-49b394aeee20
Note on A1: A styled paragraph describing the assay
Note on B1: (Required) The unique identifier from HuBMAP or SenNet for the sample (such as a block, section, or suspension) used to perform the assay. For instance, in an RNAseq assay, the parent sample would be the suspension, while in imaging assays, it would be the tissue section. If the assay is derived from multiple parent samples, this field should contain a comma-separated list of identifiers. Example: HBM386.ZGKG.235, HBM672.MKPK.442
Note on C1: A locally assigned identifier provided by the data provider for the dataset. It is used to reference an external metadata record that may be maintained independently, enabling traceability and supporting provenance tracking. Example: Visium_9OLC_A4_S1
Note on D1: (Required) The DOI for the protocols.io page that details the assay or the procedures used for sample procurement and preparation. For example, in the case of an imaging assay, the protocol may start with tissue section staining and end with the generation of an OME-TIFF file. The documented protocol should also include any image processing steps involved in producing the final OME-TIFF. Example: https://dx.doi.org/10.17504/protocols.io.eq2lyno9qvx9/v1
Note on E1: (Required) The specific type of dataset being produced. Example: RNAseq
Note on F1: (Required) The analyte class which is the target molecule that the assay is measuring. Example: DNA
Note on G1: (Required) Indicates whether a specific molecule or set of molecules is targeted for detection or measurement by the assay. Example: Yes
Note on H1: (Required) The company that manufactures or supplies the acquisition instrument. An acquisition instrument is a device equipped with signal detection hardware and signal processing software. It captures signals produced by assays, such as variations in light intensity or color, or signals corresponding to molecular mass. If the instrument was custom-built or developed internally, enter "In-House". Example: Illumina
Note on I1: (Required) The specific model of the acquisition instrument, as manufacturers often offer various versions with differing features or sensitivities. These differences may be relevant to the processing or interpretation of the data. If the instrument was custom-built or developed internally, enter "In-House". If the model is unknown, enter "Unknown". Example: HiSeq 4000
Note on J1: (Required) The length of time the sample was stored prior to processing it. For assays performed on tissue sections, this refers to how long the tissue section (e.g., slide) was stored before the assay began (e.g., imaging). For assays performed on suspensions, such as sequencing, it refers to how long the suspension was stored before library construction started. Example: 12
Note on K1: (Required) The unit of measurement used to specify the source storage duration value. Example: hour
Note on L1: The length of time since the acquisition instrument was last serviced or calibrated. This provides a metric for assessing drift in data capture. Example: 10
Note on M1: The unit of measurement used to specify the time since acquisition instrument calibration value. Example: month
Note on N1: (Required) The name of the file containing the ORCID IDs for all contributors to this dataset. Example: ./contributors.csv
Note on O1: (Required) The top-level directory containing the raw and/or processed data. For a single dataset upload, this might be represented as ".", whereas for a data upload containing multiple datasets, this would be the directory name for the respective dataset. For example, if the data is within a directory named "TEST001-RK", use the syntax "./TEST001-RK" for this field. If there are multiple directory levels, use the format "./TEST001-RK/Run1/Pass2", where "Pass2" is the subdirectory where the single dataset's data is stored. This is an internal metadata field used solely for data ingestion. Example: ./TEST001-RK
Note on P1: The mapped area value, which refers to the specific area covered or captured in various assays. For Visium, it is the area of spots covered by tissue within the captured area, excluding the total possible captured area. For GeoMx, it refers to the area of the AOI being captured. In HiFi, it is the summed area of the ROIs in a single flowcell lane. For CosMx and Resolve, it indicates the area of the FOV (also known as ROI) region being captured. For Xenium, it is the total area of the FOV regions (also known as ROI) being captured. For Stereo-Seq, this value represents the number of beads. Example: 42.25
Note on Q1: The unit of measurement for the mapped area value. If mapping area is not specified, this field may be left blank. Example: um^2
Note on R1: Permeabilization time used for this tissue section.
Note on S1: The unit for the permeabilization time.
Note on T1: (Required) The unique identifier assigned to each slide, enabling users to determine which tissue sections were processed together on the same slide. It is recommended that data providers prefix the ID with the center name to prevent overlapping values across different centers. Example: VAN0071-PA-1-1_AF
Note on U1: The incubation temperature required for target retrieval, which is typically 100 degrees Celsius for RNA assays and 80 degrees Celsius for protein assays. Example: 100
Note on V1: The duration for which a sample is exposed to a target retrieval solution. Example: 15
Note on W1: The unit of measurement for the target retrieval incubation time value. If no incubation time is specified, this field may be left blank. Example: minute
Note on X1: The concentration of the enzyme Proteinase K within a sample, measured in micrograms per milliliter (ug/ml). Example: 10
Note on Y1: The duration for which a sample is incubated with Proteinase K. Example: 15
Note on Z1: The unit of measurement for the proteinaseK incubation time value. If no incubation time is specified, this field may be left blank. Example: minute
Note on AA1: The duration for which the oligo-conjugated RNA or oligo-conjugated antibody probes were hybridized with the sample. Example: 30
Note on AB1: The unit of measurement for the probe hybridization time value. If the hybridization time is not specified, this field may be left blank. Example: minute
Note on AC1: (Required) The oligo probe panel used to target genes and/or proteins. If there is a core panel along with add-on modules, the core panel should be selected in this field. Any additional panels utilized should be documented in the "additional_panels_used.csv" file, which must be uploaded alongside the dataset. Example: 10x Genomics; Visium Human Transcriptome Probe Kit-Small; PN 1000363
Note on AD1: (Required) Indicates whether custom RNA or antibody probes were utilized in the assay. If custom probes were employed, they should be documented in the "custom_probe_set.csv" file. Example: No
Note on AE1: (Required) The number of panel targets, which refers to the total count of genes, RNA isoforms, or RNA regions that are targeted by probes. Example: 1000
Note on AF1: The label for the region of interest (ROI). For Resolve and CosMx, this corresponds to the field of view (FOV) label. In the case of Xenium, it refers to the ID of the region containing the analysis. For GeoMx, this information can be located in the "Initial Dataset" spreadsheet, which can be downloaded from within the Data Analysis Suite. Example: Decidua
Note on AG1: The label for the overarching anatomical structure. If the anatomical structure is not applicable or not specified, this field may be left blank. Example: Kidney
Note on AH1: The ontology ID associated with the anatomical structure, typically represented by an UBERON ID. Example: UBERON:0002113
Note on AI1: Specifies a semicolon-separated list of non-global files that are to be included in the dataset. The file paths assume that the files are located in the "TOP/non-global/" directory. For instance, if the file is located at TOP/non-global/lab_processed/images/1-tissue-boundary.geojson, the value for this field would be "./lab_processed/images/1-tissue-boundary.geojson". Once ingested, these files will be copied to their appropriate locations within the respective dataset directory tree. This field is intended for internal HuBMAP processing. Examples for GeoMx and PhenoCycler are provided in the File Locations documentation: https://docs.google.com/document/d/1n2McSs9geA9Eli4QWQaB3c9R3wo5d5U1Xd57DWQfN5Q/edit#heading=h.1u82i4axggee Example: ./lab_processed/images/1-tissue-boundary.geojson
Note on AJ1: (Required) The number of additional stains used in the process. For example, this would be minimally 2 (i.e., DAPI and polyT) and can include 6 more. Example: 2
Note on AK1: (Required) A chemistry kit containing a specific set of reagents, probes, and protocols used to perform the MERFISH assay. It typically includes assay-specific probes, buffers, and other chemical components required for hybridization, amplification, and imaging. Select “Custom” if a custom kit is used. Example: Custom
Note on AL1: (Required) The unique string identifier for the metadata specification version, which is easily interpretable by computers for purposes of data validation and processing. Example: 22bc762a-5020-419d-b170-24253ed9e8d9

## dataset_type
HiFi-Slide | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000195
SNARE-seq2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000264
COMET | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000458
Visium (no probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000302
DESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000204
Confocal | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000206
Stereo-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000385
Visium (with probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000303
Molecular Cartography | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000217
Virtual Histology | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000473
DBiT-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000428
Seq-Scope | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000390
CosMx Transcriptomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000218
CyCIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000200
Light Sheet | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000168
iCLAP | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000479
seqFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000397
ATACseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000309
CosMx Proteomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000435
Singular Genomics G4X | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000429
Visium HD | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000451
MERFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000221
10X Multiome | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000215
4i | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000447
PhenoCycler | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000199
Second Harmonic Generation (SHG) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000208
Thick section Multiphoton MxIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000207
MACSima | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000480
CyTOF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000407
Olink | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000441
MIBI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000172
Auto-fluorescence | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000205
FACS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000440
Xenium | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000219
DNA Methylation | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000490
SIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000202
Cell DIVE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000159
CODEX | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000160
GeoMx (NGS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000300
MUSIC | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000328
Pixel-seqV2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000450
MALDI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000201
2D Imaging Mass Cytometry | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000296
Histology | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000197
Enhanced Stimulated Raman Spectroscopy (SRS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000209
Illumina Spatial ver0 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000487
DART-FISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000396
Resolve | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000384
RNAseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000310
LC-MS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000194
nanoSPLITS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000312
GeoMx (nCounter) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000301
Raman Imaging | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000475
RNAseq (with probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000311
MS Lipidomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000405
STARmap | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000476
MPLEx | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000448

## analyte_class
DNA + RNA | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000327
Nucleic acid + protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000273
Chromatin | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C13201
Lipid + metabolite + protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000478
RNA + protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000474
RNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C812
Metabolite | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C61154
Unsaturated lipid | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000389
Lipid + metabolite | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000401
Saturated lipid | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000388
Lipid | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C616
Protein | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17021
Fluorochrome | http://purl.obolibrary.org/obo/CHEBI_51217
Collagen | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C16447
DNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C449
Peptide | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C735
Polysaccharide | http://purl.obolibrary.org/obo/CHEBI_18154
Endogenous fluorophore | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000131

## is_targeted
Yes
No

## acquisition_instrument_vendor
BGI Genomics | https://identifiers.org/RRID:SCR_024848
Cytiva | https://identifiers.org/RRID:SCR_023581
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Zeiss Microscopy | https://identifiers.org/RRID:SCR_023607
Complete Genomics | https://identifiers.org/RRID:SCR_027007
3DHISTECH | https://identifiers.org/RRID:SCR_027042
GE Healthcare | https://identifiers.org/RRID:SCR_025461
Leica Microsystems | https://identifiers.org/RRID:SCR_008960
Akoya Biosciences | https://identifiers.org/RRID:SCR_023774
NanoString | https://identifiers.org/RRID:SCR_023912
Element Biosciences | https://identifiers.org/RRID:SCR_026453
Andor | https://identifiers.org/RRID:SCR_023609
Huron Digital Pathology | https://identifiers.org/RRID:SCR_024996
Illumina | https://identifiers.org/RRID:SCR_010233
Ionpath | https://identifiers.org/RRID:SCR_023605
Waters | https://identifiers.org/RRID:SCR_024589
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
Resolve Biosciences | https://identifiers.org/RRID:SCR_023911
Singular Genomics | https://identifiers.org/RRID:SCR_026683
Vizgen | https://identifiers.org/RRID:SCR_026274
Standard BioTools (Fluidigm) | https://identifiers.org/RRID:SCR_023606
Sciex | https://identifiers.org/RRID:SCR_023651
Bruker | https://identifiers.org/RRID:SCR_017365
Evident Scientific (Olympus) | https://identifiers.org/RRID:SCR_024782
Keyence | https://identifiers.org/RRID:SCR_023604
Miltenyi Biotec | https://identifiers.org/RRID:SCR_008984
Leica Biosystems | https://identifiers.org/RRID:SCR_023603
Revvity | https://identifiers.org/RRID:SCR_027779
Cytek Biosciences | https://identifiers.org/RRID:SCR_027071
10x Genomics | https://identifiers.org/RRID:SCR_023672
Microscopes International | https://identifiers.org/RRID:SCR_027094
Hamamatsu | https://identifiers.org/RRID:SCR_017105
Motic | https://identifiers.org/RRID:SCR_024856

## acquisition_instrument_model
SCN400 | https://identifiers.org/RRID:SCR_023611
STELLARIS 5 | https://identifiers.org/RRID:SCR_024663
BZ-X710 | https://identifiers.org/RRID:SCR_017202
Pannoramic MIDI II Digital Scanner | https://identifiers.org/RRID:SCR_024834
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
MoticEasyScan One | https://identifiers.org/RRID:SCR_024855
EVOS M7000 | https://identifiers.org/RRID:SCR_025070
NovaSeq X | https://identifiers.org/RRID:SCR_024569
LSM 710 Confocal Microscope | https://identifiers.org/RRID:SCR_018063
NanoZoomer 2.0-HT | https://identifiers.org/RRID:SCR_021658
timsTOF Ultra 2 | https://identifiers.org/RRID:SCR_026541
Lightsheet 7 | https://identifiers.org/RRID:SCR_024448
Phenocycler-Fusion 1.0 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000316
DNBSEQ-T7 | https://identifiers.org/RRID:SCR_024847
timsTOF Pro | https://identifiers.org/RRID:SCR_026544
Unknown | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17998
AVITI | https://identifiers.org/RRID:SCR_026452
DMi8 | https://identifiers.org/RRID:SCR_026672
Opera Phenix Plus HCS | https://identifiers.org/RRID:SCR_027780
timsTOF Pro 2 | https://identifiers.org/RRID:SCR_026545
Q Exactive UHMR | https://identifiers.org/RRID:SCR_020571
Q Exactive | https://identifiers.org/RRID:SCR_020565
timsTOF SCP | https://identifiers.org/RRID:SCR_026542
Zyla 4.2 sCMOS | https://identifiers.org/RRID:SCR_023610
Helios | https://identifiers.org/RRID:SCR_019916
uScopeHXII-20 | https://identifiers.org/RRID:SCR_027101
Orbitrap Fusion Tribrid | https://identifiers.org/RRID:SCR_020559
Custom: Multiphoton | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000317
QTRAP 5500 | https://identifiers.org/RRID:SCR_020517
timsTOF Ultra | https://identifiers.org/RRID:SCR_026540
BZ-X800 | https://identifiers.org/RRID:SCR_023617
CyTOF 2 | https://identifiers.org/RRID:SCR_026551
G4X Spatial Sequencer | https://identifiers.org/RRID:SCR_026684
NextSeq 500 | https://identifiers.org/RRID:SCR_014983
NanoZoomer S360 | https://identifiers.org/RRID:SCR_023761
Hyperion Imaging System | https://identifiers.org/RRID:SCR_023195
NovaSeq X Plus | https://identifiers.org/RRID:SCR_024568
CyTOF XT | https://identifiers.org/RRID:SCR_026344
NanoZoomer-SQ | https://identifiers.org/RRID:SCR_023763
NextSeq 550 | https://identifiers.org/RRID:SCR_016381
Axio Zoom.V16 | https://identifiers.org/RRID:SCR_027090
Digital Spatial Profiler | https://identifiers.org/RRID:SCR_021660
timsTOF FleX | https://identifiers.org/RRID:SCR_026925
timsTOF FleX MALDI-2 | https://identifiers.org/RRID:SCR_023615
NanoZoomer S210 | https://identifiers.org/RRID:SCR_023760
BZ-X810 | https://identifiers.org/RRID:SCR_025160
Axio Observer 7 | https://identifiers.org/RRID:SCR_023694
Cytek Northern Lights | https://identifiers.org/RRID:SCR_027072
Opera Phenix HCS | https://identifiers.org/RRID:SCR_027817
Zeiss LightSheet Z.1 | https://identifiers.org/RRID:SCR_020919
IN Cell Analyzer 2200 | https://identifiers.org/RRID:SCR_023616
timsTOF HT | https://identifiers.org/RRID:SCR_026543
PhenoImager Fusion | https://identifiers.org/RRID:SCR_023274
DM6 B | https://identifiers.org/RRID:SCR_024857
Phenocycler-Fusion 2.0 | https://identifiers.org/RRID:SCR_023773
Aperio CS2 | https://identifiers.org/RRID:SCR_025111
Orbitrap Fusion Lumos Tribrid | https://identifiers.org/RRID:SCR_020562
Resolve Biosciences Molecular Cartography | https://identifiers.org/RRID:SCR_024449
MALDI timsTOF Flex Prototype | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000433
TissueScope LE Slide Scanner | https://identifiers.org/RRID:SCR_024995
VS200 Slide Scanner | https://identifiers.org/RRID:SCR_024783
Axio Observer 5 | https://identifiers.org/RRID:SCR_023692
NanoZoomer 2.0-RS | https://identifiers.org/RRID:SCR_028001
Axio Observer 3 | https://identifiers.org/RRID:SCR_023693
HiSeq 2500 | https://identifiers.org/RRID:SCR_016383
Orbitrap Eclipse Tribrid | https://identifiers.org/RRID:SCR_023618
Cell DIVE | https://identifiers.org/RRID:SCR_027323
MERSCOPE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000404
NextSeq 2000 | https://identifiers.org/RRID:SCR_023614
NovaSeq 6000 | https://identifiers.org/RRID:SCR_016387
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
HiSeq 4000 | https://identifiers.org/RRID:SCR_016386
Q Exactive HF-X | https://identifiers.org/RRID:SCR_020564
solariX | https://identifiers.org/RRID:SCR_027095
Panoramic 150 Digital Scanner | https://identifiers.org/RRID:SCR_027467
Aperio AT2 | https://identifiers.org/RRID:SCR_021256
MIBIscope | https://identifiers.org/RRID:SCR_023613
SYNAPT G2-Si | https://identifiers.org/RRID:SCR_027782
MACSima System | https://identifiers.org/RRID:SCR_027923
Biomark HD | https://identifiers.org/RRID:SCR_022658
NanoZoomer S60 | https://identifiers.org/RRID:SCR_023762
CosMx Spatial Molecular Imager | https://identifiers.org/RRID:SCR_023909
MERSCOPE Ultra | https://identifiers.org/RRID:SCR_026273
Axio Scan.Z1 | https://identifiers.org/RRID:SCR_020927
Juno System | https://identifiers.org/RRID:SCR_027198
Q Exactive HF | https://identifiers.org/RRID:SCR_020558
Xenium Analyzer | https://identifiers.org/RRID:SCR_023910

## source_storage_duration_unit
hour | http://purl.obolibrary.org/obo/UO_0000032
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033
minute | http://purl.obolibrary.org/obo/UO_0000031

## time_since_acquisition_instrume
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033

## mapped_area_unit
mm^2 | http://purl.obolibrary.org/obo/UO_0000082
um^2 | http://purl.obolibrary.org/obo/UO_0010001

## permeabilization_time_unit
minute | http://purl.obolibrary.org/obo/UO_0000031

## target_retrieval_incubation_tim
minute | http://purl.obolibrary.org/obo/UO_0000031

## proteinasek_incubation_time_uni
minute | http://purl.obolibrary.org/obo/UO_0000031

## probe_hybridization_time_unit
hour | http://purl.obolibrary.org/obo/UO_0000032
minute | http://purl.obolibrary.org/obo/UO_0000031

## oligo_probe_panel
10x Genomics; Chromium Next GEM Single Cell Fixed RNA Mouse Transcriptome Probe Kit, 64 rxns; PN 1000492 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000393
10x Genomics; Xenium Prime 5K Human Pan Tissue & Pathways Panel; PN 1000724 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000426
10x Genomics; Visium Human Transcriptome Probe Kit-Large; PN 1000364 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000383
10x Genomics; Xenium Mouse Multi-Tissue Atlassing Panel; PN 1000627 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000442
10x Genomics; GEM-X Flex Human Transcriptome Probe Kit, 16 samples; PN 1000785 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000481
10x Genomics; Visium Human Transcriptome Probe Kit-Small; PN 1000363 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000326
10x Genomics; Visium Mouse Transcriptome Probe Kit v2.0 - Small; PN 1000667 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000431
NanoString Technologies; GeoMx Human IO Proteome Atlas, 4 slides; PN 121300160 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000488
10x Genomics; Visium Human Transcriptome Probe Kit v2 - Small; PN 1000466 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000274
NanoString Technologies; CosMx Human 6K Discovery Panel (RNA, 6175 Plex); PN 121500041 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000455
NanoString Technologies; CosMx Mouse Universal Cell Characterization Panel (RNA, 1000 Plex); PN CMX-M-USCP-1KP-R | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000457
10x Genomics; Xenium Custom Gene Expression Panel (51-100 genes); PN 1000561 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000444
10X Genomics; Chromium Next GEM Single Cell Fixed RNA Human Transcriptome Probe Kit, 64 rxns; PN 1000456 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000376
10x Genomics; Xenium Human Colon Gene Expression Panel; PN 1000642 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000446
NanoString Technologies; CosMx Human Immuno-Oncology Panel (Protein, 64 Plex); PN CMX-H-IOP-64P-P | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000436
10x Genomics; Chromium Fixed RNA Kit, Human Transcriptome 16 rxns x 16 BC; PN 1000547 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000477
10x Genomics; Visium Mouse Transcriptome Probe Kit - Small; PN 1000365 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000362
NanoString Technologies; CosMx Hs WTX RNA Panel Kit, 2 slides: PN 121500047 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000453
10x Genomics; Xenium Human Lung Gene Expression Panel; PN 1000601 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000443
NanoString Technologies; CosMx Mouse Neuroscience Panel (Protein, 64 Plex); PN CMX-M-Neuro-64P-P | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000437
NanoString Technologies; GeoMx Mouse Whole Transcriptome Atlas, 4 slides; PN GMX-RNA-NGS-MsWTA-4 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000364
NanoString Technologies; CosMx Mouse Neuroscience Panel (RNA, 1000 Plex); PN CMX-M-NEUP-R | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000452
Custom | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C65167
NanoString Technologies; GeoMx Human Whole Transcriptome Atlas, 4 slides; PN GMX-RNA-NGS-HuWTA-4 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000363
10x Genomics; Xenium Human Multi-Tissue and Cancer Panel v1; PN 1000626 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000395
10x Genomics; Xenium Custom Gene Expression Panel (up to 50 genes); PN 1000464 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000445
10x Genomics; Chromium Fixed RNA Kit, Human Transcriptome, 4 rxns x 1 BC; PN 1000474 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000306
10x Genomics; Xenium Human Skin Gene Expression Panel; PN 1000643 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000491
NanoString Technologies; CosMx Human Universal Cell Characterization Panel (RNA, 1000 Plex); PN CMX-H-USCP-1KP-R | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000430
10X Genomics; Chromium Next GEM Single Cell Fixed RNA Human Transcriptome Probe Kit, 16 rxns; PN 1000420 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000382
NanoString Technologies; CosMx Hs Univ Cell (RNA, 1000 Plex); PN 121500002 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000454

## is_custom_probes_used
Yes
No

## chemistry_kit
Custom | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C65167

## .metadata
schema:title | pav:version | pav:createdOn | pav:derivedFrom
MERFISH | 2.0.0 | 2026-06-11T13:21:40-07:00 | https://repo.metadatacenter.org/templates/f1ef260f-d4a3-43db-a739-49b394aeee20