## RNAseq
parent_sample_id | lab_id | preparation_protocol_doi | dataset_type | analyte_class | is_targeted | acquisition_instrument_vendor | acquisition_instrument_model | source_storage_duration_value | source_storage_duration_unit | time_since_acquisition_instrument_calibration_value | time_since_acquisition_instrument_calibration_unit | contributors_path | data_path | barcode_offset | barcode_read | barcode_size | umi_offset | umi_read | umi_size | assay_input_entity | number_of_input_cells_or_nuclei | amount_of_input_analyte_value | amount_of_input_analyte_unit | library_adapter_sequence | library_average_fragment_size | library_input_amount_value | library_input_amount_unit | library_output_amount_value | library_output_amount_unit | library_concentration_value | library_concentration_unit | library_layout | number_of_iterations_of_cdna_amplification | number_of_pcr_cycles_for_indexing | library_preparation_kit | sample_indexing_kit | sample_indexing_set | is_technical_replicate | expected_entity_capture_count | sequencing_reagent_kit | sequencing_read_format | sequencing_batch_id | capture_batch_id | preparation_instrument_vendor | preparation_instrument_model | preparation_instrument_kit | metadata_schema_id
|  |  | RNAseq | [43 empty] | 944e5fa0-f68b-4bdd-8664-74a3909429a9
Note on A1: (Required) The unique identifier from HuBMAP or SenNet for the sample (such as a block, section, or suspension) used to perform the assay. For instance, in an RNAseq assay, the parent sample would be the suspension, while in imaging assays, it would be the tissue section. If the assay is derived from multiple parent samples, this field should contain a comma-separated list of identifiers. Example: HBM386.ZGKG.235, HBM672.MKPK.442
Note on B1: A locally assigned identifier provided by the data provider for the dataset. It is used to reference an external metadata record that may be maintained independently, enabling traceability and supporting provenance tracking. Example: Visium_9OLC_A4_S1
Note on C1: (Required) The DOI for the protocols.io page that details the assay or the procedures used for sample procurement and preparation. For example, in the case of an imaging assay, the protocol may start with tissue section staining and end with the generation of an OME-TIFF file. The documented protocol should also include any image processing steps involved in producing the final OME-TIFF. Example: https://dx.doi.org/10.17504/protocols.io.eq2lyno9qvx9/v1
Note on D1: (Required) The specific type of dataset being produced. Example: RNAseq
Note on E1: (Required) The analyte class which is the target molecule that the assay is measuring. Example: DNA
Note on F1: (Required) Indicates whether a specific molecule or set of molecules is targeted for detection or measurement by the assay. Example: Yes
Note on G1: (Required) The company that manufactures or supplies the acquisition instrument. An acquisition instrument is a device equipped with signal detection hardware and signal processing software. It captures signals produced by assays, such as variations in light intensity or color, or signals corresponding to molecular mass. If the instrument was custom-built or developed internally, enter "In-House". Example: Illumina
Note on H1: (Required) The specific model of the acquisition instrument, as manufacturers often offer various versions with differing features or sensitivities. These differences may be relevant to the processing or interpretation of the data. If the instrument was custom-built or developed internally, enter "In-House". If the model is unknown, enter "Unknown". Example: HiSeq 4000
Note on I1: (Required) The length of time the sample was stored prior to processing it. For assays performed on tissue sections, this refers to how long the tissue section (e.g., slide) was stored before the assay began (e.g., imaging). For assays performed on suspensions, such as sequencing, it refers to how long the suspension was stored before library construction started. Example: 12
Note on J1: (Required) The unit of measurement used to specify the source storage duration value. Example: hour
Note on K1: The length of time since the acquisition instrument was last serviced or calibrated. This provides a metric for assessing drift in data capture. Example: 10
Note on L1: The unit of measurement used to specify the time since acquisition instrument calibration value. Example: month
Note on M1: (Required) The name of the file containing the ORCID IDs for all contributors to this dataset. Example: ./contributors.csv
Note on N1: (Required) The top-level directory containing the raw and/or processed data. For a single dataset upload, this might be represented as ".", whereas for a data upload containing multiple datasets, this would be the directory name for the respective dataset. For example, if the data is within a directory named "TEST001-RK", use the syntax "./TEST001-RK" for this field. If there are multiple directory levels, use the format "./TEST001-RK/Run1/Pass2", where "Pass2" is the subdirectory where the single dataset's data is stored. This is an internal metadata field used solely for data ingestion. Example: ./TEST001-RK
Note on O1: (Required) The position within a sequencing read where a barcode sequence begins. In sequencing libraries, barcodes—short DNA sequences used to tag individual cells or molecules—are often arranged in a pattern where each barcode is separated by a constant sequence of known length. These constant sequences create predictable spacing between barcodes, known as offsets. For example, if barcodes are 8 base pairs (bp) long and separated by 30 bp constant regions, the barcodes might start at positions 0, 38, and 76 within the read. If the source material is not barcoded, this field should be marked as "Not applicable". Example: 0,38,76
Note on P1: (Required) The sequencing read file contains the cell or capture spot barcode sequences. This information is essential when constructing sequencing libraries with a non-commercial kit, as it ensures that barcodes are correctly extracted during data processing. If the source material is not barcoded, this field should be marked as "Not applicable". Example: Read 1 (R1)
Note on Q1: (Required) The length of each cell or capture spot barcode in base pairs (bp). If the source material is not barcoded, enter "Not applicable". Example: 16
Note on R1: (Required) The position within a sequencing read where the Unique Molecular Identifier (UMI) sequence begins. UMIs are short, random nucleotide sequences added to DNA or RNA fragments during library preparation to uniquely tag each original molecule. If no UMI is used, enter "Not applicable". Example: 16
Note on S1: (Required) Specifies which sequencing read file contains the Unique Molecular Identifier (UMI) barcode. If no UMI is used, enter "Not applicable". Example: Read 1 (R1)
Note on T1: (Required) The length of the Unique Molecular Identifier (UMI) in base pairs (bp). If no UMI is used, enter "Not applicable". Example: 8
Note on U1: (Required) The entity from which the analyte is captured. For example, in bulk sequencing, the source entity would be "tissue" while in single-cell sequencing, it would be "single cell". Example: single cell
Note on V1: The number of cells or nuclei that were input into the assay. This information is typically not available for assays performed on bulk tissue preparations, and therefore this field may be left blank. Example: 1000
Note on W1: The amount of RNA or DNA input into the assay, typically measured using instruments such as a Qubit, BioAnalyzer, or TapeStation. In most single-cell or single-nucleus assays, this value is usually not available, and therfore this field may be left blank. Example: 500
Note on X1: The unit of measurement used to specify the amount of input analyte value. If no input amount, this field may be left blank. Example: ng
Note on Y1: (Required) The 5' and/or 3' adapter sequences used during library preparation to make the library compatible with the sequencing protocol and instrumentation. Adapter sequences should be provided as a comma-separated list of key-value pairs in the format: "adapter name: sequence". Example: Nextera Read 1: CTGTCTCTTATACACATCT
Note on Z1: (Required) The average size of sequencing library fragments, measured in base pairs (bp), as estimated by gel electrophoresis, BioAnalyzer, or TapeStation. Example: 200
Note on AA1: (Required) The amount of cDNA, after amplification, that was used for library construction. Example: 60
Note on AB1: (Required) The unit of measurement used to specify the library input amount value. Example: ng
Note on AC1: The total amount of library following the clean-up step after the final PCR amplification. To calculate, multiply the Qubit-measured concentration (ng/µl) by the elution volume (µl) obtained after the final clean-up. Example: 125
Note on AD1: The unit of measurement used to specify the library output amount value. Example: ng
Note on AE1: (Required) The concentration of the pooled library submitted for sequencing. Example: 2.5
Note on AF1: (Required) Unit of library concentration value.
Note on AG1: (Required) Indicates whether the sequencing library was prepared for single-end or paired-end sequencing. This information determines how reads are generated and aligned during data processing. Example: single-end
Note on AH1: (Required) The number of amplification cycles applied to cDNA prior to library construction. This is typically the number of PCR cycles used. For protocols using linear amplification methods (e.g., aRNA), this refers to the number of amplification rounds performed. Example: 3
Note on AI1: (Required) The number of PCR cycles used specifically to add sequencing adapters and amplify the library during the indexing step. This count does not include earlier cDNA amplification cycles, which are recorded separately under the "Number of iterations of cDNA amplification" field. Example: 8
Note on AJ1: (Required) The reagent kit used to construct the sequencing library, including both the kit name and, if available, version and product number. If the library was prepared using a custom protocol, enter “Custom”. Example: 10X Genomics; Chromium Next GEM Single Cell 5' Kit v2, 16 rxns; PN 1000263
Note on AK1: (Required) The reagent kit used to add index sequences to samples. Indexes enable multiplexing, allowing multiple libraries to be pooled and sequenced together on the same Illumina flow cell. Each indexing kit includes a set of compatible index sequences (often called "indexing sets") used to uniquely label a specific number of samples, depending on the kit’s design. If the library was prepared using a custom protocol, enter “Custom”. If no indexing was performed, enter "Not applicable". Example: 10X Genomics; Dual Index Kit TS, Set A; PN 1000251
Note on AL1: (Required) The specific sequencing barcode index set used, chosen from the sample indexing kit. For example, in the case of 10x, this might be "SI-GA-A1", whereas for Nextera, it could be "N505 - CTCCTTAC". Example: SI-GA-A1
Note on AM1: (Required) Indicates whether the sequencing reaction was run in replicate. If "Yes," the corresponding FASTQ files in the dataset should be merged for analysis. Example: Yes
Note on AN1: The number of cells, nuclei, or capture spots expected to be captured by the assay. Example: 14336
Note on AO1: (Required) The reagent kit used to perform the sequencing run, including the platform, kit name, version, and product number when available. If the reagent kit was prepared using a custom protocol, enter “Custom”. Example: Illumina; NextSeq 500/550 Hi Output Kit 150 Cycles; v2.5; PN 20024907
Note on AP1: (Required) The number of sequencing cycles for each read and index in the sequencing run, typically reported as a comma-separated list in the order: Read 1, i7 index, i5 index, and Read 2. Example: 50,8,16,50
Note on AQ1: A lab-assigned identifier for the sequencing run, such as a chip ID, that enables users to determine which samples were processed together. To avoid ID conflicts across institutions, it is recommended to prefix the ID with the name of the sequencing center. Example: Broad_Chip1234
Note on AR1: A lab-assigned identifier used to indicate which cells or nuclei were captured together in the same run. For example, in a 10X Genomics Chromium Controller workflow, this could be the chip ID used to trace datasets derived from a single capture event. This ID helps users identify samples processed together on the same device. To avoid conflicts across institutions, it is recommended to prefix the ID with the name of the sequencing center. Example: Broad_Batch1234
Note on AS1: The company that manufactures the instrument used to prepare the sample (e.g., for staining or other processing steps) prior to the assay. If the instrument was custom-built or developed internally, enter "In-House". If no sample preparation occurred, enter "Not applicable". Example: 10X Genomics
Note on AT1: The specific model of the instrument used for sample preparation, such as staining. Manufacturers may offer multiple models with varying features or sensitivities, which can influence how the sample is processed and how the resulting data is interpreted. If no sample preparation occurred, enter "Not applicable". Example: Chromium X
Note on AU1: The reagent kit used in conjunction with the preparation instrument for sample processing (e.g., staining or labeling). If the reagent kit was prepared using a custom protocol, enter “Custom”. Example: 10X Genomics; Chromium Next GEM Chip G Single Cell Kit, 48 rxns; PN 1000120
Note on AV1: (Required) The unique string identifier for the metadata specification version, which is easily interpretable by computers for purposes of data validation and processing. Example: 22bc762a-5020-419d-b170-24253ed9e8d9

## dataset_type
HiFi-Slide | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000195
SNARE-seq2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000264
COMET | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000458
Visium (no probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000302
DESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000204
Confocal | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000206
Stereo-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000385
Visium (with probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000303
Molecular Cartography | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000217
DBiT-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000428
Seq-Scope | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000390
CosMx Transcriptomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000218
CyCIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000200
Light Sheet | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000168
seqFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000397
ATACseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000309
CosMx Proteomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000435
Singular Genomics G4X | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000429
Visium HD | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000451
MERFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000221
10X Multiome | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000215
4i | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000447
PhenoCycler | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000199
Second Harmonic Generation (SHG) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000208
Thick section Multiphoton MxIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000207
CyTOF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000407
Olink | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000441
MIBI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000172
Auto-fluorescence | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000205
FACS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000440
Xenium | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000219
SIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000202
Cell DIVE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000159
CODEX | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000160
GeoMx (NGS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000300
MUSIC | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000328
Pixel-seqV2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000450
MALDI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000201
2D Imaging Mass Cytometry | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000296
Histology | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000197
Enhanced Stimulated Raman Spectroscopy (SRS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000209
DART-FISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000396
Resolve | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000384
RNAseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000310
LC-MS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000194
nanoSPLITS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000312
GeoMx (nCounter) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000301
RNAseq (with probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000311
MS Lipidomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000405
MPLEx | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000448

## analyte_class
DNA + RNA | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000327
Nucleic acid + protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000273
Chromatin | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C13201
RNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C812
Metabolite | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C61154
Unsaturated lipid | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000389
Lipid + metabolite | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000401
Saturated lipid | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000388
Lipid | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C616
Protein | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17021
Fluorochrome | http://purl.obolibrary.org/obo/CHEBI_51217
Collagen | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C16447
DNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C449
Peptide | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C735
Polysaccharide | http://purl.obolibrary.org/obo/CHEBI_18154
Endogenous fluorophore | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000131

## is_targeted
Yes
No

## acquisition_instrument_vendor
BGI Genomics | https://identifiers.org/RRID:SCR_024848
Cytiva | https://identifiers.org/RRID:SCR_023581
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Zeiss Microscopy | https://identifiers.org/RRID:SCR_023607
Complete Genomics | https://identifiers.org/RRID:SCR_027007
3DHISTECH | https://identifiers.org/RRID:SCR_027042
GE Healthcare | https://identifiers.org/RRID:SCR_025461
Leica Microsystems | https://identifiers.org/RRID:SCR_008960
Akoya Biosciences | https://identifiers.org/RRID:SCR_023774
NanoString | https://identifiers.org/RRID:SCR_023912
Element Biosciences | https://identifiers.org/RRID:SCR_026453
Andor | https://identifiers.org/RRID:SCR_023609
Huron Digital Pathology | https://identifiers.org/RRID:SCR_024996
Illumina | https://identifiers.org/RRID:SCR_010233
Ionpath | https://identifiers.org/RRID:SCR_023605
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
Resolve Biosciences | https://identifiers.org/RRID:SCR_023911
Singular Genomics | https://identifiers.org/RRID:SCR_026683
Vizgen | https://identifiers.org/RRID:SCR_026274
Standard BioTools (Fluidigm) | https://identifiers.org/RRID:SCR_023606
Sciex | https://identifiers.org/RRID:SCR_023651
Bruker | https://identifiers.org/RRID:SCR_017365
Evident Scientific (Olympus) | https://identifiers.org/RRID:SCR_024782
Keyence | https://identifiers.org/RRID:SCR_023604
Leica Biosystems | https://identifiers.org/RRID:SCR_023603
Cytek Biosciences | https://identifiers.org/RRID:SCR_027071
10x Genomics | https://identifiers.org/RRID:SCR_023672
Microscopes International | https://identifiers.org/RRID:SCR_027094
Hamamatsu | https://identifiers.org/RRID:SCR_017105
Motic | https://identifiers.org/RRID:SCR_024856

## acquisition_instrument_model
SCN400 | https://identifiers.org/RRID:SCR_023611
STELLARIS 5 | https://identifiers.org/RRID:SCR_024663
BZ-X710 | https://identifiers.org/RRID:SCR_017202
Pannoramic MIDI II Digital Scanner | https://identifiers.org/RRID:SCR_024834
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
MoticEasyScan One | https://identifiers.org/RRID:SCR_024855
EVOS M7000 | https://identifiers.org/RRID:SCR_025070
NovaSeq X | https://identifiers.org/RRID:SCR_024569
NanoZoomer 2.0-HT | https://identifiers.org/RRID:SCR_021658
timsTOF Ultra 2 | https://identifiers.org/RRID:SCR_026541
Lightsheet 7 | https://identifiers.org/RRID:SCR_024448
Phenocycler-Fusion 1.0 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000316
DNBSEQ-T7 | https://identifiers.org/RRID:SCR_024847
timsTOF Pro | https://identifiers.org/RRID:SCR_026544
Unknown | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17998
AVITI | https://identifiers.org/RRID:SCR_026452
timsTOF Pro 2 | https://identifiers.org/RRID:SCR_026545
Q Exactive UHMR | https://identifiers.org/RRID:SCR_020571
Q Exactive | https://identifiers.org/RRID:SCR_020565
timsTOF SCP | https://identifiers.org/RRID:SCR_026542
Zyla 4.2 sCMOS | https://identifiers.org/RRID:SCR_023610
Helios | https://identifiers.org/RRID:SCR_019916
uScopeHXII-20 | https://identifiers.org/RRID:SCR_027101
Custom: Multiphoton | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000317
QTRAP 5500 | https://identifiers.org/RRID:SCR_020517
timsTOF Ultra | https://identifiers.org/RRID:SCR_026540
BZ-X800 | https://identifiers.org/RRID:SCR_023617
CyTOF 2 | https://identifiers.org/RRID:SCR_026551
G4X Spatial Sequencer | https://identifiers.org/RRID:SCR_026684
NextSeq 500 | https://identifiers.org/RRID:SCR_014983
NanoZoomer S360 | https://identifiers.org/RRID:SCR_023761
Hyperion Imaging System | https://identifiers.org/RRID:SCR_023195
NovaSeq X Plus | https://identifiers.org/RRID:SCR_024568
CyTOF XT | https://identifiers.org/RRID:SCR_026344
NanoZoomer-SQ | https://identifiers.org/RRID:SCR_023763
NextSeq 550 | https://identifiers.org/RRID:SCR_016381
Axio Zoom.V16 | https://identifiers.org/RRID:SCR_027090
Digital Spatial Profiler | https://identifiers.org/RRID:SCR_021660
timsTOF FleX | https://identifiers.org/RRID:SCR_026925
timsTOF FleX MALDI-2 | https://identifiers.org/RRID:SCR_023615
NanoZoomer S210 | https://identifiers.org/RRID:SCR_023760
BZ-X810 | https://identifiers.org/RRID:SCR_025160
Axio Observer 7 | https://identifiers.org/RRID:SCR_023694
Cytek Northern Lights | https://identifiers.org/RRID:SCR_027072
IN Cell Analyzer 2200 | https://identifiers.org/RRID:SCR_023616
timsTOF HT | https://identifiers.org/RRID:SCR_026543
PhenoImager Fusion | https://identifiers.org/RRID:SCR_023274
DM6 B | https://identifiers.org/RRID:SCR_024857
Phenocycler-Fusion 2.0 | https://identifiers.org/RRID:SCR_023773
Aperio CS2 | https://identifiers.org/RRID:SCR_025111
Orbitrap Fusion Lumos Tribrid | https://identifiers.org/RRID:SCR_020562
Resolve Biosciences Molecular Cartography | https://identifiers.org/RRID:SCR_024449
MALDI timsTOF Flex Prototype | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000433
TissueScope LE Slide Scanner | https://identifiers.org/RRID:SCR_024995
VS200 Slide Scanner | https://identifiers.org/RRID:SCR_024783
Axio Observer 5 | https://identifiers.org/RRID:SCR_023692
Axio Observer 3 | https://identifiers.org/RRID:SCR_023693
HiSeq 2500 | https://identifiers.org/RRID:SCR_016383
Orbitrap Eclipse Tribrid | https://identifiers.org/RRID:SCR_023618
Cell DIVE | https://identifiers.org/RRID:SCR_027323
MERSCOPE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000404
NextSeq 2000 | https://identifiers.org/RRID:SCR_023614
NovaSeq 6000 | https://identifiers.org/RRID:SCR_016387
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
HiSeq 4000 | https://identifiers.org/RRID:SCR_016386
solariX | https://identifiers.org/RRID:SCR_027095
Panoramic 150 Digital Scanner | https://identifiers.org/RRID:SCR_027467
Aperio AT2 | https://identifiers.org/RRID:SCR_021256
MIBIscope | https://identifiers.org/RRID:SCR_023613
Biomark HD | https://identifiers.org/RRID:SCR_022658
NanoZoomer S60 | https://identifiers.org/RRID:SCR_023762
CosMx Spatial Molecular Imager | https://identifiers.org/RRID:SCR_023909
MERSCOPE Ultra | https://identifiers.org/RRID:SCR_026273
Axio Scan.Z1 | https://identifiers.org/RRID:SCR_020927
Juno System | https://identifiers.org/RRID:SCR_027198
Q Exactive HF | https://identifiers.org/RRID:SCR_020558
Xenium Analyzer | https://identifiers.org/RRID:SCR_023910

## source_storage_duration_unit
hour | http://purl.obolibrary.org/obo/UO_0000032
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033
minute | http://purl.obolibrary.org/obo/UO_0000031

## time_since_acquisition_instrume
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033

## barcode_offset
0
8
20
1,27
0,38,76
10,48,78
10,48,86
0,20-23,41-44
Not applicable

## barcode_read
Read 1 (R1) | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C172301
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Read 2 (R2) | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C172302

## barcode_size
14
16
40
8,8,8
8,6
Not applicable

## umi_offset
0
16
36
Not applicable

## umi_read
Read 1 (R1) | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C172301
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Read 2 (R2) | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C172302

## umi_size
8
9
10
12
Not applicable

## assay_input_entity
single cell | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000268
tissue (bulk) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000267
spot | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000270
single nucleus | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000269
area of interest | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000271

## amount_of_input_analyte_unit
ug | http://purl.obolibrary.org/obo/UO_0000023
ng | http://purl.obolibrary.org/obo/UO_0000024

## library_input_amount_unit
ul | http://purl.obolibrary.org/obo/UO_0000101
ng | http://purl.obolibrary.org/obo/UO_0000024

## library_output_amount_unit
ul | http://purl.obolibrary.org/obo/UO_0000101
ng | http://purl.obolibrary.org/obo/UO_0000024

## library_concentration_unit
ng/ul | http://purl.obolibrary.org/obo/UO_0010050
pg/ul | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000438
nM | http://purl.obolibrary.org/obo/UO_0000065

## library_layout
single-end | http://purl.obolibrary.org/obo/OBI_0002481
paired-end | http://purl.obolibrary.org/obo/OBI_0000722

## library_preparation_kit
10X Genomics; Chromium Next GEM Single Cell 3' HT Kit v3.1, 8 rxns; PN 1000370 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000336
10X Genomics; Chromium Next GEM Automated Single Cell 5' Kit v2, 4 rxns; PN 1000298 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000366
10X Genomics; Visium Spatial Gene Expression Slide and Reagent Kit, 4 slides, 16 reactions; PN 1000184 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000261
Parse Biosciences; Evercode WT v2 Kit, 48 rxns; PN ECW02030 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000341
10X Genomics; Chromium Next GEM Single Cell 5' Kit v2, 16 rxns; PN 1000263 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000339
10X Genomics; Visium Spatial for FFPE Gene Expression Kit, Human Transcriptome, 1 slides, 4 reactions; PN 1000338 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000320
10X Genomics; Chromium Next GEM Single Cell 3' Kit v3.1, 16 rxns; PN 1000268 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000337
10x Genomics; Chromium Next GEM Single Cell ATAC Library & Gel Bead Kit, 16 rxns; PN 1000175 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000471
10x Genomics; Library Construction Kit C, 16 rxns; PN 1000694 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000399
10x Genomics; Visium CytAssist Spatial Gene Expression for FFPE, Mouse Transcriptome, 6.5mm, 4 rxns; PN 1000521 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000432
10X Genomics; Chromium Next GEM Single Cell 3' HT Kit v3.1, 48 rxns; PN 1000348 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000335
10X Genomics; Chromium Next GEM Single Cell 3' GEM, Library & Gel Bead Kit v3.1, 16 rxns; PN 1000121 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000334
10x Genomics; Library Construction Kit C, 4 rxns; PN 1000689 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000398
10X Genomics; Visium CytAssist Spatial Gene Expression for FFPE, Human Transcriptome, 11 mm, 2 reactions; PN 1000522 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000322
Illumina; TruSeq Stranded mRNA Library Prep (48 samples); PN 20020594 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000343
10X Genomics; Automated Library Construction Kit, 24 rxns; PN 1000428 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000374
New England BioLabs; NEBNext Ultra II RNA Library Prep Kit for Illumina; PN E7770 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000377
10X Genomics; Chromium Next GEM Automated Single Cell 5' Kit v2, 24 rxns; PN 1000290 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000365
10X Genomics; Visium Spatial Gene Expression Slide and Reagent Kit, 1 slides, 4 reactions; PN 1000187 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000265
10x Genomics; Chromium GEM-X Single Cell 5' Kit v3, 16 rxns; PN 1000699 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000394
10x Genomics; Chromium Single Cell ATAC Library & Gel Bead Kit, 16 rxns; PN 1000110 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000469
10x Genomics; Library Construction Kit, 16 rxns; PN 1000190 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000439
Parse Biosciences; Evercode WT Mini v2 Kit, 12 rxns; PN ECW02010 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000342
10x Genomics; Chromium Next GEM Single Cell 5' HT Kit v2, 48 rxns; PN 1000356 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000467
Illumina; TruSeq Stranded mRNA Library Prep (96 samples); PN 20020595 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000344
10X Genomics; Chromium Next GEM Single Cell 5' Kit v2, 4 rxns; PN 1000265 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000340
10X Genomics; Chromium NextGem Single Cell Multiome ATAC + Gene Expression Reagent Bundle, 4 rxn; PN 1000285 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000251
10X Genomics; Chromium Next GEM Single Cell Fixed RNA Hybridization & Library Kit, 4 rxns; PN 1000415 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000375
Custom | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C65167
10X Genomics; Chromium Single Cell 3' GEM, Library & Gel Bead Kit v3, 4 rxns; PN 1000092 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000260
10x Genomics; Chromium Single Cell 3ʹ GEM, Library & Gel Bead Kit v3, 16 rxns; PN 1000075 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000460
10X Genomics; Chromium Single Cell 3' Library & Gel Bead Kit, 4 rxns; PN 120267 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000299
10X Genomics; Visium Spatial for FFPE Gene Expression Kit, Mouse Transcriptome, 4 rxns; PN 1000339 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000355
10X Genomics; Chromium NextGem Single Cell Multiome ATAC + Gene Expression Reagent Bundle, 16 rxn; PN 1000283 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000250
10X Genomics; Chromium Next GEM Single Cell 3' Kit v3.1, 4 rxns; PN 1000269 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000338
10x Genomics; Chromium Next GEM Single Cell 5' HT Kit v2, 8 rxns; PN 1000374 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000466
10X Genomics; Visium CytAssist Spatial Gene Expression for FFPE, Human Transcriptome, 6.5mm, 4 reactions; PN 1000520 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000321

## sample_indexing_kit
10x Genomics; Chromium i7 Multiplex Kit, 96 rxns; PN 120262 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000461
Illumina; TruSeq RNA CD Index Plate (96 Indexes, 96 Samples); PN 20019792 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000349
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Illumina; TruSeq RNA Single Indexes Set A (12 Indexes, 48 Samples); PN 20020492 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000347
Illumina; TruSeq RNA Single Indexes Set B (12 Indexes, 48 Samples); PN 20020493 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000348
10X Genomics; Chromium i7 Sample Index Plate (96 rxn); PN 220103 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000380
NanoString Technologies; GeoMx Seq Code Pack; PN GMX-NGS-SEQ-AB | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000356
NanoString Technologies; GeoMx Seq Code Pack; PN GMX-NGS-SEQ-CD | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000357
NanoString Technologies; GeoMx Seq Code Pack; PN GMX-NGS-SEQ-EF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000358
NanoString Technologies; GeoMx Seq Code Pack; PN GMX-NGS-SEQ-GH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000359
Custom | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C65167
10x Genomics; Chromium i7 Multiplex Kit N, Set A, 96 rxn; PN 1000084 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000468
Parse Biosciences; Fragmentation Reagents; PN WX100 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000345
Integrated DNA Technologies: Custom DNA Oligos | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000351
Parse Biosciences; UDI Plate - WT; PN UDI1001 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000346
10X Genomics; Dual Index Kit TS, Set A; PN 1000251 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000282
Illumina; IDT for Illumina - TruSeq RNA UD Indexes v2 (96 Indexes, 96 Samples); PN 20040871 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000350
10X Genomics; Single Index Kit N, Set A (96 rxn); PN 1000212 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000252
10X Genomics; Dual Index Kit TT, Set A (96 rxn); PN 1000215 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000253

## is_technical_replicate
Yes
No

## sequencing_reagent_kit
Illumina; NovaSeq X Series 25B Reagent Kit (100 Cycle); PN 20125967 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000463
Illumina; NovaSeq X Series 1.5B Reagent Kit (300 Cycle); PN 20104705 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000288
Illumina; NovaSeq 6000 S1 Reagent v1.5 Kit (200 Cycles); PN 20028318 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000360
Illumina; NextSeq 2000 P3 Reagent Kit (300 Cycles); PN 20040561 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000354
Illumina; NextSeq 1000/2000 P2 Reagent v3 Kit (200 Cycles); PN 20046812 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000352
Illumina; NovaSeq X Series 25B Reagent Kit (200 Cycle); PN 20125968 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000464
Illumina; NovaSeq X Series 1.5B Reagent Kit (200 Cycle); PN 20104704 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000287
Illumina; NovaSeq X Series 10B Reagent Kit (300 Cycle); PN 20085594 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000283
Element Biosciences; AVITI 2x75 Sequencing Kit Cloudbreak FS High Output (184 Cycles); PN 860-00015 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000406
Illumina; NovaSeq X Series 1.5B Reagent Kit (100 Cycle); PN 20104703 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000286
Illumina; NovaSeq X Series 25B Reagent Kit (300 Cycle); PN 20104706 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000392
Illumina; NovaSeq 6000 S1 Reagent v1.5 Kit (100 Cycles); PN 20028319 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000257
Illumina; NovaSeq 6000 SP Reagent v1.5 Kit (100 Cycles); PN 20028401 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000256
Illumina; HiSeq 3000/4000 PE Cluster Kit PE-410-1001; PN 1000283 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000254
Illumina; NextSeq 1000/2000 P2 Reagent v3 Kit (300 Cycles); PN 20046813 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000353
Illumina; NextSeq 2000 P3 Reagents Kit (100 Cycles); PN 20040559 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000361
Illumina; NovaSeq 6000 S1 Reagent v1.5 Kit (300 Cycles); PN 20028317 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000318
Custom | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C65167
Illumina; NextSeq 1000/2000 P2 Reagent v3 Kit (100 Cycles); PN 20046811 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000323
Illumina; NovaSeq X Series 10B Reagent Kit (200 Cycle); PN 20085595 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000284
Illumina; NextSeq 500/550 Hi Output Kit 150 Cycles; v2.5; PN 20024907 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000255
Illumina; NextSeq 500/550 Mid Output Kit 150 Cycles v2.5; PN 20024904 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000369
Illumina; NovaSeq 6000 S1 Reagent Kit (200 Cycles); PN 20012864 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000313
Illumina; NovaSeq 6000 SP Reagent v1.5 Kit (300 Cycles); PN 20028400 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000459
Illumina; NovaSeq 6000 S4 Reagent v1.5 Kit (200 Cycles); PN 20028313 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000259
Illumina; NextSeq 500/550 Hi Output Kit 75 Cycles v2.5; PN 20024906 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000381
Illumina; NovaSeq 6000 S4 Reagent Kit v1.5 (300 cycles); PN 20028312 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000319
Illumina; NovaSeq X Series 10B Reagent Kit (100 Cycle); PN 20085596 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000285
Illumina; NovaSeq 6000 S2 Reagent v1.5 Kit (100 Cycles); PN 20028316 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000258

## preparation_instrument_vendor
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
Leica Biosystems | https://identifiers.org/RRID:SCR_023603
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Roche Diagnostics | https://identifiers.org/RRID:SCR_025096
HTX Technologies | https://identifiers.org/RRID:SCR_023734
10x Genomics | https://identifiers.org/RRID:SCR_023672
Hamamatsu | https://identifiers.org/RRID:SCR_017105
Ionpath | https://identifiers.org/RRID:SCR_023605
SunChrom | https://identifiers.org/RRID:SCR_023908

## preparation_instrument_model
NanoZoomer S210 | https://identifiers.org/RRID:SCR_023760
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Sublimator | https://identifiers.org/RRID:SCR_023729
EVOS M7000 | https://identifiers.org/RRID:SCR_025070
Chromium Controller | https://identifiers.org/RRID:SCR_019326
Custom | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C65167
NanoZoomer S360 | https://identifiers.org/RRID:SCR_023761
NanoZoomer S60 | https://identifiers.org/RRID:SCR_023762
Chromium X | https://identifiers.org/RRID:SCR_024537
AutoStainer XL | https://identifiers.org/RRID:SCR_023957
Visium CytAssist | https://identifiers.org/RRID:SCR_024570
SunCollect Sprayer | https://identifiers.org/RRID:SCR_023907
M3+ Sprayer | https://identifiers.org/RRID:SCR_023731
Discovery Ultra | https://identifiers.org/RRID:SCR_025097
ST5020 Multistainer | https://identifiers.org/RRID:SCR_025021
Chromium iX | https://identifiers.org/RRID:SCR_024536
Chromium Connect | https://identifiers.org/RRID:SCR_025146
M5 Sprayer | https://identifiers.org/RRID:SCR_023733
TM-Sprayer | https://identifiers.org/RRID:SCR_023732

## preparation_instrument_kit
10X Genomics; Chromium Next GEM Chip K Automated Single Cell Kit, 48 rxns; PN 1000289 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000373
10x Genomics; Chromium Single Cell B Chip Kit, 16 rxns; PN 1000074 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000462
10X Genomics; Chromium NextGem Single Cell Multiome ATAC + Gene Expression Reagent Bundle, 4 rxn; PN 1000285 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000251
10X Genomics; Chromium Next GEM Chip K Single Cell Kit, 48 rxns; PN 1000286 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000367
10x Genomics; Chromium Chip E Single Cell ATAC Kit, 48 rxns; PN 1000155 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000470
10X Genomics; Chromium Next GEM Chip G Single Cell Kit, 48 rxns; PN 1000120 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000378
Custom | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C65167
10X Genomics; Chromium Next GEM Chip K Single Cell Kit, 16 rxns; PN 1000287 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000368
10X Genomics; Chromium Next GEM Chip G Single Cell Kit, 16 rxns; PN 1000127 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000379
10X Genomics; Chromium NextGem Single Cell Multiome ATAC + Gene Expression Reagent Bundle, 16 rxn; PN 1000283 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000250
10x Genomics; Chromium GEM-X Single Cell 3' Kit v4, 16 rxns; PN 1000691 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000400
10X Genomics; Visium FFPE Reagent Kit v2-Small, PN 1000436 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000324
10X Genomics; Chromium Next GEM Chip Q Single Cell Kit, 16 rxns; PN 1000422 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000325

## .metadata
schema:title | pav:version | pav:createdOn | pav:derivedFrom
RNAseq | 5.0.0 | 2025-10-29T11:31:13-07:00 | https://repo.metadatacenter.org/templates/944e5fa0-f68b-4bdd-8664-74a3909429a9