## LC-MS
assay_description | parent_sample_id | lab_id | preparation_protocol_doi | dataset_type | analyte_class | is_targeted | acquisition_instrument_vendor | acquisition_instrument_model | source_storage_duration_value | source_storage_duration_unit | time_since_acquisition_instrument_calibration_value | time_since_acquisition_instrument_calibration_unit | contributors_path | data_path | ms_ionization_technique | ms_scan_mode | mass_analysis_polarity | mass_to_charge_range_low_value | mass_to_charge_range_high_value | mass_resolving_power | mass_to_charge_resolving_power | ion_mobility | data_collection_mode | label_name | lc_instrument_vendor | lc_instrument_model | lc_column_vendor | lc_column_model | lc_resin | lc_column_length_value | lc_column_length_unit | lc_temperature_value | lc_temperature_unit | lc_inner_diameter_value | lc_inner_diameter_unit | lc_flow_rate_value | lc_flow_rate_unit | lc_gradient_value | lc_gradient_unit | lc_mobile_phase_a | lc_mobile_phase_b | spatial_sampling_technique | spatial_sampling_target | spatial_sampling_type | analysis_protocol_doi | metadata_schema_id
|  |  |  | LC-MS | [41 empty] | ef090376-4e19-43cb-92c1-91a1d758ee6e
Note on A1: A styled paragraph describing the assay
Note on B1: (Required) The unique identifier from HuBMAP or SenNet for the sample (such as a block, section, or suspension) used to perform the assay. For instance, in an RNAseq assay, the parent sample would be the suspension, while in imaging assays, it would be the tissue section. If the assay is derived from multiple parent samples, this field should contain a comma-separated list of identifiers. Example: HBM386.ZGKG.235, HBM672.MKPK.442
Note on C1: An identifier assigned by the data provider to reference an external metadata record for the dataset. The external record may be maintained independently and can support dataset traceability and provenance tracking. Leave this field empty if no such identifier exists.
Note on D1: (Required) The DOI for the protocols.io page that details the assay or the procedures used for sample procurement and preparation. For example, in the case of an imaging assay, the protocol may start with tissue section staining and end with the generation of an OME-TIFF file. The documented protocol should also include any image processing steps involved in producing the final OME-TIFF. Example: https://dx.doi.org/10.17504/protocols.io.eq2lyno9qvx9/v1
Note on E1: (Required) The specific type of dataset being produced. Example: RNAseq
Note on F1: (Required) The analyte class which is the target molecule that the assay is measuring. Example: DNA
Note on G1: (Required) Indicates whether a specific molecule or set of molecules is targeted for detection or measurement by the assay. Example: Yes
Note on H1: (Required) The company that manufactures or supplies the acquisition instrument. An acquisition instrument is a device equipped with signal detection hardware and signal processing software. It captures signals produced by assays, such as variations in light intensity or color, or signals corresponding to molecular mass. If the instrument was custom-built or developed internally, enter "In-House". Example: Illumina
Note on I1: (Required) The specific model of the acquisition instrument, as manufacturers often offer various versions with differing features or sensitivities. These differences may be relevant to the processing or interpretation of the data. If the instrument was custom-built or developed internally, enter "In-House". If the model is unknown, enter "Unknown". Example: HiSeq 4000
Note on J1: (Required) The length of time the sample was stored prior to processing it. For assays performed on tissue sections, this refers to how long the tissue section (e.g., slide) was stored before the assay began (e.g., imaging). For assays performed on suspensions, such as sequencing, it refers to how long the suspension was stored before library construction started. Example: 12
Note on K1: (Required) The unit of measurement used to specify the source storage duration value. Example: hour
Note on L1: The length of time since the acquisition instrument was last serviced or calibrated. This provides a metric for assessing drift in data capture. Example: 10
Note on M1: The unit of measurement used to specify the time since acquisition instrument calibration value. Example: month
Note on N1: (Required) The name of the file containing the ORCID IDs for all contributors to this dataset. Example: ./contributors.csv
Note on O1: (Required) The top-level directory containing the raw and/or processed data. For a single dataset upload, this might be represented as ".", whereas for a data upload containing multiple datasets, this would be the directory name for the respective dataset. For example, if the data is within a directory named "TEST001-RK", use the syntax "./TEST001-RK" for this field. If there are multiple directory levels, use the format "./TEST001-RK/Run1/Pass2", where "Pass2" is the subdirectory where the single dataset's data is stored. This is an internal metadata field used solely for data ingestion. Example: ./TEST001-RK
Note on P1: (Required) The ionization technique used in imaging mass spectrometry, which refers to the method employed to probe the sample. Example: MALDI
Note on Q1: (Required) The mode of mass spectrometry (MS) scanning, which refers to the number of steps involved in the separation of fragments during the analysis. Example: MS1
Note on R1: (Required) The polarity mode used in mass analysis, indicating whether positive or negative ion modes are employed. Example: Positive ion mode
Note on S1: The low value of the scanned mass-to-charge range for MS1. This value is unitless. Example: 100
Note on T1: The high value of the scanned mass-to-charge range, for MS1. (unitless)
Note on U1: The mass resolving power, denoted as m/∆m, where ∆m is defined as the full width at half-maximum (FWHM) for a given peak with a specified mass-to-charge ratio (m/z). This measurement is unitless. Example: 60000
Note on V1: The peak mass-to-charge ratio (m/z) used to calculate the resolving power. Example: 400.2
Note on W1: The specific technology employed for ion mobility spectrometry. Available technologies include Traveling Wave Ion Mobility Spectrometry (TWIMS), Trapped Ion Mobility Spectrometry (TIMS), High Field Asymmetric Waveform Ion Mobility Spectrometry (FAIMS), Drift Tube Ion Mobility Spectrometry (DTIMS), Structures for Lossless Ion Manipulations (SLIM), and cyclic Ion Mobility Spectrometry (cIMS). Example: TIMS
Note on X1: The mode of data collection used in tandem MS assays, which can include options such as Data-dependent acquisition (DDA), Data-independent acquisition (DIA), multiple reaction monitoring (SRM), or parallel reaction monitoring (PRM). Example: PRM
Note on Y1: The name or identifier of the chemical label used on this sample if labeling was applied. This is typically required for multiplexed experiments using techniques like Tandem Mass Tag (TMT). If sample was not labeled, this field may be left blank. Example: TMT126
Note on Z1: The company that manufactures the instrument used for liquid chromatography. If the instrument was custom-built or developed internally, enter "In-House". Example: Bruker
Note on AA1: The model number or name of the instrument used for liquid chromatography. Example: Bruker Elute LC-MS
Note on AB1: The manufacturer of the liquid chromatography column used, unless a self-packed or pulled tip capillary is employed. If the column was custom-made or developed internally, enter "In-House". Example: Bruker
Note on AC1: The model number or name of the liquid chromatography column used. If a custom self-packed, pulled tip capillary is utilized, enter "Pulled tip capillary". Example: Thermo Scientific Vanquish UHPLC
Note on AD1: The details of the resin used in liquid chromatography, including information about the vendor, particle size, and pore size. Example: Thermo Fisher Scientific, Acclaim PepMap 100 C18, 3 µm, 100 Å
Note on AE1: Liquid chromatography column length.
Note on AF1: Units for liquid chromatography column length (typically cm).
Note on AG1: The temperature at which the liquid chromatography (LC) process is conducted. Example: 40
Note on AI1: Liquid chromatography column inner diameter.
Note on AJ1: The unit of measurment for the LC inner diameter value. If the diameter is not specified, this field may be left blank. Example: um
Note on AK1: Value of flow rate.
Note on AL1: Units of flow rate.
Note on AM1: The liquid chromatography (LC) gradient used in the assay. Example: 120
Note on AN1: Unit for liquid chromatography gradient
Note on AO1: Composition of mobile phase A.
Note on AR1: The cell type or functional tissue unit (FTU) that is the focus of the spatial profiling experiment. If the data are generated in imaging mode without targeting a specific structure, this field may be left blank. Example: Proximal tubule epithelial cell
Note on AS1: The type of spatial targeting used in the analysis. Spatial profiling focuses on selected tissue regions without necessarily producing images, while spatial imaging captures data across a regular grid of pixels, enabling visualization as ion intensity heat maps—also referred to as molecular images. Leave this field blank if the data originate from bulk (non-spatial) analysis. Example: Imaging
Note on AT1: (Required) A DOI to a protocols.io protocol describing the software and database(s) used to process the raw data. Example: https://dx.doi.org/10.17504/protocols.io.bsu5ney6
Note on AU1: (Required) The unique string identifier for the metadata specification version, which is easily interpretable by computers for purposes of data validation and processing. Example: 22bc762a-5020-419d-b170-24253ed9e8d9

## dataset_type
Cell DIVE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000159
CODEX | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000160
Light Sheet | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000168
MIBI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000172
LC-MS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000194
HiFi-Slide | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000195
Histology | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000197
PhenoCycler | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000199
CyCIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000200
MALDI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000201
SIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000202
DESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000204
Auto-fluorescence | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000205
Confocal | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000206
Thick section Multiphoton MxIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000207
Second Harmonic Generation (SHG) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000208
Enhanced Stimulated Raman Spectroscopy (SRS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000209
10X Multiome | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000215
Molecular Cartography | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000217
CosMx Transcriptomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000218
Xenium | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000219
MERFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000221
SNARE-seq2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000264
2D Imaging Mass Cytometry | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000296
GeoMx (NGS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000300
GeoMx (nCounter) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000301
Visium (no probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000302
Visium (with probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000303
ATACseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000309
RNAseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000310
RNAseq (with probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000311
nanoSPLITS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000312
MUSIC | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000328
Resolve | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000384
Stereo-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000385
Seq-Scope | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000390
DART-FISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000396
seqFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000397
MS Lipidomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000405
CyTOF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000407
DBiT-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000428
Singular Genomics G4X | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000429
CosMx Proteomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000435
FACS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000440
Olink | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000441
4i | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000447
MPLEx | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000448
Pixel-seqV2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000450
Visium HD | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000451
COMET | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000458
Virtual Histology | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000473
Raman Imaging | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000475
STARmap | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000476
iCLAP | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000479
MACSima | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000480
Illumina Spatial ver0 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000487
DNA Methylation | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000490
Paired-Tag | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000492
snm3C-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000504
Whole Exome Sequencing | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000514

## analyte_class
Chromatin | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C13201
Collagen | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C16447
Protein | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17021
DNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C449
Metabolite | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C61154
Lipid | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C616
Peptide | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C735
RNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C812
Polysaccharide | http://purl.obolibrary.org/obo/CHEBI_18154
Fluorochrome | http://purl.obolibrary.org/obo/CHEBI_51217
Endogenous fluorophore | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000131
Nucleic acid + protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000273
DNA + RNA | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000327
Saturated lipid | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000388
Unsaturated lipid | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000389
Lipid + metabolite | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000401
RNA + protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000474
Lipid + metabolite + protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000478

## is_targeted
Yes
No

## acquisition_instrument_vendor
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
Olink | https://identifiers.org/RRID:SCR_003899
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Leica Microsystems | https://identifiers.org/RRID:SCR_008960
Miltenyi Biotec | https://identifiers.org/RRID:SCR_008984
Illumina | https://identifiers.org/RRID:SCR_010233
Hamamatsu | https://identifiers.org/RRID:SCR_017105
Bruker | https://identifiers.org/RRID:SCR_017365
Cytiva | https://identifiers.org/RRID:SCR_023581
Leica Biosystems | https://identifiers.org/RRID:SCR_023603
Keyence | https://identifiers.org/RRID:SCR_023604
Ionpath | https://identifiers.org/RRID:SCR_023605
Standard BioTools (Fluidigm) | https://identifiers.org/RRID:SCR_023606
Zeiss Microscopy | https://identifiers.org/RRID:SCR_023607
Andor | https://identifiers.org/RRID:SCR_023609
Sciex | https://identifiers.org/RRID:SCR_023651
10x Genomics | https://identifiers.org/RRID:SCR_023672
Akoya Biosciences | https://identifiers.org/RRID:SCR_023774
Resolve Biosciences | https://identifiers.org/RRID:SCR_023911
NanoString | https://identifiers.org/RRID:SCR_023912
Waters | https://identifiers.org/RRID:SCR_024589
Evident Scientific (Olympus) | https://identifiers.org/RRID:SCR_024782
BGI Genomics | https://identifiers.org/RRID:SCR_024848
Motic | https://identifiers.org/RRID:SCR_024856
Huron Digital Pathology | https://identifiers.org/RRID:SCR_024996
GE Healthcare | https://identifiers.org/RRID:SCR_025461
Vizgen | https://identifiers.org/RRID:SCR_026274
Element Biosciences | https://identifiers.org/RRID:SCR_026453
Singular Genomics | https://identifiers.org/RRID:SCR_026683
Complete Genomics | https://identifiers.org/RRID:SCR_027007
3DHISTECH | https://identifiers.org/RRID:SCR_027042
Cytek Biosciences | https://identifiers.org/RRID:SCR_027071
Microscopes International | https://identifiers.org/RRID:SCR_027094
Revvity | https://identifiers.org/RRID:SCR_027779
MGI Tech | https://identifiers.org/RRID:SCR_029020

## acquisition_instrument_model
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
Unknown | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17998
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
NextSeq 500 | https://identifiers.org/RRID:SCR_014983
NextSeq 550 | https://identifiers.org/RRID:SCR_016381
HiSeq 2500 | https://identifiers.org/RRID:SCR_016383
HiSeq 4000 | https://identifiers.org/RRID:SCR_016386
NovaSeq 6000 | https://identifiers.org/RRID:SCR_016387
iScan System | https://identifiers.org/RRID:SCR_016388
BZ-X710 | https://identifiers.org/RRID:SCR_017202
LSM 710 Confocal Microscope | https://identifiers.org/RRID:SCR_018063
Helios | https://identifiers.org/RRID:SCR_019916
QTRAP 5500 | https://identifiers.org/RRID:SCR_020517
Q Exactive HF | https://identifiers.org/RRID:SCR_020558
Orbitrap Fusion Tribrid | https://identifiers.org/RRID:SCR_020559
Orbitrap Fusion Lumos Tribrid | https://identifiers.org/RRID:SCR_020562
Q Exactive HF-X | https://identifiers.org/RRID:SCR_020564
Q Exactive | https://identifiers.org/RRID:SCR_020565
Q Exactive UHMR | https://identifiers.org/RRID:SCR_020571
Zeiss LightSheet Z.1 | https://identifiers.org/RRID:SCR_020919
Axio Scan.Z1 | https://identifiers.org/RRID:SCR_020927
Aperio AT2 | https://identifiers.org/RRID:SCR_021256
NanoZoomer 2.0-HT | https://identifiers.org/RRID:SCR_021658
Digital Spatial Profiler | https://identifiers.org/RRID:SCR_021660
Biomark HD | https://identifiers.org/RRID:SCR_022658
Hyperion Imaging System | https://identifiers.org/RRID:SCR_023195
PhenoImager Fusion | https://identifiers.org/RRID:SCR_023274
Zyla 4.2 sCMOS | https://identifiers.org/RRID:SCR_023610
SCN400 | https://identifiers.org/RRID:SCR_023611
MIBIscope | https://identifiers.org/RRID:SCR_023613
NextSeq 2000 | https://identifiers.org/RRID:SCR_023614
timsTOF FleX MALDI-2 | https://identifiers.org/RRID:SCR_023615
IN Cell Analyzer 2200 | https://identifiers.org/RRID:SCR_023616
BZ-X800 | https://identifiers.org/RRID:SCR_023617
Orbitrap Eclipse Tribrid | https://identifiers.org/RRID:SCR_023618
Axio Observer 5 | https://identifiers.org/RRID:SCR_023692
Axio Observer 3 | https://identifiers.org/RRID:SCR_023693
Axio Observer 7 | https://identifiers.org/RRID:SCR_023694
NanoZoomer S210 | https://identifiers.org/RRID:SCR_023760
NanoZoomer S360 | https://identifiers.org/RRID:SCR_023761
NanoZoomer S60 | https://identifiers.org/RRID:SCR_023762
NanoZoomer-SQ | https://identifiers.org/RRID:SCR_023763
Phenocycler-Fusion 2.0 | https://identifiers.org/RRID:SCR_023773
CosMx Spatial Molecular Imager | https://identifiers.org/RRID:SCR_023909
Xenium Analyzer | https://identifiers.org/RRID:SCR_023910
Lightsheet 7 | https://identifiers.org/RRID:SCR_024448
Resolve Biosciences Molecular Cartography | https://identifiers.org/RRID:SCR_024449
NovaSeq X Plus | https://identifiers.org/RRID:SCR_024568
NovaSeq X | https://identifiers.org/RRID:SCR_024569
STELLARIS 5 | https://identifiers.org/RRID:SCR_024663
VS200 Slide Scanner | https://identifiers.org/RRID:SCR_024783
Pannoramic MIDI II Digital Scanner | https://identifiers.org/RRID:SCR_024834
DNBSEQ-T7 | https://identifiers.org/RRID:SCR_024847
MoticEasyScan One | https://identifiers.org/RRID:SCR_024855
DM6 B | https://identifiers.org/RRID:SCR_024857
TissueScope LE Slide Scanner | https://identifiers.org/RRID:SCR_024995
EVOS M7000 | https://identifiers.org/RRID:SCR_025070
Aperio CS2 | https://identifiers.org/RRID:SCR_025111
BZ-X810 | https://identifiers.org/RRID:SCR_025160
MERSCOPE Ultra | https://identifiers.org/RRID:SCR_026273
CyTOF XT | https://identifiers.org/RRID:SCR_026344
AVITI24 | https://identifiers.org/RRID:SCR_026452
SYNAPT XS | https://identifiers.org/RRID:SCR_026524
timsTOF Ultra | https://identifiers.org/RRID:SCR_026540
timsTOF Ultra 2 | https://identifiers.org/RRID:SCR_026541
timsTOF SCP | https://identifiers.org/RRID:SCR_026542
timsTOF HT | https://identifiers.org/RRID:SCR_026543
timsTOF Pro | https://identifiers.org/RRID:SCR_026544
timsTOF Pro 2 | https://identifiers.org/RRID:SCR_026545
CyTOF 2 | https://identifiers.org/RRID:SCR_026551
DMi8 | https://identifiers.org/RRID:SCR_026672
G4X Spatial Sequencer | https://identifiers.org/RRID:SCR_026684
timsTOF FleX | https://identifiers.org/RRID:SCR_026925
Cytek Northern Lights | https://identifiers.org/RRID:SCR_027072
Axio Zoom.V16 | https://identifiers.org/RRID:SCR_027090
solariX | https://identifiers.org/RRID:SCR_027095
uScopeHXII-20 | https://identifiers.org/RRID:SCR_027101
Juno System | https://identifiers.org/RRID:SCR_027198
Cell DIVE | https://identifiers.org/RRID:SCR_027323
Panoramic 150 Digital Scanner | https://identifiers.org/RRID:SCR_027467
Opera Phenix Plus HCS | https://identifiers.org/RRID:SCR_027780
SYNAPT G2-Si | https://identifiers.org/RRID:SCR_027782
Opera Phenix HCS | https://identifiers.org/RRID:SCR_027817
MACSima System | https://identifiers.org/RRID:SCR_027923
NanoZoomer 2.0-RS | https://identifiers.org/RRID:SCR_028001
Orbitrap Astral | https://identifiers.org/RRID:SCR_028684
Olink Signature Q100 | https://identifiers.org/RRID:SCR_028906
Phenocycler-Fusion 1.0 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000316
Custom: Multiphoton | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000317
MERSCOPE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000404
MALDI timsTOF Flex Prototype | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000433

## source_storage_duration_unit
minute | http://purl.obolibrary.org/obo/UO_0000031
hour | http://purl.obolibrary.org/obo/UO_0000032
day | http://purl.obolibrary.org/obo/UO_0000033
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036

## time_since_acquisition_instrume
day | http://purl.obolibrary.org/obo/UO_0000033
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036

## ms_ionization_technique
LA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C111241
ESI | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C19363
MALDI | http://purl.obolibrary.org/obo/MS_1000075
LDI | http://purl.obolibrary.org/obo/MS_1000393
DESI | http://purl.obolibrary.org/obo/MS_1002011
nanoDESI | http://purl.obolibrary.org/obo/OBI_0003101
MALDI-2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000279
SIMS-C60 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000280
SIMS-H20 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000281
HESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000289
nESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000456

## ms_scan_mode
MS1 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000228
MS2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000229
MS3 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000230

## mass_analysis_polarity
Negative ion mode | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000276
Positive ion mode | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000277
Negative and positive ion mode | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000278

## ion_mobility
TIMS | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C158244
TWIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000223
FAIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000224
DTIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000225
SLIM | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000226
cIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000227

## data_collection_mode
DDA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C161785
DIA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C161786
SRM | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C161787
PRM | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C161788

## lc_instrument_vendor
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Agilent Technologies | https://identifiers.org/RRID:SCR_013575
Bruker | https://identifiers.org/RRID:SCR_017365
Sciex | https://identifiers.org/RRID:SCR_023651
Waters | https://identifiers.org/RRID:SCR_024589
Evosep | https://identifiers.org/RRID:SCR_024590
Shimadzu | https://identifiers.org/RRID:SCR_026147

## lc_column_vendor
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Millipore | https://identifiers.org/RRID:SCR_008983
Agilent Technologies | https://identifiers.org/RRID:SCR_013575
Bruker | https://identifiers.org/RRID:SCR_017365
Waters | https://identifiers.org/RRID:SCR_024589
Evosep | https://identifiers.org/RRID:SCR_024590
IonOpticks | https://identifiers.org/RRID:SCR_024593

## lc_column_length_unit
cm | http://purl.obolibrary.org/obo/UO_0000015
mm | http://purl.obolibrary.org/obo/UO_0000016
um | http://purl.obolibrary.org/obo/UO_0000017

## lc_temperature_unit
celsius | http://purl.obolibrary.org/obo/UO_0000027

## lc_inner_diameter_unit
cm | http://purl.obolibrary.org/obo/UO_0000015
mm | http://purl.obolibrary.org/obo/UO_0000016
um | http://purl.obolibrary.org/obo/UO_0000017

## lc_flow_rate_unit
nL/min | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000275
mL/min | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000290

## lc_gradient_unit
minute | http://purl.obolibrary.org/obo/UO_0000031

## spatial_sampling_technique
LCM | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C19263
nanoPOTS | http://purl.obolibrary.org/obo/OBI_0003102
LESA | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000291
microLESA | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000292
microPOTS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000293
nanoSPLITS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000297

## spatial_sampling_type
Profiling | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000294
Imaging | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000295

## .metadata
schema:title | pav:version | pav:createdOn | pav:derivedFrom
LC-MS | 4.0.0 | 2026-10-21T13:35:19-07:00 | https://repo.metadatacenter.org/templates/ef090376-4e19-43cb-92c1-91a1d758ee6e