## RNAseq (with probes)
assay_description | parent_sample_id | lab_id | preparation_protocol_doi | dataset_type | analyte_class | is_targeted | acquisition_instrument_vendor | acquisition_instrument_model | source_storage_duration_value | source_storage_duration_unit | time_since_acquisition_instrument_calibration_value | time_since_acquisition_instrument_calibration_unit | contributors_path | data_path | barcode_offset | barcode_read | barcode_size | umi_offset | umi_read | umi_size | assay_input_entity | number_of_input_cells_or_nuclei | amount_of_input_analyte_value | amount_of_input_analyte_unit | library_adapter_sequence | library_average_fragment_size | library_input_amount_value | library_input_amount_unit | library_output_amount_value | library_output_amount_unit | library_concentration_value | library_concentration_unit | library_layout | number_of_iterations_of_cdna_amplification | number_of_pcr_cycles_for_indexing | library_preparation_kit | sample_indexing_kit | sample_indexing_set | is_technical_replicate | expected_entity_capture_count | sequencing_reagent_kit | sequencing_read_format | sequencing_batch_id | capture_batch_id | preparation_instrument_vendor | preparation_instrument_model | preparation_instrument_kit | probe_hybridization_time_value | probe_hybridization_time_unit | oligo_probe_panel | is_custom_probes_used | metadata_schema_id
|  |  |  | RNAseq (with probes) | [47 empty] | e4df583f-95df-4113-92dc-6e9b90124d9f
Note on A1: A styled paragraph describing the assay
Note on B1: (Required) The unique identifier from HuBMAP or SenNet for the sample (such as a block, section, or suspension) used to perform the assay. For instance, in an RNAseq assay, the parent sample would be the suspension, while in imaging assays, it would be the tissue section. If the assay is derived from multiple parent samples, this field should contain a comma-separated list of identifiers. Example: HBM386.ZGKG.235, HBM672.MKPK.442
Note on C1: An identifier assigned by the data provider to reference an external metadata record for the dataset. The external record may be maintained independently and can support dataset traceability and provenance tracking. Leave this field empty if no such identifier exists.
Note on D1: (Required) The DOI for the protocols.io page that details the assay or the procedures used for sample procurement and preparation. For example, in the case of an imaging assay, the protocol may start with tissue section staining and end with the generation of an OME-TIFF file. The documented protocol should also include any image processing steps involved in producing the final OME-TIFF. Example: https://dx.doi.org/10.17504/protocols.io.eq2lyno9qvx9/v1
Note on E1: (Required) The specific type of dataset being produced. Example: RNAseq
Note on F1: (Required) The analyte class which is the target molecule that the assay is measuring. Example: DNA
Note on G1: (Required) Indicates whether a specific molecule or set of molecules is targeted for detection or measurement by the assay. Example: Yes
Note on H1: (Required) The company that manufactures or supplies the acquisition instrument. An acquisition instrument is a device equipped with signal detection hardware and signal processing software. It captures signals produced by assays, such as variations in light intensity or color, or signals corresponding to molecular mass. If the instrument was custom-built or developed internally, enter "In-House". Example: Illumina
Note on I1: (Required) The specific model of the acquisition instrument, as manufacturers often offer various versions with differing features or sensitivities. These differences may be relevant to the processing or interpretation of the data. If the instrument was custom-built or developed internally, enter "In-House". If the model is unknown, enter "Unknown". Example: HiSeq 4000
Note on J1: (Required) The length of time the sample was stored prior to processing it. For assays performed on tissue sections, this refers to how long the tissue section (e.g., slide) was stored before the assay began (e.g., imaging). For assays performed on suspensions, such as sequencing, it refers to how long the suspension was stored before library construction started. Example: 12
Note on K1: (Required) The unit of measurement used to specify the source storage duration value. Example: hour
Note on L1: The length of time since the acquisition instrument was last serviced or calibrated. This provides a metric for assessing drift in data capture. Example: 10
Note on M1: The unit of measurement used to specify the time since acquisition instrument calibration value. Example: month
Note on N1: (Required) The name of the file containing the ORCID IDs for all contributors to this dataset. Example: ./contributors.csv
Note on O1: (Required) The top-level directory containing the raw and/or processed data. For a single dataset upload, this might be represented as ".", whereas for a data upload containing multiple datasets, this would be the directory name for the respective dataset. For example, if the data is within a directory named "TEST001-RK", use the syntax "./TEST001-RK" for this field. If there are multiple directory levels, use the format "./TEST001-RK/Run1/Pass2", where "Pass2" is the subdirectory where the single dataset's data is stored. This is an internal metadata field used solely for data ingestion. Example: ./TEST001-RK
Note on P1: (Required) The position within a sequencing read where a barcode sequence begins. In sequencing libraries, barcodes—short DNA sequences used to tag individual cells or molecules—are often arranged in a pattern where each barcode is separated by a constant sequence of known length. These constant sequences create predictable spacing between barcodes, known as offsets. For example, if barcodes are 8 base pairs (bp) long and separated by 30 bp constant regions, the barcodes might start at positions 0, 38, and 76 within the read. If the source material is not barcoded, this field should be marked as "Not applicable". Example: 0,38,76
Note on Q1: (Required) The sequencing read file contains the cell or capture spot barcode sequences. This information is essential when constructing sequencing libraries with a non-commercial kit, as it ensures that barcodes are correctly extracted during data processing. If the source material is not barcoded, this field should be marked as "Not applicable". Example: Read 1 (R1)
Note on R1: (Required) The length of each cell or capture spot barcode in base pairs (bp). If the source material is not barcoded, enter "Not applicable". Example: 16
Note on S1: (Required) The position within a sequencing read where the Unique Molecular Identifier (UMI) sequence begins. UMIs are short, random nucleotide sequences added to DNA or RNA fragments during library preparation to uniquely tag each original molecule. If no UMI is used, enter "Not applicable". Example: 16
Note on T1: (Required) Specifies which sequencing read file contains the Unique Molecular Identifier (UMI) barcode. If no UMI is used, enter "Not applicable". Example: Read 1 (R1)
Note on U1: (Required) The length of the Unique Molecular Identifier (UMI) in base pairs (bp). If no UMI is used, enter "Not applicable". Example: 8
Note on V1: (Required) The entity from which the analyte is captured. For example, in bulk sequencing, the source entity would be "tissue" while in single-cell sequencing, it would be "single cell". Example: single cell
Note on W1: The number of cells or nuclei that were input into the assay. This information is typically not available for assays performed on bulk tissue preparations, and therefore this field may be left blank. Example: 1000
Note on X1: The amount of RNA or DNA input into the assay, typically measured using instruments such as a Qubit, BioAnalyzer, or TapeStation. In most single-cell or single-nucleus assays, this value is usually not available, and therfore this field may be left blank. Example: 500
Note on Y1: The unit of measurement used to specify the amount of input analyte value. If no input amount, this field may be left blank. Example: ng
Note on Z1: (Required) The 5' and/or 3' adapter sequences used during library preparation to make the library compatible with the sequencing protocol and instrumentation. Adapter sequences should be provided as a comma-separated list of key-value pairs in the format: "adapter name: sequence". Example: Nextera Read 1: CTGTCTCTTATACACATCT
Note on AA1: (Required) The average size of sequencing library fragments, measured in base pairs (bp), as estimated by gel electrophoresis, BioAnalyzer, or TapeStation. Example: 200
Note on AB1: The amount of cDNA, after amplification, that was used for library construction. Example: 60
Note on AC1: The unit of measurement used to specify the library input amount value. Example: ng
Note on AD1: The total amount of library following the clean-up step after the final PCR amplification. To calculate, multiply the Qubit-measured concentration (ng/µl) by the elution volume (µl) obtained after the final clean-up. Example: 125
Note on AE1: The unit of measurement used to specify the library output amount value. Example: ng
Note on AF1: (Required) The concentration of the pooled library submitted for sequencing. Example: 2.5
Note on AG1: (Required) Unit of library concentration value.
Note on AH1: (Required) Indicates whether the sequencing library was prepared for single-end or paired-end sequencing. This information determines how reads are generated and aligned during data processing. Example: single-end
Note on AI1: (Required) The number of amplification cycles applied to cDNA prior to library construction. This is typically the number of PCR cycles used. For protocols using linear amplification methods (e.g., aRNA), this refers to the number of amplification rounds performed. Example: 3
Note on AJ1: (Required) The number of PCR cycles used specifically to add sequencing adapters and amplify the library during the indexing step. This count does not include earlier cDNA amplification cycles, which are recorded separately under the "Number of iterations of cDNA amplification" field. Example: 8
Note on AK1: The reagent kit used to construct the sequencing library, including both the kit name and, if available, version and product number. If the library was prepared using a custom protocol, enter “Custom”. Example: 10X Genomics; Chromium Next GEM Single Cell 5' Kit v2, 16 rxns; PN 1000263
Note on AL1: The reagent kit used to add index sequences to samples. Indexes enable multiplexing, allowing multiple libraries to be pooled and sequenced together on the same Illumina flow cell. Each indexing kit includes a set of compatible index sequences (often called "indexing sets") used to uniquely label a specific number of samples, depending on the kit’s design. If the library was prepared using a custom protocol, enter “Custom”. If no indexing was performed, enter "Not applicable". Example: 10X Genomics; Dual Index Kit TS, Set A; PN 1000251
Note on AM1: The specific sequencing barcode index set used, chosen from the sample indexing kit. For example, in the case of 10x, this might be "SI-GA-A1", whereas for Nextera, it could be "N505 - CTCCTTAC". Example: SI-GA-A1
Note on AN1: (Required) Indicates whether the sequencing reaction was run in replicate. If "Yes," the corresponding FASTQ files in the dataset should be merged for analysis. Example: Yes
Note on AO1: The number of cells, nuclei, or capture spots expected to be captured by the assay. Example: 14336
Note on AP1: (Required) The reagent kit used to perform the sequencing run, including the platform, kit name, version, and product number when available. If the reagent kit was prepared using a custom protocol, enter “Custom”. Example: Illumina; NextSeq 500/550 Hi Output Kit 150 Cycles; v2.5; PN 20024907
Note on AQ1: (Required) The number of sequencing cycles for each read and index in the sequencing run, typically reported as a comma-separated list in the order: Read 1, i7 index, i5 index, and Read 2. Example: 50,8,16,50
Note on AR1: A lab-assigned identifier for the sequencing run, such as a chip ID, that enables users to determine which samples were processed together. To avoid ID conflicts across institutions, it is recommended to prefix the ID with the name of the sequencing center. Example: Broad_Chip1234
Note on AS1: A lab-assigned identifier used to indicate which cells or nuclei were captured together in the same run. For example, in a 10X Genomics Chromium Controller workflow, this could be the chip ID used to trace datasets derived from a single capture event. This ID helps users identify samples processed together on the same device. To avoid conflicts across institutions, it is recommended to prefix the ID with the name of the sequencing center. Example: Broad_Batch1234
Note on AT1: The company that manufactures the instrument used to prepare the sample (e.g., for staining or other processing steps) prior to the assay. If the instrument was custom-built or developed internally, enter "In-House". If no sample preparation occurred, enter "Not applicable". Example: 10X Genomics
Note on AU1: The specific model of the instrument used for sample preparation, such as staining. Manufacturers may offer multiple models with varying features or sensitivities, which can influence how the sample is processed and how the resulting data is interpreted. If no sample preparation occurred, enter "Not applicable". Example: Chromium X
Note on AV1: The reagent kit used in conjunction with the preparation instrument for sample processing (e.g., staining or labeling). If the reagent kit was prepared using a custom protocol, enter “Custom”. Example: 10X Genomics; Chromium Next GEM Chip G Single Cell Kit, 48 rxns; PN 1000120
Note on AW1: (Required) The duration for which the oligo-conjugated RNA or oligo-conjugated antibody probes were hybridized with the sample. Example: 30
Note on AX1: (Required) The unit of measurement for the probe hybridization time value. If the hybridization time is not specified, this field may be left blank. Example: minute
Note on AY1: (Required) The oligo probe panel used to target genes and/or proteins. If there is a core panel along with add-on modules, the core panel should be selected in this field. Any additional panels utilized should be documented in the "additional_panels_used.csv" file, which must be uploaded alongside the dataset. Example: 10x Genomics; Visium Human Transcriptome Probe Kit-Small; PN 1000363
Note on AZ1: (Required) Indicates whether custom RNA or antibody probes were utilized in the assay. If custom probes were employed, they should be documented in the "custom_probe_set.csv" file. Example: No
Note on BA1: (Required) The unique string identifier for the metadata specification version, which is easily interpretable by computers for purposes of data validation and processing. Example: 22bc762a-5020-419d-b170-24253ed9e8d9

## dataset_type
Cell DIVE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000159
CODEX | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000160
Light Sheet | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000168
MIBI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000172
LC-MS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000194
HiFi-Slide | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000195
Histology | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000197
PhenoCycler | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000199
CyCIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000200
MALDI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000201
SIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000202
DESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000204
Auto-fluorescence | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000205
Confocal | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000206
Thick section Multiphoton MxIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000207
Second Harmonic Generation (SHG) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000208
Enhanced Stimulated Raman Spectroscopy (SRS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000209
10X Multiome | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000215
Molecular Cartography | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000217
CosMx Transcriptomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000218
Xenium | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000219
MERFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000221
SNARE-seq2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000264
2D Imaging Mass Cytometry | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000296
GeoMx (NGS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000300
GeoMx (nCounter) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000301
Visium (no probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000302
Visium (with probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000303
ATACseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000309
RNAseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000310
RNAseq (with probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000311
nanoSPLITS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000312
MUSIC | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000328
Resolve | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000384
Stereo-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000385
Seq-Scope | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000390
DART-FISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000396
seqFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000397
MS Lipidomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000405
CyTOF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000407
DBiT-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000428
Singular Genomics G4X | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000429
CosMx Proteomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000435
FACS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000440
Olink | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000441
4i | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000447
MPLEx | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000448
Pixel-seqV2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000450
Visium HD | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000451
COMET | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000458
Virtual Histology | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000473
Raman Imaging | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000475
STARmap | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000476
iCLAP | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000479
MACSima | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000480
Illumina Spatial ver0 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000487
DNA Methylation | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000490
Paired-Tag | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000492
snm3C-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000504
Whole Exome Sequencing | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000514

## analyte_class
Chromatin | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C13201
Collagen | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C16447
Protein | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17021
DNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C449
Metabolite | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C61154
Lipid | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C616
Peptide | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C735
RNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C812
Polysaccharide | http://purl.obolibrary.org/obo/CHEBI_18154
Fluorochrome | http://purl.obolibrary.org/obo/CHEBI_51217
Endogenous fluorophore | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000131
Nucleic acid + protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000273
DNA + RNA | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000327
Saturated lipid | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000388
Unsaturated lipid | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000389
Lipid + metabolite | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000401
RNA + protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000474
Lipid + metabolite + protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000478

## is_targeted
Yes
No

## acquisition_instrument_vendor
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
Olink | https://identifiers.org/RRID:SCR_003899
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Leica Microsystems | https://identifiers.org/RRID:SCR_008960
Miltenyi Biotec | https://identifiers.org/RRID:SCR_008984
Illumina | https://identifiers.org/RRID:SCR_010233
Hamamatsu | https://identifiers.org/RRID:SCR_017105
Bruker | https://identifiers.org/RRID:SCR_017365
Cytiva | https://identifiers.org/RRID:SCR_023581
Leica Biosystems | https://identifiers.org/RRID:SCR_023603
Keyence | https://identifiers.org/RRID:SCR_023604
Ionpath | https://identifiers.org/RRID:SCR_023605
Standard BioTools (Fluidigm) | https://identifiers.org/RRID:SCR_023606
Zeiss Microscopy | https://identifiers.org/RRID:SCR_023607
Andor | https://identifiers.org/RRID:SCR_023609
Sciex | https://identifiers.org/RRID:SCR_023651
10x Genomics | https://identifiers.org/RRID:SCR_023672
Akoya Biosciences | https://identifiers.org/RRID:SCR_023774
Resolve Biosciences | https://identifiers.org/RRID:SCR_023911
NanoString | https://identifiers.org/RRID:SCR_023912
Waters | https://identifiers.org/RRID:SCR_024589
Evident Scientific (Olympus) | https://identifiers.org/RRID:SCR_024782
BGI Genomics | https://identifiers.org/RRID:SCR_024848
Motic | https://identifiers.org/RRID:SCR_024856
Huron Digital Pathology | https://identifiers.org/RRID:SCR_024996
GE Healthcare | https://identifiers.org/RRID:SCR_025461
Vizgen | https://identifiers.org/RRID:SCR_026274
Element Biosciences | https://identifiers.org/RRID:SCR_026453
Singular Genomics | https://identifiers.org/RRID:SCR_026683
Complete Genomics | https://identifiers.org/RRID:SCR_027007
3DHISTECH | https://identifiers.org/RRID:SCR_027042
Cytek Biosciences | https://identifiers.org/RRID:SCR_027071
Microscopes International | https://identifiers.org/RRID:SCR_027094
Revvity | https://identifiers.org/RRID:SCR_027779
MGI Tech | https://identifiers.org/RRID:SCR_029020

## acquisition_instrument_model
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
Unknown | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17998
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
NextSeq 500 | https://identifiers.org/RRID:SCR_014983
NextSeq 550 | https://identifiers.org/RRID:SCR_016381
HiSeq 2500 | https://identifiers.org/RRID:SCR_016383
HiSeq 4000 | https://identifiers.org/RRID:SCR_016386
NovaSeq 6000 | https://identifiers.org/RRID:SCR_016387
iScan System | https://identifiers.org/RRID:SCR_016388
BZ-X710 | https://identifiers.org/RRID:SCR_017202
LSM 710 Confocal Microscope | https://identifiers.org/RRID:SCR_018063
Helios | https://identifiers.org/RRID:SCR_019916
QTRAP 5500 | https://identifiers.org/RRID:SCR_020517
Q Exactive HF | https://identifiers.org/RRID:SCR_020558
Orbitrap Fusion Tribrid | https://identifiers.org/RRID:SCR_020559
Orbitrap Fusion Lumos Tribrid | https://identifiers.org/RRID:SCR_020562
Q Exactive HF-X | https://identifiers.org/RRID:SCR_020564
Q Exactive | https://identifiers.org/RRID:SCR_020565
Q Exactive UHMR | https://identifiers.org/RRID:SCR_020571
Zeiss LightSheet Z.1 | https://identifiers.org/RRID:SCR_020919
Axio Scan.Z1 | https://identifiers.org/RRID:SCR_020927
Aperio AT2 | https://identifiers.org/RRID:SCR_021256
NanoZoomer 2.0-HT | https://identifiers.org/RRID:SCR_021658
Digital Spatial Profiler | https://identifiers.org/RRID:SCR_021660
Biomark HD | https://identifiers.org/RRID:SCR_022658
Hyperion Imaging System | https://identifiers.org/RRID:SCR_023195
PhenoImager Fusion | https://identifiers.org/RRID:SCR_023274
Zyla 4.2 sCMOS | https://identifiers.org/RRID:SCR_023610
SCN400 | https://identifiers.org/RRID:SCR_023611
MIBIscope | https://identifiers.org/RRID:SCR_023613
NextSeq 2000 | https://identifiers.org/RRID:SCR_023614
timsTOF FleX MALDI-2 | https://identifiers.org/RRID:SCR_023615
IN Cell Analyzer 2200 | https://identifiers.org/RRID:SCR_023616
BZ-X800 | https://identifiers.org/RRID:SCR_023617
Orbitrap Eclipse Tribrid | https://identifiers.org/RRID:SCR_023618
Axio Observer 5 | https://identifiers.org/RRID:SCR_023692
Axio Observer 3 | https://identifiers.org/RRID:SCR_023693
Axio Observer 7 | https://identifiers.org/RRID:SCR_023694
NanoZoomer S210 | https://identifiers.org/RRID:SCR_023760
NanoZoomer S360 | https://identifiers.org/RRID:SCR_023761
NanoZoomer S60 | https://identifiers.org/RRID:SCR_023762
NanoZoomer-SQ | https://identifiers.org/RRID:SCR_023763
Phenocycler-Fusion 2.0 | https://identifiers.org/RRID:SCR_023773
CosMx Spatial Molecular Imager | https://identifiers.org/RRID:SCR_023909
Xenium Analyzer | https://identifiers.org/RRID:SCR_023910
Lightsheet 7 | https://identifiers.org/RRID:SCR_024448
Resolve Biosciences Molecular Cartography | https://identifiers.org/RRID:SCR_024449
NovaSeq X Plus | https://identifiers.org/RRID:SCR_024568
NovaSeq X | https://identifiers.org/RRID:SCR_024569
STELLARIS 5 | https://identifiers.org/RRID:SCR_024663
VS200 Slide Scanner | https://identifiers.org/RRID:SCR_024783
Pannoramic MIDI II Digital Scanner | https://identifiers.org/RRID:SCR_024834
DNBSEQ-T7 | https://identifiers.org/RRID:SCR_024847
MoticEasyScan One | https://identifiers.org/RRID:SCR_024855
DM6 B | https://identifiers.org/RRID:SCR_024857
TissueScope LE Slide Scanner | https://identifiers.org/RRID:SCR_024995
EVOS M7000 | https://identifiers.org/RRID:SCR_025070
Aperio CS2 | https://identifiers.org/RRID:SCR_025111
BZ-X810 | https://identifiers.org/RRID:SCR_025160
MERSCOPE Ultra | https://identifiers.org/RRID:SCR_026273
CyTOF XT | https://identifiers.org/RRID:SCR_026344
AVITI24 | https://identifiers.org/RRID:SCR_026452
SYNAPT XS | https://identifiers.org/RRID:SCR_026524
timsTOF Ultra | https://identifiers.org/RRID:SCR_026540
timsTOF Ultra 2 | https://identifiers.org/RRID:SCR_026541
timsTOF SCP | https://identifiers.org/RRID:SCR_026542
timsTOF HT | https://identifiers.org/RRID:SCR_026543
timsTOF Pro | https://identifiers.org/RRID:SCR_026544
timsTOF Pro 2 | https://identifiers.org/RRID:SCR_026545
CyTOF 2 | https://identifiers.org/RRID:SCR_026551
DMi8 | https://identifiers.org/RRID:SCR_026672
G4X Spatial Sequencer | https://identifiers.org/RRID:SCR_026684
timsTOF FleX | https://identifiers.org/RRID:SCR_026925
Cytek Northern Lights | https://identifiers.org/RRID:SCR_027072
Axio Zoom.V16 | https://identifiers.org/RRID:SCR_027090
solariX | https://identifiers.org/RRID:SCR_027095
uScopeHXII-20 | https://identifiers.org/RRID:SCR_027101
Juno System | https://identifiers.org/RRID:SCR_027198
Cell DIVE | https://identifiers.org/RRID:SCR_027323
Panoramic 150 Digital Scanner | https://identifiers.org/RRID:SCR_027467
Opera Phenix Plus HCS | https://identifiers.org/RRID:SCR_027780
SYNAPT G2-Si | https://identifiers.org/RRID:SCR_027782
Opera Phenix HCS | https://identifiers.org/RRID:SCR_027817
MACSima System | https://identifiers.org/RRID:SCR_027923
NanoZoomer 2.0-RS | https://identifiers.org/RRID:SCR_028001
Orbitrap Astral | https://identifiers.org/RRID:SCR_028684
Olink Signature Q100 | https://identifiers.org/RRID:SCR_028906
Phenocycler-Fusion 1.0 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000316
Custom: Multiphoton | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000317
MERSCOPE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000404
MALDI timsTOF Flex Prototype | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000433

## source_storage_duration_unit
minute | http://purl.obolibrary.org/obo/UO_0000031
hour | http://purl.obolibrary.org/obo/UO_0000032
day | http://purl.obolibrary.org/obo/UO_0000033
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036

## time_since_acquisition_instrume
day | http://purl.obolibrary.org/obo/UO_0000033
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036

## barcode_offset
0
1
8
20
0,14
1,27
0,38,76
10,48,78
10,48,86
0,20-23,51-54
Not applicable

## barcode_read
Read 1 (R1) | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C172301
Read 2 (R2) | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C172302
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660

## barcode_size
14
16
40
8,6
10,10
8,8,8
14-17,14,14
Not applicable

## umi_offset
0
16
36
Not applicable

## umi_read
Read 1 (R1) | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C172301
Read 2 (R2) | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C172302
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660

## umi_size
8
9
10
12
14
Not applicable

## assay_input_entity
tissue (bulk) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000267
single cell | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000268
single nucleus | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000269
spot | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000270
area of interest | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000271

## amount_of_input_analyte_unit
ug | http://purl.obolibrary.org/obo/UO_0000023
ng | http://purl.obolibrary.org/obo/UO_0000024

## library_input_amount_unit
ng | http://purl.obolibrary.org/obo/UO_0000024
ul | http://purl.obolibrary.org/obo/UO_0000101

## library_output_amount_unit
ng | http://purl.obolibrary.org/obo/UO_0000024
ul | http://purl.obolibrary.org/obo/UO_0000101

## library_concentration_unit
nM | http://purl.obolibrary.org/obo/UO_0000065
ng/ul | http://purl.obolibrary.org/obo/UO_0010050
pg/ul | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000438

## library_layout
paired-end | http://purl.obolibrary.org/obo/OBI_0000722
single-end | http://purl.obolibrary.org/obo/OBI_0002481

## library_preparation_kit
Custom | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C65167
10X Genomics; Chromium NextGem Single Cell Multiome ATAC + Gene Expression Reagent Bundle, 16 rxn; PN 1000283 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000250
10X Genomics; Chromium NextGem Single Cell Multiome ATAC + Gene Expression Reagent Bundle, 4 rxn; PN 1000285 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000251
10X Genomics; Chromium Single Cell 3' GEM, Library & Gel Bead Kit v3, 4 rxns; PN 1000092 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000260
10X Genomics; Visium Spatial Gene Expression Slide and Reagent Kit, 4 slides, 16 reactions; PN 1000184 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000261
10X Genomics; Visium Spatial Gene Expression Slide and Reagent Kit, 1 slides, 4 reactions; PN 1000187 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000265
10X Genomics; Chromium Single Cell 3' Library & Gel Bead Kit, 4 rxns; PN 120267 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000299
10X Genomics; Visium Spatial for FFPE Gene Expression Kit, Human Transcriptome, 1 slides, 4 reactions; PN 1000338 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000320
10X Genomics; Visium CytAssist Spatial Gene Expression for FFPE, Human Transcriptome, 6.5mm, 4 reactions; PN 1000520 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000321
10X Genomics; Visium CytAssist Spatial Gene Expression for FFPE, Human Transcriptome, 11 mm, 2 reactions; PN 1000522 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000322
10X Genomics; Chromium Next GEM Single Cell 3' GEM, Library & Gel Bead Kit v3.1, 16 rxns; PN 1000121 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000334
10X Genomics; Chromium Next GEM Single Cell 3' HT Kit v3.1, 48 rxns; PN 1000348 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000335
10X Genomics; Chromium Next GEM Single Cell 3' HT Kit v3.1, 8 rxns; PN 1000370 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000336
10X Genomics; Chromium Next GEM Single Cell 3' Kit v3.1, 16 rxns; PN 1000268 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000337
10X Genomics; Chromium Next GEM Single Cell 3' Kit v3.1, 4 rxns; PN 1000269 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000338
10X Genomics; Chromium Next GEM Single Cell 5' Kit v2, 16 rxns; PN 1000263 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000339
10X Genomics; Chromium Next GEM Single Cell 5' Kit v2, 4 rxns; PN 1000265 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000340
Parse Biosciences; Evercode WT v2 Kit, 48 rxns; PN ECW02030 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000341
Parse Biosciences; Evercode WT Mini v2 Kit, 12 rxns; PN ECW02010 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000342
Illumina; TruSeq Stranded mRNA Library Prep (48 samples); PN 20020594 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000343
Illumina; TruSeq Stranded mRNA Library Prep (96 samples); PN 20020595 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000344
10X Genomics; Visium Spatial for FFPE Gene Expression Kit, Mouse Transcriptome, 4 rxns; PN 1000339 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000355
10X Genomics; Chromium Next GEM Automated Single Cell 5' Kit v2, 24 rxns; PN 1000290 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000365
10X Genomics; Chromium Next GEM Automated Single Cell 5' Kit v2, 4 rxns; PN 1000298 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000366
10X Genomics; Automated Library Construction Kit, 24 rxns; PN 1000428 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000374
10X Genomics; Chromium Next GEM Single Cell Fixed RNA Hybridization & Library Kit, 4 rxns; PN 1000415 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000375
New England BioLabs; NEBNext Ultra II RNA Library Prep Kit for Illumina; PN E7770 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000377
10x Genomics; Chromium GEM-X Single Cell 5' Kit v3, 16 rxns; PN 1000699 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000394
10x Genomics; Library Construction Kit C, 4 rxns; PN 1000689 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000398
10x Genomics; Library Construction Kit C, 16 rxns; PN 1000694 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000399
10x Genomics; Chromium GEM-X Single Cell 3' Kit v4, 16 rxns; PN 1000691 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000400
10x Genomics; Visium CytAssist Spatial Gene Expression for FFPE, Mouse Transcriptome, 6.5mm, 4 rxns; PN 1000521 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000432
10x Genomics; Library Construction Kit, 16 rxns; PN 1000190 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000439
10x Genomics; Chromium Single Cell 3ʹ GEM, Library & Gel Bead Kit v3, 16 rxns; PN 1000075 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000460
10x Genomics; Chromium Next GEM Single Cell 5' HT Kit v2, 8 rxns; PN 1000374 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000466
10x Genomics; Chromium Next GEM Single Cell 5' HT Kit v2, 48 rxns; PN 1000356 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000467
10x Genomics; Chromium Single Cell ATAC Library & Gel Bead Kit, 16 rxns; PN 1000110 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000469
10x Genomics; Chromium Next GEM Single Cell ATAC Library & Gel Bead Kit, 16 rxns; PN 1000175 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000471
10x Genomics; Chromium Next GEM Single Cell Fixed RNA Sample Preparation Kit, 16 rxns; PN 1000414 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000484
10x Genomics; GEM-X Flex GEM & Library Kit, 4 rxns; PN 1000782 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000497
Epigenome Technologies; Multiplex Droplet Paired-Tag 16 Reaction Kit; PN MDP16101 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000499
Takara Bio; SMART-Seq Total RNA Library Prep with ZapR Depletion (with UMIs), 96 rxns; PN 634355 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000507

## sample_indexing_kit
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Custom | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C65167
10X Genomics; Single Index Kit N, Set A (96 rxn); PN 1000212 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000252
10X Genomics; Dual Index Kit TT, Set A (96 rxn); PN 1000215 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000253
10X Genomics; Dual Index Kit TS, Set A; PN 1000251 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000282
Parse Biosciences; Fragmentation Reagents; PN WX100 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000345
Parse Biosciences; UDI Plate - WT; PN UDI1001 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000346
Illumina; TruSeq RNA Single Indexes Set A (12 Indexes, 48 Samples); PN 20020492 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000347
Illumina; TruSeq RNA Single Indexes Set B (12 Indexes, 48 Samples); PN 20020493 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000348
Illumina; TruSeq RNA CD Index Plate (96 Indexes, 96 Samples); PN 20019792 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000349
Illumina; IDT for Illumina - TruSeq RNA UD Indexes v2 (96 Indexes, 96 Samples); PN 20040871 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000350
Integrated DNA Technologies: Custom DNA Oligos | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000351
NanoString Technologies; GeoMx Seq Code Pack; PN GMX-NGS-SEQ-AB | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000356
NanoString Technologies; GeoMx Seq Code Pack; PN GMX-NGS-SEQ-CD | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000357
NanoString Technologies; GeoMx Seq Code Pack; PN GMX-NGS-SEQ-EF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000358
NanoString Technologies; GeoMx Seq Code Pack; PN GMX-NGS-SEQ-GH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000359
10X Genomics; Chromium i7 Sample Index Plate (96 rxn); PN 220103 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000380
10x Genomics; Chromium i7 Multiplex Kit, 96 rxns; PN 120262 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000461
10x Genomics; Chromium i7 Multiplex Kit N, Set A, 96 rxn; PN 1000084 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000468
Illumina; IDT for Illumina - TruSeq RNA UD Indexes (96 Indexes, 96 Samples); PN 20022371 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000505
Takara Bio; Unique Dual Index Kit (1–96), 96 rxns; PN 634752 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000508
Takara Bio; Unique Dual Index Kit (97–192), 96 rxns; PN 634753 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000509
Takara Bio; Unique Dual Index Kit (193–288), 96 rxns; PN 634754 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000510
Takara Bio; Unique Dual Index Kit (289–384), 96 rxns; PN 634755 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000511
Takara Bio; Unique Dual Index Kit (1–24), 24 rxns; PN 634756 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000512

## is_technical_replicate
Yes
No

## sequencing_reagent_kit
Custom | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C65167
Illumina; HiSeq 3000/4000 PE Cluster Kit PE-410-1001; PN 1000283 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000254
Illumina; NextSeq 500/550 Hi Output Kit 150 Cycles; v2.5; PN 20024907 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000255
Illumina; NovaSeq 6000 SP Reagent v1.5 Kit (100 Cycles); PN 20028401 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000256
Illumina; NovaSeq 6000 S1 Reagent v1.5 Kit (100 Cycles); PN 20028319 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000257
Illumina; NovaSeq 6000 S2 Reagent v1.5 Kit (100 Cycles); PN 20028316 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000258
Illumina; NovaSeq 6000 S4 Reagent v1.5 Kit (200 Cycles); PN 20028313 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000259
Illumina; NovaSeq X Series 10B Reagent Kit (300 Cycle); PN 20085594 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000283
Illumina; NovaSeq X Series 10B Reagent Kit (200 Cycle); PN 20085595 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000284
Illumina; NovaSeq X Series 10B Reagent Kit (100 Cycle); PN 20085596 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000285
Illumina; NovaSeq X Series 1.5B Reagent Kit (100 Cycle); PN 20104703 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000286
Illumina; NovaSeq X Series 1.5B Reagent Kit (200 Cycle); PN 20104704 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000287
Illumina; NovaSeq X Series 1.5B Reagent Kit (300 Cycle); PN 20104705 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000288
Illumina; NovaSeq 6000 S1 Reagent Kit (200 Cycles); PN 20012864 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000313
Illumina; NovaSeq 6000 S1 Reagent v1.5 Kit (300 Cycles); PN 20028317 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000318
Illumina; NovaSeq 6000 S4 Reagent Kit v1.5 (300 cycles); PN 20028312 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000319
Illumina; NextSeq 1000/2000 P2 Reagent v3 Kit (100 Cycles); PN 20046811 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000323
Illumina; NextSeq 1000/2000 P2 Reagent v3 Kit (200 Cycles); PN 20046812 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000352
Illumina; NextSeq 1000/2000 P2 Reagent v3 Kit (300 Cycles); PN 20046813 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000353
Illumina; NextSeq 2000 P3 Reagent Kit (300 Cycles); PN 20040561 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000354
Illumina; NovaSeq 6000 S1 Reagent v1.5 Kit (200 Cycles); PN 20028318 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000360
Illumina; NextSeq 2000 P3 Reagents Kit (100 Cycles); PN 20040559 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000361
Illumina; NextSeq 500/550 Mid Output Kit 150 Cycles v2.5; PN 20024904 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000369
Illumina; NextSeq 500/550 Hi Output Kit 75 Cycles v2.5; PN 20024906 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000381
Illumina; NovaSeq X Series 25B Reagent Kit (300 Cycle); PN 20104706 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000392
Element Biosciences; AVITI 2x75 Sequencing Kit Cloudbreak FS High Output (184 Cycles); PN 860-00015 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000406
Illumina; NovaSeq 6000 SP Reagent v1.5 Kit (300 Cycles); PN 20028400 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000459
Illumina; NovaSeq X Series 25B Reagent Kit (100 Cycle); PN 20125967 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000463
Illumina; NovaSeq X Series 25B Reagent Kit (200 Cycle); PN 20125968 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000464
Illumina; NextSeq 1000/2000 P2 XLEAP-SBS Reagent Kit (100 Cycles); PN 20100987 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000503
Element Biosciences; AVITI 2x150 Sequencing Kit Cloudbreak FS High Output (334 Cycles); PN 860-00013 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000513

## preparation_instrument_vendor
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Hamamatsu | https://identifiers.org/RRID:SCR_017105
Leica Biosystems | https://identifiers.org/RRID:SCR_023603
Ionpath | https://identifiers.org/RRID:SCR_023605
10x Genomics | https://identifiers.org/RRID:SCR_023672
HTX Technologies | https://identifiers.org/RRID:SCR_023734
Akoya Biosciences | https://identifiers.org/RRID:SCR_023774
SunChrom | https://identifiers.org/RRID:SCR_023908
Roche Diagnostics | https://identifiers.org/RRID:SCR_025096

## preparation_instrument_model
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Custom | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C65167
Chromium Controller | https://identifiers.org/RRID:SCR_019326
Sublimator | https://identifiers.org/RRID:SCR_023729
M3+ Sprayer | https://identifiers.org/RRID:SCR_023731
TM-Sprayer | https://identifiers.org/RRID:SCR_023732
M5 Sprayer | https://identifiers.org/RRID:SCR_023733
NanoZoomer S210 | https://identifiers.org/RRID:SCR_023760
NanoZoomer S360 | https://identifiers.org/RRID:SCR_023761
NanoZoomer S60 | https://identifiers.org/RRID:SCR_023762
SunCollect Sprayer | https://identifiers.org/RRID:SCR_023907
AutoStainer XL | https://identifiers.org/RRID:SCR_023957
Chromium iX | https://identifiers.org/RRID:SCR_024536
Chromium X | https://identifiers.org/RRID:SCR_024537
Visium CytAssist | https://identifiers.org/RRID:SCR_024570
ST5020 Multistainer | https://identifiers.org/RRID:SCR_025021
EVOS M7000 | https://identifiers.org/RRID:SCR_025070
Discovery Ultra | https://identifiers.org/RRID:SCR_025097
Chromium Connect | https://identifiers.org/RRID:SCR_025146

## preparation_instrument_kit
Custom | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C65167
10X Genomics; Chromium NextGem Single Cell Multiome ATAC + Gene Expression Reagent Bundle, 16 rxn; PN 1000283 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000250
10X Genomics; Chromium NextGem Single Cell Multiome ATAC + Gene Expression Reagent Bundle, 4 rxn; PN 1000285 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000251
10x Genomics; Chromium Next GEM Chip J Single Cell Kit, 48 rxns; PN 1000234 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000262
10x Genomics; Chromium Next GEM Chip J Single Cell Kit, 16 rxns; PN 1000230 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000263
10X Genomics; Visium FFPE Reagent Kit v2-Small, PN 1000436 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000324
10X Genomics; Chromium Next GEM Chip Q Single Cell Kit, 16 rxns; PN 1000422 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000325
10X Genomics; Chromium Next GEM Chip K Single Cell Kit, 48 rxns; PN 1000286 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000367
10X Genomics; Chromium Next GEM Chip K Single Cell Kit, 16 rxns; PN 1000287 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000368
10X Genomics; Chromium Next GEM Chip K Automated Single Cell Kit, 48 rxns; PN 1000289 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000373
10X Genomics; Chromium Next GEM Chip G Single Cell Kit, 48 rxns; PN 1000120 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000378
10X Genomics; Chromium Next GEM Chip G Single Cell Kit, 16 rxns; PN 1000127 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000379
10x Genomics; Chromium GEM-X Single Cell 3' Kit v4, 16 rxns; PN 1000691 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000400
10x Genomics; Chromium Single Cell B Chip Kit, 16 rxns; PN 1000074 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000462
10x Genomics; Chromium Chip E Single Cell ATAC Kit, 48 rxns; PN 1000155 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000470
10x Genomics; Visium HD, Human Transcriptome, 6.5 mm, 4 runs; PN 1000675 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000493
10x Genomics; Visium HD, Mouse Transcriptome, 6.5 mm, 4 runs; PN 1000676 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000494
10x Genomics; Visium HD, Human Transcriptome, 11 mm, 4 runs; PN 1001037 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000495
10x Genomics; Visium HD, Mouse Transcriptome, 11 mm, 4 runs; PN 1001038 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000496
10x Genomics; GEM-X Flex Gene Expression Chip Kit, 4 chips; PN 1000791 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000498

## probe_hybridization_time_unit
minute | http://purl.obolibrary.org/obo/UO_0000031
hour | http://purl.obolibrary.org/obo/UO_0000032

## oligo_probe_panel
Custom | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C65167
10x Genomics; Visium Human Transcriptome Probe Kit v2 - Small; PN 1000466 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000274
10x Genomics; Chromium Fixed RNA Kit, Human Transcriptome, 4 rxns x 1 BC; PN 1000474 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000306
10x Genomics; Visium Human Transcriptome Probe Kit-Small; PN 1000363 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000326
10x Genomics; Visium Mouse Transcriptome Probe Kit - Small; PN 1000365 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000362
NanoString Technologies; GeoMx Human Whole Transcriptome Atlas, 4 slides; PN GMX-RNA-NGS-HuWTA-4 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000363
NanoString Technologies; GeoMx Mouse Whole Transcriptome Atlas, 4 slides; PN GMX-RNA-NGS-MsWTA-4 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000364
10X Genomics; Chromium Next GEM Single Cell Fixed RNA Human Transcriptome Probe Kit, 64 rxns; PN 1000456 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000376
10X Genomics; Chromium Next GEM Single Cell Fixed RNA Human Transcriptome Probe Kit, 16 rxns; PN 1000420 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000382
10x Genomics; Visium Human Transcriptome Probe Kit-Large; PN 1000364 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000383
10x Genomics; Chromium Next GEM Single Cell Fixed RNA Mouse Transcriptome Probe Kit, 64 rxns; PN 1000492 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000393
10x Genomics; Xenium Human Multi-Tissue and Cancer Panel v1; PN 1000626 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000395
10x Genomics; Xenium Prime 5K Human Pan Tissue & Pathways Panel; PN 1000724 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000426
NanoString Technologies; CosMx Human Universal Cell Characterization Panel (RNA, 1000 Plex); PN CMX-H-USCP-1KP-R | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000430
10x Genomics; Visium Mouse Transcriptome Probe Kit v2.0 - Small; PN 1000667 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000431
NanoString Technologies; CosMx Human Immuno-Oncology Panel (Protein, 64 Plex); PN CMX-H-IOP-64P-P | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000436
NanoString Technologies; CosMx Mouse Neuroscience Panel (Protein, 64 Plex); PN CMX-M-Neuro-64P-P | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000437
10x Genomics; Xenium Mouse Multi-Tissue Atlassing Panel; PN 1000627 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000442
10x Genomics; Xenium Human Lung Gene Expression Panel; PN 1000601 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000443
10x Genomics; Xenium Custom Gene Expression Panel (51-100 genes); PN 1000561 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000444
10x Genomics; Xenium Custom Gene Expression Panel (up to 50 genes); PN 1000464 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000445
10x Genomics; Xenium Human Colon Gene Expression Panel; PN 1000642 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000446
NanoString Technologies; CosMx Mouse Neuroscience Panel (RNA, 1000 Plex); PN CMX-M-NEUP-R | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000452
NanoString Technologies; CosMx Hs WTX RNA Panel Kit, 2 slides: PN 121500047 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000453
NanoString Technologies; CosMx Hs Univ Cell (RNA, 1000 Plex); PN 121500002 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000454
NanoString Technologies; CosMx Human 6K Discovery Panel (RNA, 6175 Plex); PN 121500041 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000455
NanoString Technologies; CosMx Mouse Universal Cell Characterization Panel (RNA, 1000 Plex); PN CMX-M-USCP-1KP-R | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000457
10x Genomics; Chromium Fixed RNA Kit, Human Transcriptome 16 rxns x 16 BC; PN 1000547 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000477
10x Genomics; GEM-X Flex Human Transcriptome Probe Kit, 16 samples; PN 1000785 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000481
NanoString Technologies; GeoMx Human IO Proteome Atlas, 4 slides; PN 121300160 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000488
10x Genomics; Xenium Human Skin Gene Expression Panel; PN 1000643 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000491
10x Genomics; Xenium Prime 5K Mouse Pan Tissues & Pathways Panel, 2 rxns; PN 1000725 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000506

## is_custom_probes_used
Yes
No

## .metadata
schema:title | pav:version | pav:createdOn | pav:derivedFrom
RNAseq (with probes) | 5.0.0 | 2026-10-21T13:32:03-07:00 | https://repo.metadatacenter.org/templates/e4df583f-95df-4113-92dc-6e9b90124d9f