## MIBI
parent_sample_id | lab_id | preparation_protocol_doi | dataset_type | analyte_class | is_targeted | acquisition_instrument_vendor | acquisition_instrument_model | source_storage_duration_value | source_storage_duration_unit | time_since_acquisition_instrument_calibration_value | time_since_acquisition_instrument_calibration_unit | contributors_path | data_path | number_of_antibodies | number_of_channels | slide_id | roi_description | roi_id | acquisition_id | area_normalized_ion_dose_value | area_normalized_ion_dose_unit | data_precision_bytes | pixel_dwell_time_value | pixel_dwell_time_unit | antibodies_path | metadata_schema_id
|  |  | MIBI | [22 empty] | 784cfaa7-4a73-4173-b639-b24e0ed76155
Note on A1: (Required) Unique HuBMAP or SenNet identifier of the sample (i.e., block, section or suspension) used to perform this assay. For example, for a RNAseq assay, the parent would be the suspension, whereas, for one of the imaging assays, the parent would be the tissue section. If an assay comes from multiple parent samples then this should be a comma separated list. Example: HBM386.ZGKG.235, HBM672.MKPK.442 or SNT232.UBHJ.322, SNT329.ALSK.102
Note on B1: An internal field labs can use it to add whatever ID(s) they want or need for dataset validation and tracking. This could be a single ID (e.g., "Visium_9OLC_A4_S1") or a delimited list of IDs (e.g., “9OL; 9OLC.A2; Visium_9OLC_A4_S1”). This field will not be accessible to anyone outside of the consortium and no effort will be made to check if IDs provided by one data provider are also used by another.
Note on C1: (Required) DOI for the protocols.io page that describes the assay or sample procurment and preparation. For example for an imaging assay, the protocol might include staining of a section through the creation of an OME-TIFF file. In this case the protocol would include any image processing steps required to create the OME-TIFF file. Example: https://dx.doi.org/10.17504/protocols.io.eq2lyno9qvx9/v1
Note on D1: (Required) The specific type of dataset being produced.
Note on E1: (Required) Analytes are the target molecules being measured with the assay.
Note on F1: (Required) Specifies whether or not a specific molecule(s) is/are targeted for detection/measurement by the assay ("Yes" or "No"). The CODEX analyte is protein.
Note on G1: (Required) An acquisition instrument is the device that contains the signal detection hardware and signal processing software. Assays generate signals such as light of various intensities or color or signals representing the molecular mass.
Note on H1: (Required) Manufacturers of an acquisition instrument may offer various versions (models) of that instrument with different features or sensitivities. Differences in features or sensitivities may be relevant to processing or interpretation of the data.
Note on I1: (Required) How long was the source material stored, prior to this sample being processed? For assays applied to tissue sections, this would be how long the tissue section (e.g., slide) was stored, prior to the assay beginning (e.g., imaging). For assays applied to suspensions such as sequencing, this would be how long the suspension was stored before library construction began.
Note on J1: (Required) The time duration unit of measurement
Note on K1: The amount of time since the acqusition instrument was last serviced by the vendor. This provides a metric for assessing drift in data capture.
Note on L1: The time unit of measurement
Note on M1: (Required) The path to the file with the ORCID IDs for all contributors of this dataset (e.g., "./extras/contributors.tsv" or "./contributors.tsv"). This is an internal metadata field that is just used for ingest.
Note on N1: (Required) The top level directory containing the raw and/or processed data. For a single dataset upload this might be "." where as for a data upload containing multiple datasets, this would be the directory name for the respective dataset. For instance, if the data is within a directory called "TEST001-RK" use syntax "./TEST001-RK" for this field. If there are multiple directory levels, use the format "./TEST001-RK/Run1/Pass2" in which "Pass2" is the subdirectory where the single dataset's data is stored. This is an internal metadata field that is just used for ingest.
Note on O1: (Required) Number of antibodies
Note on P1: (Required) The number of distinct color channels in the image.
Note on Q1: (Required) A unique ID denoting the slide used. This allows users the ability to determine which tissue sections were processed together on the same slide. It is recommended that data providers prefix the ID with the center name, to prevent values overlapping across centers.
Note on R1: (Required) A description of the anatomical structure being captured in the region of interest (ROI).
Note on S1: (Required) Multiple images are acquired from regions of interest (ROI1, ROI2, ROI3, etc) on a slide. The ROI ID is a number from 1 to N representing the ROI captured on a slide.
Note on T1: (Required) The acquisition_id refers to the directory containing the ROI images for a slide. Together, the "Acquisition ID" and the "ROI ID" indicate the slide-ROI represented in the image.
Note on U1: (Required) Number of primary ions delivered to the sample per unit area.
Note on V1: (Required) Area normalized ion dose unit.
Note on W1: (Required) Numerical data precision in bytes.
Note on X1: (Required) Resident time of primary ion beam on each pixel to ionize it.
Note on Y1: (Required) Pixel dwell time unit.
Note on Z1: (Required) This is the location of the antibodies.tsv file relative to the root of the top level of the upload directory structure. This path should begin with "." and would likely be something like "./extras/antibodies.tsv".
Note on AA1: (Required) The string that serves as the definitive identifier for the metadata schema version and is readily interpretable by computers for data validation and processing. Example: 22bc762a-5020-419d-b170-24253ed9e8d9

## dataset_type
HiFi-Slide | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000195
SNARE-seq2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000264
MIBI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000172
Visium (no probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000302
DESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000204
Auto-fluorescence | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000205
Confocal | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000206
Xenium | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000219
Visium (with probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000303
Molecular Cartography | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000217
CosMx | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000218
DBiT | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000222
SIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000202
Cell DIVE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000159
CODEX | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000160
GeoMx (NGS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000300
MUSIC | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000328
CyCIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000200
Light Sheet | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000168
MALDI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000201
2D Imaging Mass Cytometry | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000296
ATACseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000309
Histology | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000197
Enhanced Stimulated Raman Spectroscopy (SRS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000209
RNAseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000310
MERFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000221
LC-MS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000194
nanoSPLITS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000312
10X Multiome | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000215
GeoMx (nCounter) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000301
RNAseq (with probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000311
PhenoCycler | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000199
Second Harmonic Generation (SHG) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000208
Thick section Multiphoton MxIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000207

## analyte_class
DNA + RNA | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000327
Chromatin | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C13201
Nucleic acid and protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000273
Fluorochrome | http://purl.obolibrary.org/obo/CHEBI_51217
RNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C812
Metabolite | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C61154
DNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C449
Endogenous fluorophores | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000131
Peptide | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C735
Polysaccharide | http://purl.obolibrary.org/obo/CHEBI_18154
Lipid | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C616
Protein | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17021

## is_targeted
No
Yes

## acquisition_instrument_vendor
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
BGI Genomics | https://identifiers.org/RRID:SCR_024848
Resolve Biosciences | https://identifiers.org/RRID:SCR_023911
Cytiva | https://identifiers.org/RRID:SCR_023581
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Zeiss Microscopy | https://identifiers.org/RRID:SCR_023607
Standard BioTools (Fluidigm) | https://identifiers.org/RRID:SCR_023606
GE Healthcare | https://identifiers.org/RRID:SCR_000004
Sciex | https://identifiers.org/RRID:SCR_023651
Bruker | https://identifiers.org/RRID:SCR_017365
Leica Microsystems | https://identifiers.org/RRID:SCR_008960
Akoya Biosciences | https://identifiers.org/RRID:SCR_023774
Evident Scientific (Olympus) | https://identifiers.org/RRID:SCR_024782
Keyence | https://identifiers.org/RRID:SCR_023604
Leica Biosystems | https://identifiers.org/RRID:SCR_023603
NanoString | https://identifiers.org/RRID:SCR_023912
Hamamatsu | https://identifiers.org/RRID:SCR_017105
Andor | https://identifiers.org/RRID:SCR_023609
Huron Digital Pathology | https://identifiers.org/RRID:SCR_024996
Illumina | https://identifiers.org/RRID:SCR_010233
Motic | https://identifiers.org/RRID:SCR_024856
Ionpath | https://identifiers.org/RRID:SCR_023605

## acquisition_instrument_model
SCN400 | https://identifiers.org/RRID:SCR_023611
STELLARIS 5 | https://identifiers.org/RRID:SCR_024663
BZ-X710 | https://identifiers.org/RRID:SCR_017202
MoticEasyScan One | https://identifiers.org/RRID:SCR_024855
EVOS M7000 | https://identifiers.org/RRID:SCR_025070
NovaSeq X | https://identifiers.org/RRID:SCR_024569
NanoZoomer 2.0-HT | https://identifiers.org/RRID:SCR_021658
Lightsheet 7 | https://identifiers.org/RRID:SCR_024448
Phenocycler-Fusion 1.0 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000316
DNBSEQ-T7 | https://identifiers.org/RRID:SCR_024847
Unknown | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17998
Q Exactive UHMR | https://identifiers.org/RRID:SCR_020571
Q Exactive | https://identifiers.org/RRID:SCR_020565
Zyla 4.2 sCMOS | https://identifiers.org/RRID:SCR_023610
Custom: Multiphoton | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000317
QTRAP 5500 | https://identifiers.org/RRID:SCR_020517
BZ-X800 | https://identifiers.org/RRID:SCR_023617
NextSeq 500 | https://identifiers.org/RRID:SCR_014983
NanoZoomer S360 | https://identifiers.org/RRID:SCR_023761
Hyperion Imaging System | https://identifiers.org/RRID:SCR_023195
NovaSeq X Plus | https://identifiers.org/RRID:SCR_024568
NanoZoomer-SQ | https://identifiers.org/RRID:SCR_023763
NextSeq 550 | https://identifiers.org/RRID:SCR_016381
Digital Spatial Profiler | https://identifiers.org/RRID:SCR_021660
NanoZoomer S210 | https://identifiers.org/RRID:SCR_023760
BZ-X810 | https://identifiers.org/RRID:SCR_025160
Axio Observer 7 | https://identifiers.org/RRID:SCR_023694
IN Cell Analyzer 2200 | https://identifiers.org/RRID:SCR_023616
PhenoImager Fusion | https://identifiers.org/RRID:SCR_023274
DM6 B | https://identifiers.org/RRID:SCR_024857
Phenocycler-Fusion 2.0 | https://identifiers.org/RRID:SCR_023773
Aperio CS2 | https://identifiers.org/RRID:SCR_025111
Orbitrap Fusion Lumos Tribrid | https://identifiers.org/RRID:SCR_020562
Resolve Biosciences Molecular Cartography | https://identifiers.org/RRID:SCR_024449
MALDI timsTOF Flex Prototype | https://identifiers.org/RRID:SCR_023615
TissueScope LE Slide Scanner | https://identifiers.org/RRID:SCR_024995
VS200 Slide Scanner | https://identifiers.org/RRID:SCR_024783
Axio Observer 5 | https://identifiers.org/RRID:SCR_023692
Axio Observer 3 | https://identifiers.org/RRID:SCR_023693
HiSeq 2500 | https://identifiers.org/RRID:SCR_016383
Orbitrap Eclipse Tribrid | https://identifiers.org/RRID:SCR_023618
NextSeq 2000 | https://identifiers.org/RRID:SCR_023614
NovaSeq 6000 | https://identifiers.org/RRID:SCR_016387
HiSeq 4000 | https://identifiers.org/RRID:SCR_016386
Aperio AT2 | https://identifiers.org/RRID:SCR_021256
MIBIscope | https://identifiers.org/RRID:SCR_023613
NanoZoomer S60 | https://identifiers.org/RRID:SCR_023762
CosMx Spatial Molecular Imager | https://identifiers.org/RRID:SCR_023909
Axio Scan.Z1 | https://identifiers.org/RRID:SCR_020927
Q Exactive HF | https://identifiers.org/RRID:SCR_020558
Xenium Analyzer | https://identifiers.org/RRID:SCR_023910

## source_storage_duration_unit
hour | http://purl.obolibrary.org/obo/UO_0000032
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033
minute | http://purl.obolibrary.org/obo/UO_0000031

## time_since_acquisition_instrume
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033

## area_normalized_ion_dose_unit
nA*hr/mm2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000298

## pixel_dwell_time_unit
ms | http://purl.obolibrary.org/obo/UO_0000028

## .metadata
schema:title | pav:version | pav:createdOn | pav:derivedFrom
MIBI | 2.0.0 | 2024-04-01T14:52:15-07:00 | https://repo.metadatacenter.org/templates/784cfaa7-4a73-4173-b639-b24e0ed76155