## RNAseq
parent_sample_id | lab_id | preparation_protocol_doi | dataset_type | analyte_class | is_targeted | acquisition_instrument_vendor | acquisition_instrument_model | source_storage_duration_value | source_storage_duration_unit | time_since_acquisition_instrument_calibration_value | time_since_acquisition_instrument_calibration_unit | contributors_path | data_path | barcode_offset | barcode_read | barcode_size | umi_offset | umi_read | umi_size | assay_input_entity | number_of_input_cells_or_nuclei | amount_of_input_analyte_value | amount_of_input_analyte_unit | library_adapter_sequence | library_average_fragment_size | library_input_amount_value | library_input_amount_unit | library_output_amount_value | library_output_amount_unit | library_concentration_value | library_concentration_unit | library_layout | number_of_iterations_of_cdna_amplification | number_of_pcr_cycles_for_indexing | library_preparation_kit | sample_indexing_kit | sample_indexing_set | is_technical_replicate | expected_entity_capture_count | sequencing_reagent_kit | sequencing_read_format | sequencing_batch_id | capture_batch_id | preparation_instrument_vendor | preparation_instrument_model | preparation_instrument_kit | metadata_schema_id
24c264ea-1645-4b0c-8a3b-2cba184fde95
Note on A1: (Required) HuBMAP ID of the sample (i.e., block, section or suspension) used to perform this assay. For example, for a RNAseq assay, the parent would be the suspension, whereas this would be the HuBMAP ID of a section for one of the imaging assays. If an assay comes from multiple parent samples then this should be a comma separated list. Example: HBM765.TRHD.452
Note on B1: An internal field labs can use it to add whatever ID(s) they want or need for dataset validation and tracking. This could be a single ID (e.g., "Visium_9OLC_A4_S1") or a delimited list of IDs (e.g., “9OL; 9OLC.A2; Visium_9OLC_A4_S1”). This field will not be accessible to anyone outside of the consortium and no effort will be made to check if IDs provided by one data provider are also used by another.
Note on C1: (Required) DOI for the protocols.io page that describes the assay or sample procurment and preparation. For example for an imaging assay, the protocol might include staining of a section through the creation of an OME-TIFF file. In this case the protocol would include any image processing steps required to create the OME-TIFF file. Example: https://dx.doi.org/10.17504/protocols.io.eq2lyno9qvx9/v1
Note on D1: (Required) The specific type of dataset being produced.
Note on E1: (Required) Analytes are the target molecules being measured with the assay.
Note on F1: (Required) Specifies whether or not a specific molecule(s) is/are targeted for detection/measurement by the assay ("Yes" or "No"). The CODEX analyte is protein.
Note on G1: (Required) An acquisition instrument is the device that contains the signal detection hardware and signal processing software. Assays generate signals such as light of various intensities or color or signals representing the molecular mass.
Note on H1: (Required) Manufacturers of an acquisition instrument may offer various versions (models) of that instrument with different features or sensitivities. Differences in features or sensitivities may be relevant to processing or interpretation of the data.
Note on I1: (Required) How long was the source material (parent) stored, prior to this sample being processed.
Note on J1: (Required) The time duration unit of measurement
Note on K1: The amount of time since the acqusition instrument was last serviced by the vendor. This provides a metric for assessing drift in data capture.
Note on L1: The time unit of measurement
Note on M1: (Required) The path to the file with the ORCID IDs for all contributors of this dataset (e.g., "./extras/contributors.tsv" or "./contributors.tsv"). This is an internal metadata field that is just used for ingest.
Note on N1: (Required) The top level directory containing the raw and/or processed data. For a single dataset upload this might be "." where as for a data upload containing multiple datasets, this would be the directory name for the respective dataset. For instance, if the data is within a directory called "TEST001-RK" use syntax "./TEST001-RK" for this field. If there are multiple directory levels, use the format "./TEST001-RK/Run1/Pass2" in which "Pass2" is the subdirectory where the single dataset's data is stored. This is an internal metadata field that is just used for ingest.
Note on O1: (Required) Positions in the read at which the cell or capture spot barcodes start. Cell and capture spot barcodes are, for example, 3 x 8 bp sequences that are spaced by constant sequences (the offsets). First barcode at position 0, then 38, then 76. This should be included when constructing sequencing libraries with a non-commercial kit.
Note on P1: (Required) Which read file contains the cell or capture spot barcode. This should be included when constructing sequencing libraries with a non-commercial kit. This field is required if the source material is barcoded. This field is used to determine which analysis pipeline to run.
Note on Q1: (Required) Length of the cell or capture spot barcode in base pairs. Cell and capture spot barcodes are, for example, 3 x 8 bp sequences that are spaced by constant sequences, the offsets. This should be included when constructing sequencing libraries with a non-commercial kit. This field is required if the source material is barcoded. This field is used to determine which analysis pipeline to run.
Note on R1: (Required) Position in the read at which the UMI barcode starts. This should be included when constructing sequencing libraries with a non-commercial kit.
Note on S1: (Required) Which read file contains the UMI barcode. This should be included when constructing sequencing libraries with a non-commercial kit.
Note on T1: (Required) Length of the umi barcode in base pairs. This should be included when constructing sequencing libraries with a non-commercial kit. This field is required if UMI are present. This field is used to determine which analysis pipeline to run.
Note on U1: (Required) This is the entity from which the analyte is being captured. For example, for bulk sequencing this would be "tissue", while it would be "single cell" for single cell sequencing. This field is used to determine which analysis pipeline to run.
Note on V1: How many cells or nuclei were input to the assay? This is typically not available for preparations working with bulk tissue.
Note on W1: The amount of RNA or DNA input to the assay, typically measured by a Qubit, BioAnalyzer, or TapeStation. In most single cell/nuclei assays, this value isn't available.
Note on X1: Units of amount of entity input to assay value
Note on Y1: (Required) 5’ and/or 3’ read adapter sequences used as part of the library preparation protocol to render the library compatible with the sequencing protocol and instrumentation. This should be provided as comma-separated list of key:value pairs (adapter name:sequence).
Note on Z1: (Required) Average size of sequencing library fragments estimated via gel electrophoresis or bioanalyzer/tapestation. Numeric value in base pairs (bp).
Note on AA1: (Required) The amount of cDNA, after amplification, that was used for library construction.
Note on AB1: (Required) unit of library input amount value
Note on AC1: Total amount (eg. nanograms) of library after the clean-up step of final pcr amplification step. Answer the question: What is the Qubit measured concentration (ng/ul) times the elution volume (ul) after the final clean-up step?
Note on AD1: Units of library final yield.
Note on AE1: (Required) The concentration value of the pooled library samples submitted for sequencing.
Note on AF1: (Required) Unit of library concentration value.
Note on AG1: (Required) Whether the library was generated for single-end or paired end sequencing
Note on AH1: (Required) This is the amplification of the cDNA prior to library construction. This is typically a PCR amplification, while for linear amplification methods like aRNA this would be the number of rounds of aRNA.
Note on AI1: (Required) Number of PCR cycles performed in order to add adapters and amplify the library. This does not include the cDNA amplification which is captured in the "number of iterations of cDNA amplification" field.
Note on AJ1: (Required) Reagent kit used for library preparation
Note on AK1: (Required) Indexes are needed for multiplexing sequencing libraries for simultaneous sequencing (pooling) and proper attachment to the Illumina flowcell. Each indexing kit would have a number of compatible sequences ("sample indexing sets") that are used to label some number of samples (the number of sets depend on the kit).
Note on AL1: (Required) The specific sequencing barcode index set used, selected from the sample indexing kit. Example: For 10X this might be "SI-GA-A1", for Nextera "N505 - CTCCTTAC"
Note on AM1: (Required) Is the sequencing reaction run in replicate, "Yes" or "No". If "Yes", FASTQ files in dataset need to be merged.
Note on AN1: Number of cells, nuclei or capture spots expected to be captured by the assay. For Visium this is the total number of spots covered by tissue, within the capture area.
Note on AO1: (Required) Reagent kit used for sequencing
Note on AP1: (Required) Number of sequencing cycles in each round of sequencing (i.e., Read1, i7 index, i5 index, and Read2). This is reported as a comma-delimited list. Example: For 10X snATAC-seq (R1,Index,R2,R3) this might be: 50,8,16,50. For SNARE-seq2 this might be: 75,94,8,75
Note on AQ1: The ID for the sequencing run. This could, for example, be the chip ID and should allow users the ability to determine which samples were processed together in a sequencing run. It is recommended that data providers prefix the ID with the center name, to prevent values overlapping across centers.
Note on AR1: A lab-generated ID to identify which cells were captured at the same time. This would, for example, be an ID to denote which datasets were derived from a single 10X Genomics Chromium Controller run. In the case of the 10X Controller this could be the chip ID and would allow users the ability to determine which samples were processed together in a Chromium controller. It is recommended that data providers prefix the ID with the center name, to prevent values overlapping across centers.
Note on AS1: The manufacturer of the instrument used to prepare (staining/processing) the sample for the assay. If an automatic slide staining method was indicated this field should list the manufacturer of the instrument.
Note on AT1: Manufacturers of a staining system instrument may offer various versions (models) of that instrument with different features. Differences in features or sensitivities may be relevant to processing or interpretation of the data.
Note on AU1: The reagent kit used with the preparation instrument.
Note on AV1: (Required) The string that serves as the definitive identifier for the metadata schema version and is readily interpretable by computers for data validation and processing. Example: 22bc762a-5020-419d-b170-24253ed9e8d9

## dataset_type
HiFi-Slide | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000195
SNARE-seq2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000264
nanoPOTS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000246
MIBI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000172
DESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000204
scATACseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000247
Auto-fluorescence | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000205
Confocal | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000206
scRNAseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000248
Xenium | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000219
snATACseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000183
Molecular Cartography | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000217
CosMx | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000218
DBiT | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000222
SIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000202
RNAseq (Visium) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000188
Cell DIVE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000159
CODEX | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000160
CyCIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000200
Light Sheet | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000168
NanoDESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000203
GeoMx | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000216
RNAseq (bulk) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000212
MALDI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000201
RNAseq (GeoMx) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000214
Histology | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000197
Enhanced Stimulated Raman Spectroscopy (SRS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000209
ATACseq (bulk) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000210
MERFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000221
LC-MS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000194
10X Multiome | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000215
PhenoCycler | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000199
Second Harmonic Generation (SHG) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000208
Thick section Multiphoton MxIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000207
snRNAseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000184
Visium | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000187

## analyte_class
Chromatin | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C13201
Nucleic acid and protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000273
Fluorochrome | http://purl.obolibrary.org/obo/CHEBI_51217
RNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C812
Metabolite | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C61154
DNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C449
Endogenous fluorophores | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000131
Peptide | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C735
Polysaccharide | http://purl.obolibrary.org/obo/CHEBI_18154
Lipid | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C616
Protein | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17021

## is_targeted
No
Yes

## acquisition_instrument_vendor
Resolve Biosciences | https://identifiers.org/RRID:SCR_023911
Cytiva | https://identifiers.org/RRID:SCR_023581
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Zeiss Microscopy | https://identifiers.org/RRID:SCR_023607
Standard BioTools (Fluidigm) | https://identifiers.org/RRID:SCR_023606
Sciex | https://identifiers.org/RRID:SCR_023651
Bruker | https://identifiers.org/RRID:SCR_017365
Keyence | https://identifiers.org/RRID:SCR_023604
Leica Biosystems | https://identifiers.org/RRID:SCR_023603
NanoString | https://identifiers.org/RRID:SCR_023912
Hamamatsu | https://identifiers.org/RRID:SCR_017105
Andor | https://identifiers.org/RRID:SCR_023609
Illumina | https://identifiers.org/RRID:SCR_010233
Ionpath | https://identifiers.org/RRID:SCR_023605

## acquisition_instrument_model
SCN400 | https://identifiers.org/RRID:SCR_023611
BZ-X710 | https://identifiers.org/RRID:SCR_017202
NanoZoomer S210 | https://identifiers.org/RRID:SCR_023760
Axio Observer 7 | https://identifiers.org/RRID:SCR_023694
NovaSeq X | https://identifiers.org/RRID:SCR_024569
IN Cell Analyzer 2200 | https://identifiers.org/RRID:SCR_023616
NanoZoomer 2.0-HT | https://identifiers.org/RRID:SCR_021658
Lightsheet 7 | https://identifiers.org/RRID:SCR_024448
Orbitrap Fusion Lumos Tribrid | https://identifiers.org/RRID:SCR_020562
Resolve Biosciences Molecular Cartography | https://identifiers.org/RRID:SCR_024449
MALDI timsTOF Flex Prototype | https://identifiers.org/RRID:SCR_023615
Axio Observer 5 | https://identifiers.org/RRID:SCR_023692
Axio Observer 3 | https://identifiers.org/RRID:SCR_023693
HiSeq 2500 | https://identifiers.org/RRID:SCR_016383
Orbitrap Eclipse Tribrid | https://identifiers.org/RRID:SCR_023618
Q Exactive UHMR | https://identifiers.org/RRID:SCR_020571
NextSeq 2000 | https://identifiers.org/RRID:SCR_023614
NovaSeq 6000 | https://identifiers.org/RRID:SCR_016387
Q Exactive | https://identifiers.org/RRID:SCR_020565
Zyla 4.2 sCMOS | https://identifiers.org/RRID:SCR_023610
HiSeq 4000 | https://identifiers.org/RRID:SCR_016386
QTRAP 5500 | https://identifiers.org/RRID:SCR_020517
BZ-X800 | https://identifiers.org/RRID:SCR_023617
MIBIscope | https://identifiers.org/RRID:SCR_023613
NextSeq 500 | https://identifiers.org/RRID:SCR_014983
NanoZoomer S360 | https://identifiers.org/RRID:SCR_023761
NanoZoomer S60 | https://identifiers.org/RRID:SCR_023762
CosMx Spatial Molecular Imager | https://identifiers.org/RRID:SCR_023909
Hyperion Imaging System | https://identifiers.org/RRID:SCR_023195
NovaSeq X Plus | https://identifiers.org/RRID:SCR_024568
NanoZoomer-SQ | https://identifiers.org/RRID:SCR_023763
NextSeq 550 | https://identifiers.org/RRID:SCR_016381
Digital Spatial Profiler | https://identifiers.org/RRID:SCR_021660
Axio Scan.Z1 | https://identifiers.org/RRID:SCR_020927
Q Exactive HF | https://identifiers.org/RRID:SCR_020558
Xenium Analyzer | https://identifiers.org/RRID:SCR_023910

## source_storage_duration_unit
hour | http://purl.obolibrary.org/obo/UO_0000032
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033
minute | http://purl.obolibrary.org/obo/UO_0000031

## time_since_acquisition_instrume
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033

## barcode_offset
0
Not applicable
1,27
8

## barcode_read
Read 1 (R1) | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C172301
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Read 2 (R2) | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C172302

## barcode_size
8,6
14
Not applicable
16
8,8,8
40

## umi_offset
Not applicable
16

## umi_read
Read 1 (R1) | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C172301
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Read 2 (R2) | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C172302

## umi_size
12
Not applicable
8
9
10

## assay_input_entity
single nucleus | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000269
single cell | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000268
tissue (bulk) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000267
spot | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000270
area of interest | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000271

## amount_of_input_analyte_unit
Amount of input analyte unit | https://purl.humanatlas.io/vocab/hravs#HRAVS_1001221

## library_input_amount_unit
ng | http://purl.obolibrary.org/obo/UO_0000024

## library_output_amount_unit
ng | http://purl.obolibrary.org/obo/UO_0000024

## library_concentration_unit
ng/ul | http://purl.obolibrary.org/obo/UO_0010050

## library_layout
single-end | http://purl.obolibrary.org/obo/OBI_0002481
paired-end | http://purl.obolibrary.org/obo/OBI_0000722

## library_preparation_kit
10X Genomics; Chromium NextGem Single Cell Multiome ATAC + Gene Expression Reagent Bundle, 4 rxn; PN 1000285 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000251
10X Genomics; Chromium Single Cell 3' GEM, Library & Gel Bead Kit v3, 4 rxns PN 1000092 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000260
10X Genomics; Chromium NextGem Single Cell Multiome ATAC + Gene Expression Reagent Bundle, 16 rxn; PN 1000283 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000250
Custom | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C65167
10X Genomics; Visium Spatial Gene Expression Slide and Reagent Kit, 1 slides, 4 reactions; PN 1000187 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000265
10X Genomics; Visium Spatial Gene Expression Slide and Reagent Kit, 4 slides, 16 reactions; PN 1000184 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000261

## sample_indexing_kit
10X Genomics; Dual Index Kit TS, Set A; PN 1000251 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000282
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
10X Genomics; Single Index Kit N, Set A (96 rxn); PN 1000212 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000252
10X Genomics; Dual Index Kit TT, Set A (96 rxn); PN 1000215 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000253

## is_technical_replicate
No
Yes

## sequencing_reagent_kit
Illumina; NovaSeq 6000 S4 Reagent v1.5 Kit (200 Cycles); PN 20028313 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000259
Illumina; NovaSeq X Series 1.5B Reagent Kit (100 Cycle); PN 20104703 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000286
Illumina; NovaSeq X Series 1.5B Reagent Kit (300 Cycle); PN 20104705 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000288
Illumina; NovaSeq 6000 S1 Reagent v1.5 Kit (100 Cycles); PN 20028319 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000257
Illumina; NovaSeq X Series 1.5B Reagent Kit (200 Cycle); PN 20104704 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000287
Illumina; NovaSeq 6000 SP Reagent v1.5 Kit (100 Cycles); PN 20028401 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000256
Illumina; HiSeq 3000/4000 PE Cluster Kit PE-410-1001; PN 1000283 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000254
Illumina; NovaSeq X Series 10B Reagent Kit (300 Cycle); PN 20085594 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000283
Illumina; NovaSeq X Series 10B Reagent Kit (200 Cycle); PN 20085595 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000284
Illumina; NovaSeq X Series 10B Reagent Kit (100 Cycle); PN 20085596 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000285
Illumina; NovaSeq 6000 S2 Reagent v1.5 Kit (100 Cycles); PN 20028316 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000258
Illumina; NextSeq 500/550 Hi Output Kit 150 Cycles; v2.5; PN 20024907 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000255

## preparation_instrument_vendor
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
Leica Biosystems | https://identifiers.org/RRID:SCR_023603
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
HTX Technologies | https://identifiers.org/RRID:SCR_023734
10x Genomics | https://identifiers.org/RRID:SCR_023672
Hamamatsu | https://identifiers.org/RRID:SCR_017105
SunChrom | https://identifiers.org/RRID:SCR_023908

## preparation_instrument_model
NanoZoomer S210 | https://identifiers.org/RRID:SCR_023760
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Sublimator | https://identifiers.org/RRID:SCR_023729
Chromium Controller | https://identifiers.org/RRID:SCR_019326
NanoZoomer S360 | https://identifiers.org/RRID:SCR_023761
NanoZoomer S60 | https://identifiers.org/RRID:SCR_023762
Chromium X | https://identifiers.org/RRID:SCR_024537
AutoStainer XL | https://identifiers.org/RRID:SCR_023957
Visium CytAssist | https://identifiers.org/RRID:SCR_024570
SunCollect Sprayer | https://identifiers.org/RRID:SCR_023907
M3+ Sprayer | https://identifiers.org/RRID:SCR_023731
Chromium iX | https://identifiers.org/RRID:SCR_024536
M5 Sprayer | https://identifiers.org/RRID:SCR_023733
TM-Sprayer | https://identifiers.org/RRID:SCR_023732

## preparation_instrument_kit
10X Genomics; Chromium NextGem Single Cell Multiome ATAC + Gene Expression Reagent Bundle, 4 rxn; PN 1000285 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000251
10X Genomics; Chromium NextGem Single Cell Multiome ATAC + Gene Expression Reagent Bundle, 16 rxn; PN 1000283 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000250

## .metadata
schema:title | pav:version | pav:createdOn | pav:derivedFrom
RNAseq | 4.0.0 | 2023-10-20T19:59:59-07:00 | https://repo.metadatacenter.org/templates/24c264ea-1645-4b0c-8a3b-2cba184fde95